# Academic sources for the EDL grid-availability assumptions

Deir Kanoun al Naher (DKN) bilevel microgrid model · prepared 29 August 2026

## 1. Summary

There is published work on Deir Kanoun al Naher, and it is the origin of most of the model's input data. However, none of it publishes EDL availability windows, hourly rationing schedules, or a grid capacity figure for the village. That gap is real rather than a search failure: the seasonal availability assumptions in scenarios.py cannot currently be sourced from the DKN literature, and only their structure and ordering can be supported from national-level work.

The three assumptions in question, all flagged [ASSUMPTION] in the code:

| Assumption | Location | Content |
| --- | --- | --- |
| Baseline capacity per season | scenarios.py, lines 78–82 | winter 0.300 MW, fall/spring 0.275 MW, summer 0.250 MW |
| Announced and delayed windows | scenarios.py, lines 90–103 | winter 9 h, fall/spring 6 h, summer 4 h; delayed = same window shifted 2 h later |
| Scenario set and probabilities | scenarios.py, lines 59–66 | six outcomes; bonus and full derived from the announced window |

By contrast, the demand and PV capacity-factor data carry source_file: / source_sheet: headers pointing to Seb_paper_inputs.xlsx, and the reference tariffs cite the lebanese-microgrid repository. The EDL availability assumptions are the gap in that chain.

## 2. Sources on the village itself

### 2.1 Zwickl-Bernhard et al. (2025) — the elasticity

Zwickl-Bernhard, S., Neumann, A. F., Olleik, M., & Dbouk, H. (2025). Market Organization in Low-Income Countries' Microgrids: Insights From Electricity Demand Elasticity and Game-Theory Optimization. Case Study: Lebanon. IEEE Transactions on Energy Markets, Policy and Regulation. ieeexplore.ieee.org/document/11074425

This is the origin of alpha_1. It estimates a selling-price elasticity of −0.48 from DKN metering data; config.py line 50 uses alpha_1 = 0.4788, and the comment at line 57 derives an own-price elasticity of −0.92 from it. This is the citation for the demand response and for the lebanese-microgrid repository already referenced at config.py line 30.

### 2.2 Bou Gebrael, Olleik & Zwickl-Bernhard (2026) — the physical setup

Bou Gebrael, E., Olleik, M., & Zwickl-Bernhard, S. (2026). Market Power and Distributed Solar Integration in Microgrids under Limited Regulation. arXiv:2603.16893. arxiv.org/html/2603.16893

Same village, and it documents the physical setup almost line for line:

| Paper | Model parameter |
| --- | --- |
| 400 kW diesel generator | CAP["DG"] = 400 |
| 650 households | n_Households_nonPV + n_Households_PV = 650 |
| 4 kWp per PV owner | cap_PV_per_HH = 4 |
| Representative days for summer, winter, spring/fall (k-means) | SEASONS |

Load data came from loggers in three households, August 2024 – April 2025; irradiance from renewables.ninja. On EDL the paper says only that the utility is "highly intermittent," with regional outages "of up to 20 hours per day" — no windows, no capacity.

To verify: one summary of this paper reads the household split as 400 PV-owner / 250 non-PV, the inverse of config.py lines 59–60. A separate description of the same microgrid states "around 40% of households are PV-owners", which matches the 250/650 in the configuration. Worth checking directly against the PDF.

### 2.3 Svolba (2025) — the closest precedent

Svolba, J. (2025). Optimization-based insights on renewable integration in [a Lebanese microgrid]. Master's thesis, TU Wien. repositum.tuwien.at

Same site, same abbreviation "DKN", 15-year investment horizon. It records that the conflict caused the evacuation of Deir Kanoun al Naher and that the loggers stopped, so it fell back to literature demand profiles for 1150 households. This is the closest precedent to the present work and likely shares a supervisor — worth reading for how it justified its own grid assumptions.

## 3. Sources for the EDL availability assumption

No paper gives an hourly rationing schedule for Tyre district. The following support the structure and the ordering of the assumption, not the numbers.

### 3.1 Abi Ghanem (2018) — the block structure

Abi Ghanem, D. (2018). Energy, the city and everyday life: Living with power outages in post-war Lebanon. Energy Research & Social Science. open PDF (Teesside repository)

The citation for the block structure itself: outages run in daily 3-hour blocks in Beirut, 8 hours or longer outside Beirut, and are "exacerbated at times when there is additional demand, such as during the heat of summer." That is precisely the summer-tightest ordering the model assumes.

### 3.2 Human Rights Watch (2023) — quantified supply hours

Human Rights Watch (2023). "Cut Off From Life Itself": Lebanon's Failure on the Right to Electricity. hrw.org

Not peer-reviewed, but methodologically explicit (representative household survey, n = 1,209, November 2021 – January 2022) and widely cited. Key figures: median household 2 h/day; ~12 h/day before 2019; 12–21 h/day until 2021 depending on region. Usefully for this model, South Lebanon had the lowest shortfall — 7 h/day without power, against 11 h in Beirut and Mount Lebanon.

### 3.3 Olleik et al. (2026) — national survey context

Olleik, M., Dbouk, H. M., Neumann, A., Bou Gebrael, E., & Zwickl-Bernhard, S. (2026). Household coping mechanisms under grid failure: Evidence from a high electrification context in Lebanon. arXiv:2606.17807. arxiv.org/html/2606.17807

Survey of 984 households, March – July 2025; 58% have PV, 73% have generator access. Cites historical scheduled outages of up to 8 h/day and post-2019 availability of as little as 2 h/day.

### 3.4 Ahmad et al. (2021) — the ishtirak system

Ahmad, A. et al. (2021). From dysfunctional to functional corruption: the politics of decentralized electricity provision in Lebanon. Energy Research & Social Science. sciencedirect.com

Background on the generator-subscription system (ishtirak) that the model's leader represents.

## 4. What this means for the assumption

The window lengths are more defensible than they first appear, but only against a specific period. Post-2019 supply was 1–4 h/day; by late February 2025 it had recovered to roughly 6–8 h/day nationwide (L'Orient Today, "EDL announces return to 'normal' electricity supply"). The assumed 9 h winter / 6 h fall-spring / 4 h summer straddles that band — and February 2025 sits inside the August 2024 – April 2025 logging window the demand data comes from. Framing the windows as "the 2024/25 recovery-period supply level" ties them to the same period as the rest of the instance, which is the strongest defence available.

Three points remain unsupported by any source:

- The seasonal capacity split (0.300 / 0.275 / 0.250 MW) has no support anywhere. It also compounds with the window length, so the effective seasonal spread is 63% → 14% of daily demand — far sharper than the MW figures alone suggest. Consider holding capacity constant across seasons and placing the seasonality only in the window length: one assumption instead of two.

- HRW finds South Lebanon less rationed than Beirut. If the regional evidence is cited at all, it argues for generous windows at DKN, not tight ones.

- The 2024/25 war evacuated the village (recorded in Svolba 2025). Any assumption about EDL supply there during that period needs a sentence acknowledging it.

Since none of this pins the numbers down, the defensible course is to keep the six scenarios as declared assumptions and to lean on availability_analysis.py, which already sweeps availability as a share of demand — making the result independent of the window guess rather than conditional on it.

### Effective availability implied by the current assumptions

| Season | Announced window | Announced energy | Share of daily demand | Full supply vs. demand |
| --- | --- | --- | --- | --- |
| Winter | 9 h | 2700 kWh | 63% | 169% |
| Fall / spring | 6 h | 1650 kWh | 43% | 171% |
| Summer | 4 h | 1000 kWh | 14% | 86% |

In winter and fall/spring the full supply scenario places EDL at roughly 170% of demand, so the cap is slack and the microgrid sells nothing — which is exactly the degenerate P(full supply) = 1 point that drops out of the belief sweep.

## 5. Reference list

- Abi Ghanem, D. (2018). Energy, the city and everyday life: Living with power outages in post-war Lebanon. Energy Research & Social Science. https://research.tees.ac.uk/ws/files/8745518/

- Ahmad, A. et al. (2021). From dysfunctional to functional corruption: the politics of decentralized electricity provision in Lebanon. Energy Research & Social Science. https://www.sciencedirect.com/science/article/pii/S2214629621004862

- Bou Gebrael, E., Olleik, M., & Zwickl-Bernhard, S. (2026). Market Power and Distributed Solar Integration in Microgrids under Limited Regulation. arXiv:2603.16893. https://arxiv.org/html/2603.16893

- Human Rights Watch (2023). "Cut Off From Life Itself": Lebanon's Failure on the Right to Electricity. https://www.hrw.org/report/2023/03/09/cut-life-itself/

- L'Orient Today (2025). EDL announces return to "normal" electricity supply. https://today.lorientlejour.com/article/1449643/

- Olleik, M., Dbouk, H. M., Neumann, A., Bou Gebrael, E., & Zwickl-Bernhard, S. (2026). Household coping mechanisms under grid failure: Evidence from a high electrification context in Lebanon. arXiv:2606.17807. https://arxiv.org/html/2606.17807

- Svolba, J. (2025). Optimization-based insights on renewable integration in [a Lebanese microgrid]. Master's thesis, TU Wien. https://repositum.tuwien.at/bitstream/20.500.12708/213802/

- Zwickl-Bernhard, S., Neumann, A. F., Olleik, M., & Dbouk, H. (2025). Market Organization in Low-Income Countries' Microgrids: Insights From Electricity Demand Elasticity and Game-Theory Optimization. Case Study: Lebanon. IEEE Transactions on Energy Markets, Policy and Regulation. https://ieeexplore.ieee.org/document/11074425/