## summary
season | quantity | value
winter | predicted slope d x*/d sigma | -1.0443
winter | fitted slope | -1.1467
winter | fit R^2 | 0.97151
winter | fit points | 51
winter | points excluded (sigma < 0, law's premise fails) | 14
winter | predicted x* at sigma = 0 | 1.6693
winter | predicted exit sigma (profit = 0) | 0.4015
winter | c / P_ref (price floor) | 1.25
winter | observed exit sigma [proportional]
winter | offered share where sales stop [proportional] | 1
winter | observed exit sigma [uniform] | 0.37607
winter | offered share where sales stop [uniform]
winter | observed exit sigma [peak]
winter | offered share where sales stop [peak]
winter | observed exit sigma [offpeak]
winter | offered share where sales stop [offpeak]
winter | observed exit sigma [announced]
winter | offered share where sales stop [announced]
winter | observed exit sigma [delayed]
winter | offered share where sales stop [delayed]
fall_spring | predicted slope d x*/d sigma | -1.0443
fall_spring | fitted slope | -1.0629
fall_spring | fit R^2 | 0.99057
fall_spring | fit points | 48
fall_spring | points excluded (sigma < 0, law's premise fails) | 17
fall_spring | predicted x* at sigma = 0 | 1.7311
fall_spring | predicted exit sigma (profit = 0) | 0.34231
fall_spring | c / P_ref (price floor) | 1.3736
fall_spring | observed exit sigma [proportional]
fall_spring | offered share where sales stop [proportional] | 1
fall_spring | observed exit sigma [uniform] | 0.2876
fall_spring | offered share where sales stop [uniform]
fall_spring | observed exit sigma [peak]
fall_spring | offered share where sales stop [peak]
fall_spring | observed exit sigma [offpeak]
fall_spring | offered share where sales stop [offpeak]
fall_spring | observed exit sigma [announced]
fall_spring | offered share where sales stop [announced]
fall_spring | observed exit sigma [delayed]
fall_spring | offered share where sales stop [delayed]
summer | predicted slope d x*/d sigma | -1.0443
summer | fitted slope | -1.1784
summer | fit R^2 | 0.99221
summer | fit points | 50
summer | points excluded (sigma < 0, law's premise fails) | 15
summer | predicted x* at sigma = 0 | 1.6772
summer | predicted exit sigma (profit = 0) | 0.39392
summer | c / P_ref (price floor) | 1.2658
summer | observed exit sigma [proportional]
summer | offered share where sales stop [proportional] | 1
summer | observed exit sigma [uniform] | 0.31739
summer | offered share where sales stop [uniform]
summer | observed exit sigma [peak]
summer | offered share where sales stop [peak]
summer | observed exit sigma [offpeak]
summer | offered share where sales stop [offpeak]
summer | observed exit sigma [announced]
summer | offered share where sales stop [announced]
summer | observed exit sigma [delayed]
summer | offered share where sales stop [delayed]

## winter_proportional
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
proportional | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal
proportional | 0.1 | 0.1 | 1 | 0.1 | 3831.2475 | -4.451e-17 | 0.1 | -4.0059e-17 | 1.6719 | 0.66875 | 128.9854 | 1.6693 | 128.9903 | 764.3578 | 425.6942 | 3066.8897 | 0 | 24 | FALSE | optimal
proportional | 0.2 | 0.2 | 1 | 0.2 | 3405.5534 | -2.608e-18 | 0.2 | -2.0864e-18 | 1.6719 | 0.66875 | 114.6537 | 1.6693 | 114.6581 | 679.4292 | 851.3883 | 2726.1242 | 0 | 24 | FALSE | optimal
proportional | 0.3 | 0.3 | 1 | 0.3 | 2979.8592 | -2.3845e-18 | 0.3 | -1.6691e-18 | 1.6719 | 0.66875 | 100.322 | 1.6693 | 100.3258 | 594.5005 | 1277.0825 | 2385.3587 | 0 | 24 | FALSE | optimal
proportional | 0.4 | 0.4 | 1 | 0.4 | 2554.165 | -1.4951e-14 | 0.4 | -8.9708e-15 | 1.6719 | 0.66875 | 85.9903 | 1.6693 | 85.9936 | 509.5719 | 1702.7767 | 2044.5931 | 0 | 24 | FALSE | optimal
proportional | 0.5 | 0.5 | 0.52623 | 0.41019 | 1120.0739 | -0.17961 | 0.5 | -0.089807 | 1.6719 | 0.66875 | 71.6585 | 1.8568 | 78.998 | 424.6432 | 2128.4708 | 1703.8276 | 0 | 12 | FALSE | optimal
proportional | 0.6 | 0.6 | 0.47641 | 0.5123 | 811.2254 | -0.21926 | 0.6 | -0.087704 | 1.6719 | 0.66875 | 57.3268 | 1.8982 | 65.2884 | 339.7146 | 2554.165 | 1363.0621 | 0 | 9 | FALSE | optimal
proportional | 0.7 | 0.7 | 0.39786 | 0.60942 | 508.0967 | -0.30195 | 0.7 | -0.090584 | 1.6719 | 0.66875 | 42.9951 | 1.9846 | 52.5113 | 254.7859 | 2979.8592 | 1022.2966 | 0 | 12 | FALSE | optimal
proportional | 0.8 | 0.8 | 0.29624 | 0.70521 | 252.2151 | -0.47396 | 0.8 | -0.094791 | 1.6719 | 0.66875 | 28.6634 | 2.1642 | 40.3725 | 169.8573 | 3405.5534 | 681.531 | 0 | 7 | FALSE | optimal
proportional | 0.9 | 0.9 | 0.17401 | 0.8053 | 74.0735 | -0.94704 | 0.9 | -0.094704 | 1.6719 | 0.66875 | 14.3317 | 2.6582 | 28.1343 | 84.9286 | 3831.2475 | 340.7655 | 0 | 5 | FALSE | optimal
proportional | 1 | 1 | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | 4256.9417 | 0 | 0 | 0 | TRUE | optimal

## winter_uniform
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
uniform | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal
uniform | 0.1 | 0.1 | 1 | 0.1 | 3831.2475 | -3.5237e-17 | 0.1 | -3.1714e-17 | 1.6719 | 0.66875 | 128.9854 | 1.6693 | 128.9903 | 764.3578 | 425.6942 | 3066.8897 | 0 | 24 | FALSE | optimal
uniform | 0.2 | 0.2 | 1 | 0.2 | 3405.5534 | 0 | 0.2 | 0 | 1.6719 | 0.66875 | 114.6537 | 1.6693 | 114.6581 | 679.4292 | 851.3883 | 2726.1242 | 0 | 24 | FALSE | optimal
uniform | 0.3 | 0.3 | 1 | 0.3 | 2979.8592 | 4.2205e-16 | 0.3 | 2.9544e-16 | 1.6719 | 0.66875 | 100.322 | 1.6693 | 100.3258 | 594.5005 | 1277.0825 | 2385.3587 | 0 | 24 | FALSE | optimal
uniform | 0.4 | 0.4 | 0.87538 | 0.36758 | 2307.4519 | -0.021331 | 0.38079 | -0.013209 | 1.6719 | 0.66875 | 85.9903 | 1.6916 | 86.1614 | 509.5719 | 1702.7767 | 2044.5931 | 0 | 20 | FALSE | optimal
uniform | 0.5 | 0.5 | 0.8892 | 0.48118 | 1922.8601 | -0.021333 | 0.49202 | -0.010837 | 1.6719 | 0.66875 | 71.6585 | 1.6916 | 71.8012 | 424.6432 | 2128.4708 | 1703.8276 | 0 | 21 | FALSE | optimal
uniform | 0.6 | 0.6 | 0.59367 | 0.50331 | 1143.7338 | -0.097516 | 0.54744 | -0.044132 | 1.6719 | 0.66875 | 57.3268 | 1.7711 | 59.484 | 339.7146 | 2554.165 | 1363.0621 | 0 | 13 | FALSE | optimal
uniform | 0.7 | 0.7 | 0.52473 | 0.61938 | 743.8045 | -0.14304 | 0.66701 | -0.04763 | 1.6719 | 0.66875 | 42.9951 | 1.8186 | 46.0639 | 254.7859 | 2979.8592 | 1022.2966 | 0 | 12 | FALSE | optimal
uniform | 0.8 | 0.79914 | 0.36776 | 0.61423 | 572.2477 | -0.055388 | 0.63447 | -0.020246 | 1.6094 | 0.64375 | 22.0021 | 1.7271 | 24.9488 | 153.0584 | 3401.9063 | 701.977 | 0 | 7 | FALSE | optimal
uniform | 0.9 | 0.87877 | 0.24514 | 0.67376 | 405.0231 | 0.15943 | 0.61188 | 0.061878 | 1.4375 | 0.575 | 4.6262 | 1.5028 | 4.9568 | 61.6822 | 3740.8585 | 454.401 | 0 | 4 | FALSE | optimal
uniform | 1 | 0.92132 | 0.1938 | 0.74501 | 292.862 | 0.2817 | 0.64501 | 0.1 | 1.375 | 0.55 | 0.87792 | 1.3751 | 0.87792 | 17.5583 | 3922.001 | 317.3824 | 0 | 3 | FALSE | optimal

## winter_peak
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
peak | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal
peak | 0.1 | 0.1 | 1 | 0.1 | 3831.2475 | -3.4496e-16 | 0.1 | -3.1046e-16 | 1.6719 | 0.66875 | 128.9854 | 1.6693 | 128.9903 | 764.3578 | 425.6942 | 3066.8897 | 0 | 24 | FALSE | optimal
peak | 0.2 | 0.2 | 1 | 0.2 | 3405.5534 | -1.3144e-16 | 0.2 | -1.0516e-16 | 1.6719 | 0.66875 | 114.6537 | 1.6693 | 114.6581 | 679.4292 | 851.3883 | 2726.1242 | 0 | 24 | FALSE | optimal
peak | 0.3 | 0.3 | 0.74061 | 0.13254 | 2673.8262 | -0.022835 | 0.1519 | -0.019366 | 1.6719 | 0.66875 | 100.322 | 1.6931 | 100.5532 | 594.5005 | 1277.0825 | 2385.3587 | 0 | 19 | FALSE | optimal
peak | 0.4 | 0.39647 | 0.55342 | -0.012689 | 2355.8736 | -0.012689 | 0 | -0.012689 | 1.6562 | 0.6625 | 84.0987 | 1.6825 | 84.4103 | 517.5307 | 1687.7448 | 2051.6662 | 0 | 16 | FALSE | optimal
peak | 0.5 | 0.46556 | 0.67991 | 0.21941 | 2362.2125 | 0.043567 | 0.18385 | 0.035557 | 1.6094 | 0.64375 | 61.5716 | 1.6238 | 63.2076 | 428.3244 | 1981.8739 | 1846.7434 | 0 | 18 | FALSE | optimal
peak | 0.6 | 0.49124 | 0.55342 | 0.080695 | 2355.8736 | 0.080695 | 0 | 0.080695 | 1.5781 | 0.63125 | 50.6171 | 1.585 | 50.6385 | 385.654 | 2091.175 | 1780.1128 | 0 | 16 | FALSE | optimal
peak | 0.7 | 0.49124 | 0.55342 | 0.080695 | 2355.8736 | 0.080695 | 0 | 0.080695 | 1.5781 | 0.63125 | 50.6171 | 1.585 | 50.6385 | 385.654 | 2091.175 | 1780.1128 | 0 | 16 | FALSE | optimal
peak | 0.8 | 0.49124 | 0.55342 | 0.080695 | 2355.8736 | 0.080695 | 0 | 0.080695 | 1.5781 | 0.63125 | 50.6171 | 1.585 | 50.6385 | 385.654 | 2091.175 | 1780.1128 | 0 | 16 | FALSE | optimal
peak | 0.9 | 0.49124 | 0.55342 | 0.080695 | 2355.8736 | 0.080695 | 0 | 0.080695 | 1.5781 | 0.63125 | 50.6171 | 1.585 | 50.6385 | 385.654 | 2091.175 | 1780.1128 | 0 | 16 | FALSE | optimal
peak | 1 | 0.49124 | 0.55342 | 0.080695 | 2355.8736 | 0.080695 | 0 | 0.080695 | 1.5781 | 0.63125 | 50.6171 | 1.585 | 50.6385 | 385.654 | 2091.175 | 1780.1128 | 0 | 16 | FALSE | optimal

## winter_offpeak
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
offpeak | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal
offpeak | 0.1 | 0.1 | 1 | 0.1 | 3831.2475 | 4.6829e-17 | 0.1 | 4.2146e-17 | 1.6719 | 0.66875 | 128.9854 | 1.6693 | 128.9903 | 764.3578 | 425.6942 | 3066.8897 | 0 | 24 | FALSE | optimal
offpeak | 0.2 | 0.2 | 0.84488 | 0.081657 | 3277.3231 | -0.007806 | 0.08877 | -0.007113 | 1.6719 | 0.66875 | 114.6537 | 1.6774 | 114.673 | 679.4292 | 851.3883 | 2726.1242 | 0 | 19 | FALSE | optimal
offpeak | 0.3 | 0.27877 | 0.74651 | 0.033854 | 3177.8314 | 0.033854 | 0 | 0.033854 | 1.6406 | 0.65625 | 89.6816 | 1.6339 | 89.7089 | 573.9623 | 1186.6935 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 0.4 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 0.5 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 0.6 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 0.7 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 0.8 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 0.9 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal
offpeak | 1 | 0.27884 | 0.74651 | 0.033957 | 3177.8314 | 0.033957 | 0 | 0.033957 | 1.6406 | 0.65625 | 89.6304 | 1.6338 | 89.6586 | 573.6345 | 1187.0213 | 2496.2859 | 0 | 16 | FALSE | optimal

## winter_announced
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
announced | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal
announced | 0.1 | 0.1 | 0.97017 | 0.083188 | 3775.2011 | -0.0029619 | 0.085896 | -0.0027074 | 1.6719 | 0.66875 | 128.9854 | 1.6724 | 128.9856 | 764.3578 | 425.6942 | 3066.8897 | 0 | 23 | FALSE | optimal
announced | 0.2 | 0.19948 | 0.93206 | 0.14523 | 3400.1269 | 0.0025422 | 0.14305 | 0.0021785 | 1.6719 | 0.66875 | 113.0123 | 1.6666 | 113.0303 | 669.7028 | 849.1852 | 2738.0536 | 0 | 22 | FALSE | optimal
announced | 0.3 | 0.2649 | 0.76905 | 0.071468 | 3060.9649 | 0.006902 | 0.065015 | 0.0064533 | 1.6562 | 0.6625 | 99.5239 | 1.6621 | 99.5437 | 612.4546 | 1127.6816 | 2516.8055 | 0 | 19 | FALSE | optimal
announced | 0.4 | 0.30563 | 0.78277 | 0.11292 | 3048.3893 | 0.030336 | 0.085168 | 0.027752 | 1.6406 | 0.65625 | 87.7045 | 1.6376 | 87.7098 | 561.3086 | 1301.028 | 2394.605 | 0 | 19 | FALSE | optimal
announced | 0.5 | 0.31294 | 0.71551 | 0.039761 | 3045.8664 | 0.039761 | 0 | 0.039761 | 1.625 | 0.65 | 83.2384 | 1.6278 | 83.2428 | 554.9225 | 1332.1829 | 2369.8363 | 0 | 18 | FALSE | optimal
announced | 0.6 | 0.31294 | 0.71551 | 0.039761 | 3045.8664 | 0.039761 | 0 | 0.039761 | 1.625 | 0.65 | 83.2384 | 1.6278 | 83.2428 | 554.9225 | 1332.1829 | 2369.8363 | 0 | 18 | FALSE | optimal
announced | 0.7 | 0.31294 | 0.71551 | 0.039761 | 3045.8664 | 0.039761 | 0 | 0.039761 | 1.625 | 0.65 | 83.2384 | 1.6278 | 83.2428 | 554.9225 | 1332.1829 | 2369.8363 | 0 | 18 | FALSE | optimal
announced | 0.8 | 0.31294 | 0.71551 | 0.039761 | 3045.8664 | 0.039761 | 0 | 0.039761 | 1.625 | 0.65 | 83.2384 | 1.6278 | 83.2428 | 554.9225 | 1332.1829 | 2369.8363 | 0 | 18 | FALSE | optimal
announced | 0.9 | 0.31294 | 0.71551 | 0.039761 | 3045.8664 | 0.039761 | 0 | 0.039761 | 1.625 | 0.65 | 83.2384 | 1.6278 | 83.2428 | 554.9225 | 1332.1829 | 2369.8363 | 0 | 18 | FALSE | optimal
announced | 1 | 0.31294 | 0.71551 | 0.039761 | 3045.8664 | 0.039761 | 0 | 0.039761 | 1.625 | 0.65 | 83.2384 | 1.6278 | 83.2428 | 554.9225 | 1332.1829 | 2369.8363 | 0 | 18 | FALSE | optimal

## winter_delayed
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
delayed | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal
delayed | 0.1 | 0.1 | 1 | 0.1 | 3831.2475 | -2.0679e-16 | 0.1 | -1.8611e-16 | 1.6719 | 0.66875 | 128.9854 | 1.6693 | 128.9903 | 764.3578 | 425.6942 | 3066.8897 | 0 | 24 | FALSE | optimal
delayed | 0.2 | 0.19948 | 0.85515 | 0.082148 | 3356.5426 | 0.0045433 | 0.077959 | 0.0041891 | 1.6562 | 0.6625 | 110.4208 | 1.6645 | 110.4649 | 679.5126 | 849.1852 | 2728.2439 | 0 | 20 | FALSE | optimal
delayed | 0.3 | 0.25101 | 0.79592 | 0.071171 | 3175.354 | 0.0089106 | 0.06282 | 0.0083508 | 1.6562 | 0.6625 | 102.2067 | 1.66 | 102.2151 | 628.9643 | 1068.5239 | 2559.4535 | 0 | 19 | FALSE | optimal
delayed | 0.4 | 0.29115 | 0.79592 | 0.1094 | 3104.4049 | 0.027984 | 0.08376 | 0.02564 | 1.6406 | 0.65625 | 90.4568 | 1.6401 | 90.457 | 578.9238 | 1239.4108 | 2438.6071 | 0 | 19 | FALSE | optimal
delayed | 0.5 | 0.29852 | 0.72862 | 0.037246 | 3101.678 | 0.037246 | 0 | 0.037246 | 1.625 | 0.65 | 85.9337 | 1.6304 | 85.9509 | 572.8911 | 1270.79 | 2413.2606 | 0 | 18 | FALSE | optimal
delayed | 0.6 | 0.29852 | 0.72862 | 0.037246 | 3101.678 | 0.037246 | 0 | 0.037246 | 1.625 | 0.65 | 85.9337 | 1.6304 | 85.9509 | 572.8911 | 1270.79 | 2413.2606 | 0 | 18 | FALSE | optimal
delayed | 0.7 | 0.29852 | 0.72862 | 0.037246 | 3101.678 | 0.037246 | 0 | 0.037246 | 1.625 | 0.65 | 85.9337 | 1.6304 | 85.9509 | 572.8911 | 1270.79 | 2413.2606 | 0 | 18 | FALSE | optimal
delayed | 0.8 | 0.29852 | 0.72862 | 0.037246 | 3101.678 | 0.037246 | 0 | 0.037246 | 1.625 | 0.65 | 85.9337 | 1.6304 | 85.9509 | 572.8911 | 1270.79 | 2413.2606 | 0 | 18 | FALSE | optimal
delayed | 0.9 | 0.29852 | 0.72862 | 0.037246 | 3101.678 | 0.037246 | 0 | 0.037246 | 1.625 | 0.65 | 85.9337 | 1.6304 | 85.9509 | 572.8911 | 1270.79 | 2413.2606 | 0 | 18 | FALSE | optimal
delayed | 1 | 0.29852 | 0.72862 | 0.037246 | 3101.678 | 0.037246 | 0 | 0.037246 | 1.625 | 0.65 | 85.9337 | 1.6304 | 85.9509 | 572.8911 | 1270.79 | 2413.2606 | 0 | 18 | FALSE | optimal

## winter_scenarios
scenario | outcome | pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
announced | As announced | announced | 0.3876 | 0.30301 | 0.77474 | 0.10304 | 3023.004 | 0.021447 | 0.083384 | 0.019659 | 1.6406 | 0.65625 | 88.3666 | 1.6469 | 91.1954 | 565.5465 | 1289.8805 | 2401.5147 | 0 | 19 | FALSE | optimal
partial | Reduced supply | partial | 0.1938 | 0.1938 | 0.89554 | 0.10873 | 3399.7686 | 0.00058537 | 0.1082 | 0.00052203 | 1.6719 | 0.66875 | 114.1231 | 1.6687 | 114.1298 | 676.285 | 825 | 2755.6567 | 0 | 21 | FALSE | optimal
delayed | Shifted window | delayed | 0.3876 | 0.28853 | 0.78785 | 0.099644 | 3078.8157 | 0.019225 | 0.081996 | 0.017648 | 1.6406 | 0.65625 | 91.119 | 1.6492 | 93.9685 | 583.1617 | 1228.2633 | 2445.5167 | 0 | 19 | FALSE | optimal
bonus | Extended window | bonus | 0.646 | 0.50224 | 0.65229 | 0.24011 | 2226.7792 | 0.052417 | 0.19807 | 0.042034 | 1.6094 | 0.64375 | 54.1299 | 1.6145 | 56.6737 | 376.5555 | 2138.0034 | 1742.3827 | 0 | 16 | FALSE | optimal
full_supply | Full supply | full_supply | 1.5504 | 0.99671 | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | 4242.929 | 14.0127 | 0 | 0 | TRUE | optimal
none | No supply | none | 0 | 0 | 1 | -1.4355e-16 | 4256.9417 | -1.4355e-16 | 0 | -1.4355e-16 | 1.6719 | 0.66875 | 143.3171 | 1.6693 | 143.3226 | 849.2865 | 0 | 3407.6552 | 0 | 24 | FALSE | optimal

## fall_spring_proportional
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
proportional | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal
proportional | 0.1 | 0.1 | 1 | 0.1 | 3484.0656 | 1.0197e-18 | 0.1 | 9.1773e-19 | 1.7344 | 0.63131 | 77.5837 | 1.7311 | 77.5902 | 590.8322 | 387.1184 | 2893.2334 | 0 | 24 | FALSE | optimal
proportional | 0.2 | 0.2 | 1 | 0.2 | 3096.9472 | 5.7358e-19 | 0.2 | 4.5887e-19 | 1.7344 | 0.63131 | 68.9632 | 1.7311 | 68.9691 | 525.1842 | 774.2368 | 2571.763 | 0 | 24 | FALSE | optimal
proportional | 0.3 | 0.3 | 1 | 0.3 | 2709.8288 | -3.5792e-16 | 0.3 | -2.5054e-16 | 1.7344 | 0.63131 | 60.3428 | 1.7311 | 60.3479 | 459.5362 | 1161.3552 | 2250.2927 | 0 | 24 | FALSE | optimal
proportional | 0.4 | 0.4 | 1 | 0.4 | 2322.7104 | -3.0591e-18 | 0.4 | -1.8355e-18 | 1.7344 | 0.63131 | 51.7224 | 1.7311 | 51.7268 | 393.8881 | 1548.4736 | 1928.8223 | 0 | 24 | FALSE | optimal
proportional | 0.5 | 0.5 | 0.49071 | 0.412 | 949.8224 | -0.176 | 0.5 | -0.088 | 1.7344 | 0.63131 | 43.102 | 1.9149 | 48.4958 | 328.2401 | 1935.592 | 1607.3519 | 0 | 14 | FALSE | optimal
proportional | 0.6 | 0.6 | 0.42372 | 0.50774 | 656.1188 | -0.23064 | 0.6 | -0.092256 | 1.7344 | 0.63131 | 34.4816 | 1.9719 | 40.9353 | 262.5921 | 2322.7104 | 1285.8815 | 0 | 11 | FALSE | optimal
proportional | 0.7 | 0.7 | 0.35873 | 0.60906 | 416.6136 | -0.30314 | 0.7 | -0.090943 | 1.7344 | 0.63131 | 25.8612 | 2.0477 | 32.9875 | 196.9441 | 2709.8288 | 964.4111 | 0 | 7 | FALSE | optimal
proportional | 0.8 | 0.8 | 0.28126 | 0.71333 | 217.7656 | -0.43334 | 0.8 | -0.086668 | 1.7344 | 0.63131 | 17.2408 | 2.1836 | 24.9005 | 131.296 | 3096.9472 | 642.9408 | 0 | 5 | FALSE | optimal
proportional | 0.9 | 0.9 | 0.156 | 0.80825 | 60.3912 | -0.91747 | 0.9 | -0.091747 | 1.7344 | 0.63131 | 8.6204 | 2.6892 | 18.2157 | 65.648 | 3484.0656 | 321.4704 | 0 | 5 | FALSE | optimal
proportional | 1 | 1 | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | 3871.184 | 0 | 0 | 0 | TRUE | optimal

## fall_spring_uniform
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
uniform | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal
uniform | 0.1 | 0.1 | 1 | 0.1 | 3484.0656 | -2.0394e-17 | 0.1 | -1.8355e-17 | 1.7344 | 0.63131 | 77.5837 | 1.7311 | 77.5902 | 590.8322 | 387.1184 | 2893.2334 | 0 | 24 | FALSE | optimal
uniform | 0.2 | 0.2 | 1 | 0.2 | 3096.9472 | -1.1472e-18 | 0.2 | -9.1773e-19 | 1.7344 | 0.63131 | 68.9632 | 1.7311 | 68.9691 | 525.1842 | 774.2368 | 2571.763 | 0 | 24 | FALSE | optimal
uniform | 0.3 | 0.3 | 1 | 0.3 | 2709.8288 | 0 | 0.3 | 0 | 1.7344 | 0.63131 | 60.3428 | 1.7311 | 60.3479 | 459.5362 | 1161.3552 | 2250.2927 | 0 | 24 | FALSE | optimal
uniform | 0.4 | 0.4 | 0.51422 | 0.24086 | 1345.43 | -0.12318 | 0.32412 | -0.083254 | 1.7344 | 0.63131 | 51.7224 | 1.8597 | 55.4067 | 393.8881 | 1548.4736 | 1928.8223 | 0 | 10 | FALSE | optimal
uniform | 0.5 | 0.5 | 0.56874 | 0.38552 | 1233.8917 | -0.096439 | 0.43957 | -0.054047 | 1.7344 | 0.63131 | 43.102 | 1.8318 | 45.1432 | 328.2401 | 1935.592 | 1607.3519 | 0 | 12 | FALSE | optimal
uniform | 0.6 | 0.6 | 0.41059 | 0.45944 | 718.4451 | -0.19592 | 0.54799 | -0.088557 | 1.7344 | 0.63131 | 34.4816 | 1.9357 | 39.5559 | 262.5921 | 2322.7104 | 1285.8815 | 0 | 9 | FALSE | optimal
uniform | 0.7 | 0.69911 | 0.33961 | 0.59183 | 411.4209 | -0.30432 | 0.68706 | -0.095234 | 1.7188 | 0.62563 | 24.8104 | 2.0489 | 32.695 | 197.4958 | 2706.3939 | 967.2943 | 0 | 8 | FALSE | optimal
uniform | 0.8 | 0.7935 | 0.31957 | 0.84477 | 75.7648 | -1.5346 | 0.93876 | -0.093985 | 1.7031 | 0.61994 | 15.4069 | 3.3337 | 50.7289 | 128.4575 | 3071.8019 | 670.9246 | 0 | 9 | FALSE | optimal
uniform | 0.9 | 0.88353 | 0.26398 | 0.8331 | 150.8898 | -0.13034 | 0.85234 | -0.019246 | 1.5625 | 0.56875 | 3.1344 | 1.8672 | 6.4067 | 45.5916 | 3420.3189 | 405.2736 | 0 | 6 | FALSE | optimal
uniform | 1 | 0.93143 | 0.065018 | 0.74085 | 90.3956 | 0.27844 | 0.64085 | 0.1 | 1.4375 | 0.52325 | 0.069961 | 1.4403 | 0.070087 | 3.0091 | 3605.7438 | 262.4311 | 0 | 1 | FALSE | optimal

## fall_spring_peak
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
peak | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal
peak | 0.1 | 0.1 | 1 | 0.1 | 3484.0656 | -3.0387e-16 | 0.1 | -2.7348e-16 | 1.7344 | 0.63131 | 77.5837 | 1.7311 | 77.5902 | 590.8322 | 387.1184 | 2893.2334 | 0 | 24 | FALSE | optimal
peak | 0.2 | 0.2 | 1 | 0.2 | 3096.9472 | -2.0764e-16 | 0.2 | -1.6611e-16 | 1.7344 | 0.63131 | 68.9632 | 1.7311 | 68.9691 | 525.1842 | 774.2368 | 2571.763 | 0 | 24 | FALSE | optimal
peak | 0.3 | 0.3 | 0.90223 | 0.2451 | 2621.6861 | -0.0057014 | 0.24938 | -0.0042796 | 1.7344 | 0.63131 | 60.3428 | 1.737 | 60.3461 | 459.5362 | 1161.3552 | 2250.2927 | 0 | 22 | FALSE | optimal
peak | 0.4 | 0.39786 | 0.6796 | 0.15205 | 2243.7227 | 0.0057441 | 0.14715 | 0.0048989 | 1.7188 | 0.62563 | 48.2891 | 1.7251 | 48.3049 | 384.391 | 1540.186 | 1946.6069 | 0 | 18 | FALSE | optimal
peak | 0.5 | 0.45915 | 0.56952 | 0.05389 | 2204.735 | 0.05389 | 0 | 0.05389 | 1.6719 | 0.60856 | 34.8535 | 1.6748 | 34.8568 | 321.0456 | 1777.4603 | 1772.6782 | 0 | 16 | FALSE | optimal
peak | 0.6 | 0.47352 | 0.56952 | 0.075585 | 2204.735 | 0.075585 | 0 | 0.075585 | 1.6563 | 0.60288 | 29.8037 | 1.6522 | 29.8101 | 289.7077 | 1833.0939 | 1748.3824 | 0 | 16 | FALSE | optimal
peak | 0.7 | 0.47352 | 0.56952 | 0.075585 | 2204.735 | 0.075585 | 0 | 0.075585 | 1.6563 | 0.60288 | 29.8037 | 1.6522 | 29.8101 | 289.7077 | 1833.0939 | 1748.3824 | 0 | 16 | FALSE | optimal
peak | 0.8 | 0.47352 | 0.56952 | 0.075585 | 2204.735 | 0.075585 | 0 | 0.075585 | 1.6563 | 0.60288 | 29.8037 | 1.6522 | 29.8101 | 289.7077 | 1833.0939 | 1748.3824 | 0 | 16 | FALSE | optimal
peak | 0.9 | 0.47352 | 0.56952 | 0.075585 | 2204.735 | 0.075585 | 0 | 0.075585 | 1.6563 | 0.60288 | 29.8037 | 1.6522 | 29.8101 | 289.7077 | 1833.0939 | 1748.3824 | 0 | 16 | FALSE | optimal
peak | 1 | 0.47352 | 0.56952 | 0.075585 | 2204.735 | 0.075585 | 0 | 0.075585 | 1.6563 | 0.60288 | 29.8037 | 1.6522 | 29.8101 | 289.7077 | 1833.0939 | 1748.3824 | 0 | 16 | FALSE | optimal

## fall_spring_offpeak
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
offpeak | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal
offpeak | 0.1 | 0.1 | 0.9453 | 0.074012 | 3369.0874 | -0.0057874 | 0.07934 | -0.0053282 | 1.7344 | 0.63131 | 77.5837 | 1.7371 | 77.5881 | 590.8322 | 387.1184 | 2893.2334 | 0 | 22 | FALSE | optimal
offpeak | 0.2 | 0.2 | 0.76989 | 0.020333 | 2883.5912 | -0.012547 | 0.032472 | -0.01214 | 1.7344 | 0.63131 | 68.9632 | 1.7442 | 69.0117 | 525.1842 | 774.2368 | 2571.763 | 0 | 17 | FALSE | optimal
offpeak | 0.3 | 0.28353 | 0.77273 | 0.072809 | 2846.2052 | 0.025518 | 0.048529 | 0.02428 | 1.7031 | 0.61994 | 53.5694 | 1.7044 | 54.2869 | 446.6441 | 1097.6085 | 2326.9314 | 0 | 17 | FALSE | optimal
offpeak | 0.4 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal
offpeak | 0.5 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal
offpeak | 0.6 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal
offpeak | 0.7 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal
offpeak | 0.8 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal
offpeak | 0.9 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal
offpeak | 1 | 0.28917 | 0.73712 | 0.035663 | 2853.5331 | 0.035663 | 0 | 0.035663 | 1.6875 | 0.61425 | 50.9766 | 1.6938 | 50.9966 | 446.1846 | 1119.416 | 2305.5834 | 0 | 16 | FALSE | optimal

## fall_spring_announced
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
announced | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal
announced | 0.1 | 0.1 | 0.96724 | 0.083334 | 3421.7477 | -0.0030885 | 0.086156 | -0.0028224 | 1.7344 | 0.63131 | 77.5837 | 1.7343 | 77.5837 | 590.8322 | 387.1184 | 2893.2334 | 0 | 23 | FALSE | optimal
announced | 0.2 | 0.1935 | 0.8268 | 0.076148 | 2942.6053 | -0.004878 | 0.080632 | -0.0044847 | 1.7188 | 0.62563 | 67.0294 | 1.7362 | 67.4129 | 533.5672 | 749.0915 | 2588.5254 | 0 | 20 | FALSE | optimal
announced | 0.3 | 0.24621 | 0.74233 | 0.0069625 | 2873.6819 | 0.0069625 | 0 | 0.0069625 | 1.7188 | 0.62563 | 61.4072 | 1.7238 | 61.42 | 488.8132 | 953.1326 | 2429.2382 | 0 | 18 | FALSE | optimal
announced | 0.4 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
announced | 0.5 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
announced | 0.6 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
announced | 0.7 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
announced | 0.8 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
announced | 0.9 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
announced | 1 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal

## fall_spring_delayed
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
delayed | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal
delayed | 0.1 | 0.1 | 1 | 0.1 | 3484.0656 | -1.8559e-16 | 0.1 | -1.6703e-16 | 1.7344 | 0.63131 | 77.5837 | 1.7311 | 77.5902 | 590.8322 | 387.1184 | 2893.2334 | 0 | 24 | FALSE | optimal
delayed | 0.2 | 0.2 | 0.84604 | 0.10738 | 2888.0433 | -0.012267 | 0.1182 | -0.010817 | 1.7344 | 0.63131 | 68.7231 | 1.7439 | 69.0089 | 523.3557 | 774.2368 | 2573.5915 | 0 | 21 | FALSE | optimal
delayed | 0.3 | 0.26458 | 0.78255 | 0.074197 | 2835.8178 | 0.011007 | 0.063894 | 0.010303 | 1.7188 | 0.62563 | 59.1574 | 1.7196 | 59.1577 | 470.9044 | 1024.2344 | 2376.0452 | 0 | 19 | FALSE | optimal
delayed | 0.4 | 0.30587 | 0.78255 | 0.11298 | 2771.2981 | 0.030376 | 0.085192 | 0.027788 | 1.7031 | 0.61994 | 50.6183 | 1.6994 | 51.2495 | 422.0392 | 1184.0667 | 2265.0782 | 0 | 19 | FALSE | optimal
delayed | 0.5 | 0.31072 | 0.71753 | 0.039367 | 2777.682 | 0.039367 | 0 | 0.039367 | 1.6875 | 0.61425 | 48.4459 | 1.69 | 48.4489 | 424.0342 | 1202.8522 | 2244.2976 | 0 | 18 | FALSE | optimal
delayed | 0.6 | 0.31072 | 0.71753 | 0.039367 | 2777.682 | 0.039367 | 0 | 0.039367 | 1.6875 | 0.61425 | 48.4459 | 1.69 | 48.4489 | 424.0342 | 1202.8522 | 2244.2976 | 0 | 18 | FALSE | optimal
delayed | 0.7 | 0.31072 | 0.71753 | 0.039367 | 2777.682 | 0.039367 | 0 | 0.039367 | 1.6875 | 0.61425 | 48.4459 | 1.69 | 48.4489 | 424.0342 | 1202.8522 | 2244.2976 | 0 | 18 | FALSE | optimal
delayed | 0.8 | 0.31072 | 0.71753 | 0.039367 | 2777.682 | 0.039367 | 0 | 0.039367 | 1.6875 | 0.61425 | 48.4459 | 1.69 | 48.4489 | 424.0342 | 1202.8522 | 2244.2976 | 0 | 18 | FALSE | optimal
delayed | 0.9 | 0.31072 | 0.71753 | 0.039367 | 2777.682 | 0.039367 | 0 | 0.039367 | 1.6875 | 0.61425 | 48.4459 | 1.69 | 48.4489 | 424.0342 | 1202.8522 | 2244.2976 | 0 | 18 | FALSE | optimal
delayed | 1 | 0.31072 | 0.71753 | 0.039367 | 2777.682 | 0.039367 | 0 | 0.039367 | 1.6875 | 0.61425 | 48.4459 | 1.69 | 48.4489 | 424.0342 | 1202.8522 | 2244.2976 | 0 | 18 | FALSE | optimal

## fall_spring_scenarios
scenario | outcome | pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
announced | As announced | announced | 0.42623 | 0.28344 | 0.74233 | 0.034712 | 2873.6819 | 0.034712 | 0 | 0.034712 | 1.6875 | 0.61425 | 51.6488 | 1.6948 | 51.6758 | 452.0685 | 1097.2524 | 2321.8631 | 0 | 18 | FALSE | optimal
partial | Reduced supply | partial | 0.21311 | 0.20225 | 0.83523 | 0.083326 | 2958.3201 | -0.001886 | 0.085052 | -0.0017256 | 1.7188 | 0.62563 | 65.4019 | 1.7331 | 66.6098 | 520.6125 | 782.9336 | 2567.6379 | 0 | 20 | FALSE | optimal
delayed | Shifted window | delayed | 0.42623 | 0.31024 | 0.78255 | 0.11857 | 2754.377 | 0.030563 | 0.090778 | 0.027788 | 1.6875 | 0.61425 | 48.6589 | 1.6992 | 50.8757 | 425.8987 | 1200.9877 | 2244.2976 | 0 | 19 | FALSE | optimal
bonus | Extended window | bonus | 0.71038 | 0.48146 | 0.62689 | 0.17283 | 2151.8138 | 0.067123 | 0.11332 | 0.059517 | 1.6563 | 0.60288 | 29.0602 | 1.661 | 30.9699 | 282.4804 | 1863.8073 | 1724.8964 | 0 | 15 | FALSE | optimal
full_supply | Full supply | full_supply | 1.7049 | 1 | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | 3871.184 | 0 | 0 | 0 | TRUE | optimal
none | No supply | none | 0 | 0 | 1 | -2.7165e-16 | 3871.184 | -2.7165e-16 | 0 | -2.7165e-16 | 1.7344 | 0.63131 | 86.2041 | 1.7311 | 86.2113 | 656.4802 | 0 | 3214.7038 | 0 | 24 | FALSE | optimal

## summer_proportional
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
proportional | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal
proportional | 0.1 | 0.1 | 1 | 0.1 | 6272.1516 | -1.6993e-18 | 0.1 | -1.5294e-18 | 1.6719 | 0.66039 | 200.7022 | 1.6772 | 200.7356 | 1251.3335 | 696.9057 | 5020.8182 | 0 | 24 | FALSE | optimal
proportional | 0.2 | 0.2 | 1 | 0.2 | 5575.2459 | 3.3773e-17 | 0.2 | 2.7019e-17 | 1.6719 | 0.66039 | 178.4019 | 1.6772 | 178.4317 | 1112.2964 | 1393.8115 | 4462.9495 | 0 | 24 | FALSE | optimal
proportional | 0.3 | 0.3 | 1 | 0.3 | 4878.3402 | -1.4565e-18 | 0.3 | -1.0196e-18 | 1.6719 | 0.66039 | 156.1017 | 1.6772 | 156.1277 | 973.2594 | 2090.7172 | 3905.0808 | 0 | 24 | FALSE | optimal
proportional | 0.4 | 0.4 | 1 | 0.4 | 4181.4344 | -8.4964e-19 | 0.4 | -5.0978e-19 | 1.6719 | 0.66039 | 133.8014 | 1.6772 | 133.8238 | 834.2223 | 2787.6229 | 3347.2121 | 0 | 24 | FALSE | optimal
proportional | 0.5 | 0.5 | 0.54634 | 0.41717 | 1903.7268 | -0.16566 | 0.5 | -0.082832 | 1.6719 | 0.66039 | 111.5012 | 1.8502 | 122.949 | 695.1853 | 3484.5287 | 2789.3434 | 0 | 12 | FALSE | optimal
proportional | 0.6 | 0.6 | 0.47631 | 0.51226 | 1327.7644 | -0.21935 | 0.6 | -0.087742 | 1.6719 | 0.66039 | 89.201 | 1.9063 | 102.9958 | 556.1482 | 4181.4344 | 2231.4747 | 0 | 12 | FALSE | optimal
proportional | 0.7 | 0.7 | 0.40136 | 0.61073 | 839.1238 | -0.29757 | 0.7 | -0.089272 | 1.6719 | 0.66039 | 66.9007 | 1.9879 | 82.7542 | 417.1112 | 4878.3402 | 1673.6061 | 0 | 9 | FALSE | optimal
proportional | 0.8 | 0.8 | 0.33617 | 0.72121 | 468.5624 | -0.39396 | 0.8 | -0.078791 | 1.6719 | 0.66039 | 44.6005 | 2.0886 | 59.9889 | 278.0741 | 5575.2459 | 1115.7374 | 0 | 6 | FALSE | optimal
proportional | 0.9 | 0.9 | 0.19029 | 0.81511 | 132.6151 | -0.84892 | 0.9 | -0.084892 | 1.6719 | 0.66039 | 22.3002 | 2.5637 | 42.2483 | 139.0371 | 6272.1516 | 557.8687 | 0 | 5 | FALSE | optimal
proportional | 1 | 1 | 0 |  | 0 | [5 empty] | 0 |  |  | 0 | 6969.0574 | 0 | 0 | 0 | TRUE | optimal

## summer_uniform
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
uniform | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal
uniform | 0.1 | 0.1 | 1 | 0.1 | 6272.1516 | -4.1009e-16 | 0.1 | -3.6908e-16 | 1.6719 | 0.66039 | 200.7022 | 1.6772 | 200.7356 | 1251.3335 | 696.9057 | 5020.8182 | 0 | 24 | FALSE | optimal
uniform | 0.2 | 0.2 | 1 | 0.2 | 5575.2459 | -7.0095e-18 | 0.2 | -5.6076e-18 | 1.6719 | 0.66039 | 178.4019 | 1.6772 | 178.4317 | 1112.2964 | 1393.8115 | 4462.9495 | 0 | 24 | FALSE | optimal
uniform | 0.3 | 0.3 | 1 | 0.3 | 4878.3402 | -1.0196e-17 | 0.3 | -7.137e-18 | 1.6719 | 0.66039 | 156.1017 | 1.6772 | 156.1277 | 973.2594 | 2090.7172 | 3905.0808 | 0 | 24 | FALSE | optimal
uniform | 0.4 | 0.4 | 0.65523 | 0.28152 | 3056.3856 | -0.073438 | 0.33067 | -0.049154 | 1.6719 | 0.66039 | 133.8014 | 1.7539 | 137.6885 | 834.2223 | 2787.6229 | 3347.2121 | 0 | 13 | FALSE | optimal
uniform | 0.5 | 0.5 | 0.58534 | 0.34249 | 2482.1604 | -0.080566 | 0.39151 | -0.049024 | 1.6719 | 0.66039 | 111.5012 | 1.7613 | 115.2571 | 695.1853 | 3484.5287 | 2789.3434 | 0 | 11 | FALSE | optimal
uniform | 0.6 | 0.6 | 0.52258 | 0.42975 | 1899.6015 | -0.093265 | 0.4784 | -0.048647 | 1.6719 | 0.66039 | 89.201 | 1.7746 | 92.9908 | 556.1482 | 4181.4344 | 2231.4747 | 0 | 10 | FALSE | optimal
uniform | 0.7 | 0.69941 | 0.36078 | 0.55676 | 888.1899 | -0.25472 | 0.64675 | -0.089981 | 1.6719 | 0.66039 | 64.7079 | 1.9432 | 77.0729 | 403.4392 | 4874.2265 | 1691.3916 | 0 | 8 | FALSE | optimal
uniform | 0.8 | 0.79479 | 0.25375 | 0.59671 | 606.9217 | -0.17511 | 0.6568 | -0.060097 | 1.5937 | 0.62953 | 32.3912 | 1.8601 | 40.5313 | 250.0649 | 5538.9362 | 1180.0562 | 0 | 5 | FALSE | optimal
uniform | 0.9 | 0.86646 | 0.38256 | 0.74587 | 836.7285 | 0.19026 | 0.68616 | 0.059712 | 1.4375 | 0.56781 | 6.8919 | 1.4785 | 7.1579 | 101.6311 | 6038.3991 | 829.0271 | 0 | 7 | FALSE | optimal
uniform | 1 | 0.91446 | 0.17103 | 0.80449 | 320.7777 | 0.27353 | 0.73087 | 0.073616 | 1.3437 | 0.53078 | 0.82032 | 1.3915 | 0.95891 | 26.6501 | 6372.9548 | 569.4524 | 0 | 3 | FALSE | optimal

## summer_peak
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
peak | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal
peak | 0.1 | 0.1 | 1 | 0.1 | 6272.1516 | -4.5314e-18 | 0.1 | -4.0783e-18 | 1.6719 | 0.66039 | 200.7022 | 1.6772 | 200.7356 | 1251.3335 | 696.9057 | 5020.8182 | 0 | 24 | FALSE | optimal
peak | 0.2 | 0.2 | 1 | 0.2 | 5575.2459 | 1.2362e-16 | 0.2 | 9.8898e-17 | 1.6719 | 0.66039 | 178.4019 | 1.6772 | 178.4317 | 1112.2964 | 1393.8115 | 4462.9495 | 0 | 24 | FALSE | optimal
peak | 0.3 | 0.3 | 0.66785 | 0.080292 | 4131.6168 | -0.036058 | 0.1123 | -0.032008 | 1.6719 | 0.66039 | 156.1017 | 1.7148 | 157.5443 | 973.2594 | 2090.7172 | 3905.0808 | 0 | 18 | FALSE | optimal
peak | 0.4 | 0.4 | 0.62011 | 0.071015 | 3973.1393 | -0.010459 | 0.080631 | -0.0096159 | 1.6719 | 0.66039 | 133.8014 | 1.6881 | 133.9995 | 834.2223 | 2787.6229 | 3347.2121 | 0 | 17 | FALSE | optimal
peak | 0.5 | 0.47866 | 0.67849 | 0.23162 | 3857.336 | 0.058086 | 0.18423 | 0.047385 | 1.6094 | 0.6357 | 84.5719 | 1.6165 | 89.7282 | 623.2126 | 3335.7803 | 3010.0645 | 0 | 18 | FALSE | optimal
peak | 0.6 | 0.48343 | 0.56052 | 0.078406 | 3906.2894 | 0.078406 | 0 | 0.078406 | 1.5937 | 0.62953 | 80.2021 | 1.5953 | 80.2039 | 619.172 | 3369.0448 | 2980.8406 | 0 | 16 | FALSE | optimal
peak | 0.7 | 0.48343 | 0.56052 | 0.078406 | 3906.2894 | 0.078406 | 0 | 0.078406 | 1.5937 | 0.62953 | 80.2021 | 1.5953 | 80.2039 | 619.172 | 3369.0448 | 2980.8406 | 0 | 16 | FALSE | optimal
peak | 0.8 | 0.48343 | 0.56052 | 0.078406 | 3906.2894 | 0.078406 | 0 | 0.078406 | 1.5937 | 0.62953 | 80.2021 | 1.5953 | 80.2039 | 619.172 | 3369.0448 | 2980.8406 | 0 | 16 | FALSE | optimal
peak | 0.9 | 0.48343 | 0.56052 | 0.078406 | 3906.2894 | 0.078406 | 0 | 0.078406 | 1.5937 | 0.62953 | 80.2021 | 1.5953 | 80.2039 | 619.172 | 3369.0448 | 2980.8406 | 0 | 16 | FALSE | optimal
peak | 1 | 0.48343 | 0.56052 | 0.078406 | 3906.2894 | 0.078406 | 0 | 0.078406 | 1.5937 | 0.62953 | 80.2021 | 1.5953 | 80.2039 | 619.172 | 3369.0448 | 2980.8406 | 0 | 16 | FALSE | optimal

## summer_offpeak
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
offpeak | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal
offpeak | 0.1 | 0.1 | 1 | 0.1 | 6272.1516 | 7.137e-17 | 0.1 | 6.4233e-17 | 1.6719 | 0.66039 | 200.7022 | 1.6772 | 200.7356 | 1251.3335 | 696.9057 | 5020.8182 | 0 | 24 | FALSE | optimal
offpeak | 0.2 | 0.2 | 0.75448 | -0.012036 | 5258.0255 | -0.012036 | 0 | -0.012036 | 1.6719 | 0.66039 | 178.4019 | 1.6898 | 178.7199 | 1112.2964 | 1393.8115 | 4462.9495 | 0 | 16 | FALSE | optimal
offpeak | 0.3 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 0.4 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 0.5 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 0.6 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 0.7 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 0.8 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 0.9 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal
offpeak | 1 | 0.27007 | 0.75448 | 0.032541 | 5258.0255 | 0.032541 | 0 | 0.032541 | 1.6406 | 0.64805 | 141.6185 | 1.6432 | 141.6252 | 956.579 | 1882.135 | 4130.3433 | 0 | 16 | FALSE | optimal

## summer_announced
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
announced | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal
announced | 0.1 | 0.1 | 0.91181 | 0.04648 | 6005.9868 | -0.0088414 | 0.054836 | -0.0083566 | 1.6719 | 0.66039 | 200.7022 | 1.6864 | 200.9425 | 1251.3335 | 696.9057 | 5020.8182 | 0 | 21 | FALSE | optimal
announced | 0.2 | 0.19513 | 0.82871 | 0.044641 | 5543.0399 | 0.0046032 | 0.040223 | 0.0044181 | 1.6719 | 0.66039 | 173.2788 | 1.6724 | 173.2791 | 1080.3551 | 1359.8816 | 4528.8206 | 0 | 19 | FALSE | optimal
announced | 0.3 | 0.23668 | 0.82703 | 0.07704 | 5415.1664 | 0.017649 | 0.060457 | 0.016582 | 1.6562 | 0.65422 | 155.5884 | 1.6588 | 158.1265 | 1008.8815 | 1649.4654 | 4310.7105 | 0 | 19 | FALSE | optimal
announced | 0.4 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal
announced | 0.5 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal
announced | 0.6 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal
announced | 0.7 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal
announced | 0.8 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal
announced | 0.9 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal
announced | 1 | 0.242 | 0.78 | 0.028205 | 5435.867 | 0.028205 | 0 | 0.028205 | 1.6406 | 0.64805 | 149.8981 | 1.6477 | 149.9501 | 1012.5046 | 1686.5094 | 4270.0434 | 0 | 18 | FALSE | optimal

## summer_delayed
pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
delayed | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal
delayed | 0.1 | 0.1 | 0.94244 | 0.06561 | 6103.3178 | -0.0055189 | 0.070738 | -0.0051285 | 1.6719 | 0.66039 | 200.7022 | 1.683 | 200.8438 | 1251.3335 | 696.9057 | 5020.8182 | 0 | 22 | FALSE | optimal
delayed | 0.2 | 0.19524 | 0.8585 | 0.078707 | 5518.3104 | 0.0011408 | 0.077655 | 0.0010522 | 1.6719 | 0.66039 | 175.5703 | 1.676 | 175.5881 | 1094.642 | 1360.6601 | 4513.7553 | 0 | 20 | FALSE | optimal
delayed | 0.3 | 0.25053 | 0.80853 | 0.076036 | 5286.219 | 0.015131 | 0.061841 | 0.014195 | 1.6562 | 0.65422 | 156.4078 | 1.6614 | 156.4342 | 1014.1947 | 1745.951 | 4208.9116 | 0 | 19 | FALSE | optimal
delayed | 0.4 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal
delayed | 0.5 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal
delayed | 0.6 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal
delayed | 0.7 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal
delayed | 0.8 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal
delayed | 0.9 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal
delayed | 1 | 0.26574 | 0.75841 | 0.031854 | 5285.4309 | 0.031854 | 0 | 0.031854 | 1.6406 | 0.64805 | 142.8944 | 1.6439 | 142.9053 | 965.1971 | 1851.9891 | 4151.8711 | 0 | 18 | FALSE | optimal

## summer_scenarios
scenario | outcome | pattern | EDL energy OFFERED / demand [-] | EDL energy DELIVERED / demand [-] | A / sum D: demand still in the MGO's market [-] | B_eff/A: taken from the MGO's own market [-] | W = A - B: uncovered load of the served hours [kWh] | sigma = shifted/W: what the closed form predicts on [-] | of which EDL availability [-] | of which load shifted away [-] | optimal p [x P_ref] | optimal p [$/kWh] | leader profit [$] | closed-form p [x P_ref] | closed-form profit [$] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | hours served by the MGO | price arbitrary (no sales) | termination
announced | As announced | announced | 0.23676 | 0.21539 | 0.91181 | 0.1395 | 5529.4397 | 0.011115 | 0.12983 | 0.0096723 | 1.6562 | 0.65422 | 164.1358 | 1.6656 | 167.1197 | 1064.3049 | 1501.0794 | 4403.673 | 0 | 21 | FALSE | optimal
partial | Reduced supply | partial | 0.11838 | 0.11838 | 1 | 0.11838 | 6144.0574 | -1.7752e-16 | 0.11838 | -1.565e-16 | 1.6719 | 0.66039 | 196.6033 | 1.6772 | 196.6361 | 1225.7778 | 825 | 4918.2795 | 0 | 24 | FALSE | optimal
delayed | Shifted window | delayed | 0.23676 | 0.21891 | 0.86158 | 0.10045 | 5454.4029 | 0.0097473 | 0.091599 | 0.0088545 | 1.6719 | 0.66039 | 166.0078 | 1.667 | 166.0322 | 1035.0217 | 1525.5924 | 4408.4433 | 0 | 20 | FALSE | optimal
bonus | Extended window | bonus | 0.3946 | 0.36204 | 0.6935 | 0.12353 | 4283.0338 | 0.010984 | 0.1138 | 0.0097343 | 1.6406 | 0.64805 | 126.2765 | 1.6657 | 129.5375 | 852.9496 | 2523.1003 | 3593.0075 | 0 | 16 | FALSE | optimal
full_supply | Full supply | full_supply | 0.94704 | 0.88998 | 0.24978 | 0.81383 | 365.7515 | 0.11396 | 0.78989 | 0.023945 | 1.3906 | 0.5493 | 3.194 | 1.5582 | 5.9124 | 64.7908 | 6202.3233 | 701.9433 | 0 | 5 | FALSE | optimal
none | No supply | none | 0 | 0 | 1 | 9.7879e-17 | 6969.0574 | 9.7879e-17 | 0 | 9.7879e-17 | 1.6719 | 0.66039 | 223.0024 | 1.6772 | 223.0396 | 1390.3705 | 0 | 5578.6869 | 0 | 24 | FALSE | optimal