## summary
comparison | season | build | DG [kW] | PV [kWp] | load shift [%] | price, no supply [$/kWh] | price, hedged [$/kWh] | price span [$/kWh] | price span [% of no supply] | price span [x P_ref] | profit, no supply [$/day] | profit, hedged [$/day] | profit span [$/day] | profit span [% of no supply] | E[qMGO] hedged [kWh] | E[qPG] hedged [kWh] | E[qsupp] hedged [kWh] | E[qcri] hedged [kWh]
fleet | fall_spring | 400 kW DG | 400 | 0 | 10 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -0.03125 | 134.3327 | 83.0367 | -51.296 | -38.1858 | 514.6821 | 1174.5689 | 2181.933 | 0
fleet | fall_spring | 400 kW DG + 400 kWp PV | 400 | 400 | 10 | 0.60465 | 0.57316 | -0.031492 | -5.2083 | -0.078125 | 373.4335 | 200.0837 | -173.3498 | -46.4205 | 805.6065 | 1174.5689 | 1891.0086 | 0
fleet | summer | 400 kW DG | 400 | 0 | 10 | 0.67393 | 0.66763 | -0.0062984 | -0.93458 | -0.015625 | 241.8311 | 177.3323 | -64.4987 | -26.671 | 1057.8517 | 1588.262 | 4322.9437 | 0
fleet | summer | 400 kW DG + 400 kWp PV | 400 | 400 | 10 | 0.59835 | 0.59205 | -0.0062984 | -1.0526 | -0.015625 | 639.6909 | 499.0802 | -140.6107 | -21.981 | 1543.7771 | 1591.7264 | 3833.5538 | 0
fleet | winter | 400 kW DG | 400 | 0 | 10 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -0.03125 | 147.7188 | 93.1861 | -54.5327 | -36.9166 | 577.5902 | 1311.1051 | 2368.2463 | 0
fleet | winter | 400 kW DG + 400 kWp PV | 400 | 400 | 10 | 0.61095 | 0.59205 | -0.018895 | -3.0928 | -0.046875 | 366.3091 | 213.2234 | -153.0857 | -41.7914 | 825.5982 | 1311.1991 | 2120.1444 | 0
shift | fall_spring | 10% load shift (standard) | 400 | 400 | 10 | 0.60465 | 0.57316 | -0.031492 | -5.2083 | -0.078125 | 373.4335 | 200.0837 | -173.3498 | -46.4205 | 805.6065 | 1174.5689 | 1891.0086 | 0
shift | fall_spring | 50% load shift | 400 | 400 | 50 | 0.61095 | 0.61095 | 0 | 0 | 0 | 579.0692 | 153.0537 | -426.0155 | -73.569 | 513.0792 | 1342.4143 | 2015.6905 | 0
shift | summer | 10% load shift (standard) | 400 | 400 | 10 | 0.59835 | 0.59205 | -0.0062984 | -1.0526 | -0.015625 | 639.6909 | 499.0802 | -140.6107 | -21.981 | 1543.7771 | 1591.7264 | 3833.5538 | 0
shift | winter | 10% load shift (standard) | 400 | 400 | 10 | 0.61095 | 0.59205 | -0.018895 | -3.0928 | -0.046875 | 366.3091 | 213.2234 | -153.0857 | -41.7914 | 825.5982 | 1311.1991 | 2120.1444 | 0
shift | winter | 50% load shift | 400 | 400 | 50 | 0.64244 | 0.49128 | -0.15116 | -23.5294 | -0.375 | 514.6883 | 160.96 | -353.7283 | -68.7267 | 1033.919 | 1463.754 | 1759.2687 | 0

## effect
comparison | season | difference taken | Δ price, no supply [$/kWh] | Δ price, hedged [$/kWh] | Δ price span [$/kWh] | Δ price span [pp] | Δ profit, no supply [$/day] | Δ profit, hedged [$/day] | Δ profit span [$/day] | Δ profit span [pp]
fleet | fall_spring | 400 kW DG + 400 kWp PV minus 400 kW DG | -0.069283 | -0.088178 | -0.018895 | -3.3392 | 239.1008 | 117.047 | -122.0538 | -8.2347
fleet | summer | 400 kW DG + 400 kWp PV minus 400 kW DG | -0.075581 | -0.075581 | 0 | -0.11805 | 397.8598 | 321.7479 | -76.112 | 4.69
fleet | winter | 400 kW DG + 400 kWp PV minus 400 kW DG | -0.062984 | -0.069283 | -0.0062984 | -1.2236 | 218.5903 | 120.0373 | -98.553 | -4.8748
shift | fall_spring | 50% load shift minus 10% load shift (standard) | 0.0062984 | 0.037791 | 0.031492 | 5.2083 | 205.6356 | -47.0301 | -252.6657 | -27.1485
shift | winter | 50% load shift minus 10% load shift (standard) | 0.031492 | -0.10077 | -0.13227 | -20.4366 | 148.3792 | -52.2634 | -200.6426 | -26.9353
fleet: Both builds carry the configured 10% load shift; they differ in CAP['PV'] and in nothing else.
shift: Both builds are 400 kW DG + 400 kWp PV; they differ in shift_frac and in nothing else.
Spans are already percentages of the no-supply run, so their differences are in percentage points (pp).

## runs
comparison | season | build | run | scenario | outcome | P(scenario) [-] | P(no supply) [-] | leader price [x P_ref] | leader price [$/kWh] | min hourly price [$/kWh] | max hourly price [$/kWh] | leader profit [$] | leader revenue [$] | generation cost [$] | E[microgrid sales] [kWh] | E[EDL delivered] [kWh] | E[suppressed demand] [kWh] | E[unserved] [kWh] | sum D [kWh] | E[qsupp] / D [%] | price arbitrary (no sales) | termination
fleet | fall_spring | 400 kW DG | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 134.3327 | 520.4954 | 386.1627 | 772.3254 | 0 | 3098.8586 | 0 | 3871.184 | 80.0494 | FALSE | optimal
fleet | fall_spring | 400 kW DG | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 83.0367 | 340.3778 | 257.3411 | 514.6821 | 1174.5689 | 2181.933 | 0 | 3871.184 | 56.3635 | FALSE | optimal
fleet | fall_spring | 400 kW DG + 400 kWp PV | no supply (P = 1) | none | No supply | 0 | 1 | 1.5 | 0.60465 | 0.60465 | 0.60465 | 373.4335 | 659.6125 | 286.1789 | 1090.8997 | 0 | 2780.2844 | 0 | 3871.184 | 71.82 | FALSE | optimal
fleet | fall_spring | 400 kW DG + 400 kWp PV | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.4219 | 0.57316 | 0.57316 | 0.57316 | 200.0837 | 461.7397 | 261.6559 | 805.6065 | 1174.5689 | 1891.0086 | 0 | 3871.184 | 48.8483 | FALSE | optimal
fleet | summer | 400 kW DG | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 241.8311 | 937.0163 | 695.1853 | 1390.3705 | 0 | 5578.6869 | 0 | 6969.0574 | 80.0494 | FALSE | optimal
fleet | summer | 400 kW DG | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.6562 | 0.66763 | 0.66763 | 0.66763 | 177.3323 | 706.2581 | 528.9258 | 1057.8517 | 1588.262 | 4322.9437 | 0 | 6969.0574 | 62.0305 | FALSE | optimal
fleet | summer | 400 kW DG + 400 kWp PV | no supply (P = 1) | none | No supply | 0 | 1 | 1.4844 | 0.59835 | 0.59835 | 0.59835 | 639.6909 | 1206.2873 | 566.5964 | 2016.0176 | 0 | 4953.0397 | 0 | 6969.0574 | 71.0719 | FALSE | optimal
fleet | summer | 400 kW DG + 400 kWp PV | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.4687 | 0.59205 | 0.59205 | 0.59205 | 499.0802 | 913.9981 | 414.9179 | 1543.7771 | 1591.7264 | 3833.5538 | 0 | 6969.0574 | 55.0082 | FALSE | optimal
fleet | winter | 400 kW DG | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 147.7188 | 572.362 | 424.6432 | 849.2865 | 0 | 3407.6552 | 0 | 4256.9417 | 80.0494 | FALSE | optimal
fleet | winter | 400 kW DG | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 93.1861 | 381.9812 | 288.7951 | 577.5902 | 1311.1051 | 2368.2463 | 0 | 4256.9417 | 55.6326 | FALSE | optimal
fleet | winter | 400 kW DG + 400 kWp PV | no supply (P = 1) | none | No supply | 0 | 1 | 1.5156 | 0.61095 | 0.61095 | 0.61095 | 366.3091 | 713.4405 | 347.1314 | 1167.7589 | 0 | 3089.1828 | 0 | 4256.9417 | 72.5681 | FALSE | optimal
fleet | winter | 400 kW DG + 400 kWp PV | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.4687 | 0.59205 | 0.59205 | 0.59205 | 213.2234 | 488.798 | 275.5746 | 825.5982 | 1311.1991 | 2120.1444 | 0 | 4256.9417 | 49.8044 | FALSE | optimal
shift | fall_spring | 10% load shift (standard) | no supply (P = 1) | none | No supply | 0 | 1 | 1.5 | 0.60465 | 0.60465 | 0.60465 | 373.4335 | 659.6125 | 286.1789 | 1090.8997 | 0 | 2780.2844 | 0 | 3871.184 | 71.82 | FALSE | optimal
shift | fall_spring | 10% load shift (standard) | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.4219 | 0.57316 | 0.57316 | 0.57316 | 200.0837 | 461.7397 | 261.6559 | 805.6065 | 1174.5689 | 1891.0086 | 0 | 3871.184 | 48.8483 | FALSE | optimal
shift | fall_spring | 50% load shift | no supply (P = 1) | none | No supply | 0 | 1 | 1.5156 | 0.61095 | 0.61095 | 0.61095 | 579.0692 | 648.7896 | 69.7204 | 1061.9384 | 0 | 2809.2457 | 0 | 3871.184 | 72.5681 | FALSE | optimal
shift | fall_spring | 50% load shift | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.5156 | 0.61095 | 0.61095 | 0.61095 | 153.0537 | 313.465 | 160.4113 | 513.0792 | 1342.4143 | 2015.6905 | 0 | 3871.184 | 52.0691 | FALSE | optimal
shift | summer | 10% load shift (standard) | no supply (P = 1) | none | No supply | 0 | 1 | 1.4844 | 0.59835 | 0.59835 | 0.59835 | 639.6909 | 1206.2873 | 566.5964 | 2016.0176 | 0 | 4953.0397 | 0 | 6969.0574 | 71.0719 | FALSE | optimal
shift | summer | 10% load shift (standard) | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.4687 | 0.59205 | 0.59205 | 0.59205 | 499.0802 | 913.9981 | 414.9179 | 1543.7771 | 1591.7264 | 3833.5538 | 0 | 6969.0574 | 55.0082 | FALSE | optimal
shift | winter | 10% load shift (standard) | no supply (P = 1) | none | No supply | 0 | 1 | 1.5156 | 0.61095 | 0.61095 | 0.61095 | 366.3091 | 713.4405 | 347.1314 | 1167.7589 | 0 | 3089.1828 | 0 | 4256.9417 | 72.5681 | FALSE | optimal
shift | winter | 10% load shift (standard) | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.4687 | 0.59205 | 0.59205 | 0.59205 | 213.2234 | 488.798 | 275.5746 | 825.5982 | 1311.1991 | 2120.1444 | 0 | 4256.9417 | 49.8044 | FALSE | optimal
shift | winter | 50% load shift | no supply (P = 1) | none | No supply | 0 | 1 | 1.5937 | 0.64244 | 0.64244 | 0.64244 | 514.6883 | 647.916 | 133.2276 | 1008.5227 | 0 | 3248.419 | 0 | 4256.9417 | 76.3087 | FALSE | optimal
shift | winter | 50% load shift | hedged (real P) | stochastic | Hedged (stochastic) |  |  | 1.2188 | 0.49128 | 0.49128 | 0.49128 | 160.96 | 507.9418 | 346.9818 | 1033.919 | 1463.754 | 1759.2687 | 0 | 4256.9417 | 41.3271 | FALSE | optimal