## runs
season | fleet | load shift [-] | series | hours supplied [h] | supplied hours (hour-beginning) | demand in the supplied hours / daily demand [-] | leader price [$/kWh] | price, no supply [$/kWh] | price deviation [$/kWh] | price deviation [% of no supply] | price deviation [menu steps] | leader profit [$/day] | profit, no supply [$/day] | profit deviation [$/day] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | termination
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 |  | 0 | 0.60465 | 0.60465 | 0 | 0 | 0 | 292.4931 | 292.4931 | 0 | 1090.8997 | 0 | 2780.2844 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 21 | 0.065018 | 0.59205 | 0.60465 | -0.012597 | -2.0833 | -2 | 282.9058 | 292.4931 | -9.5873 | 1048.9591 | 276.8645 | 2545.3604 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 3 | 19,20,21 | 0.18352 | 0.57946 | 0.60465 | -0.025194 | -4.1667 | -4 | 266.9894 | 292.4931 | -25.5037 | 914.2402 | 781.4806 | 2175.4632 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 6 | 18,19,20,21,22,23 | 0.34151 | 0.55426 | 0.60465 | -0.050388 | -8.3333 | -8 | 248.2939 | 292.4931 | -44.1992 | 738.7034 | 1454.2631 | 1678.2175 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 12 | 0,1,2,3,16,17,18,19,20,21,22,23 | 0.58994 | 0.47868 | 0.60465 | -0.12597 | -20.8333 | -20 | 175.1489 | 292.4931 | -117.3442 | 526.1147 | 2442.4951 | 902.5742 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 18 | 0,1,2,3,4,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.80852 | 0.49758 | 0.60465 | -0.10707 | -17.7083 | -17 | 68.3215 | 292.4931 | -224.1716 | 229.0339 | 3204.0545 | 438.0957 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 21 | 0,1,2,3,4,5,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.91253 | 0.53537 | 0.60465 | -0.069283 | -11.4583 | -11 | 28.8695 | 292.4931 | -263.6236 | 89.4209 | 3566.4481 | 215.315 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 23 | 0,1,2,3,4,5,6,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97429 | 0.62984 | 0.60465 | 0.025194 | 4.1667 | 4 | 9.2201 | 292.4931 | -283.2729 | 15.115 | 3781.6139 | 74.4552 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 7 | 0.025709 | 0.59835 | 0.60465 | -0.0062984 | -1.0417 | -1 | 281.4103 | 292.4931 | -11.0828 | 1081.1188 | 109.4746 | 2680.5907 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 3 | 6,7,8 | 0.087466 | 0.59835 | 0.60465 | -0.0062984 | -1.0417 | -1 | 252.2423 | 292.4931 | -40.2508 | 988.0521 | 372.455 | 2510.6769 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 6 | 5,6,7,8,12,14 | 0.19148 | 0.60465 | 0.60465 | 0 | 0 | 0 | 199.2224 | 292.4931 | -93.2706 | 807.8885 | 815.3806 | 2247.915 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 12 | 4,5,6,7,8,9,10,11,12,13,14,15 | 0.41006 | 0.64244 | 0.60465 | 0.037791 | 6.25 | 6 | 72.3224 | 292.4931 | -220.1706 | 382.3061 | 1746.1754 | 1742.7025 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.65849 | 0.62984 | 0.60465 | 0.025194 | 4.1667 | 4 | 26.9345 | 292.4931 | -265.5586 | 200.7875 | 2681.3324 | 989.0642 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.81648 | 0.62984 | 0.60465 | 0.025194 | 4.1667 | 4 | 14.0237 | 292.4931 | -278.4694 | 107.8976 | 3231.7908 | 531.4956 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93498 | 0.62984 | 0.60465 | 0.025194 | 4.1667 | 4 | 4.9634 | 292.4931 | -287.5296 | 38.2262 | 3644.6586 | 188.2993 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 |  | 0 | 0.61095 | 0.61095 | 0 | 0 | 0 | 506.5045 | 506.5045 | 0 | 1911.7431 | 0 | 5057.3143 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 5 | 0.059592 | 0.60465 | 0.61095 | -0.0062984 | -1.0309 | -1 | 489.4583 | 506.5045 | -17.0461 | 1805.3178 | 456.833 | 4706.9066 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 3 | 4,5,23 | 0.1734 | 0.58575 | 0.61095 | -0.025194 | -4.1237 | -4 | 460.0448 | 506.5045 | -46.4597 | 1631.7972 | 1329.2584 | 4008.0017 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 6 | 0,3,4,5,22,23 | 0.33617 | 0.55426 | 0.61095 | -0.056686 | -9.2784 | -9 | 425.794 | 506.5045 | -80.7104 | 1346.2755 | 2577.0932 | 3045.6886 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 12 | 0,1,2,3,4,5,6,19,20,21,22,23 | 0.6214 | 0.45979 | 0.61095 | -0.15116 | -24.7423 | -24 | 321.7877 | 506.5045 | -184.7168 | 933.6741 | 4594.4292 | 1440.954 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 18 | 0,1,2,3,4,5,6,10,11,12,13,14,18,19,20,21,22,23 | 0.81941 | 0.51017 | 0.61095 | -0.10077 | -16.4948 | -16 | 142.497 | 506.5045 | -364.0075 | 370.0293 | 5836.3867 | 762.6413 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 21 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.91383 | 0.55426 | 0.61095 | -0.056686 | -9.2784 | -9 | 53.4781 | 506.5045 | -453.0264 | 145.1209 | 6428.5697 | 395.3667 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97402 | 0.44089 | 0.61095 | -0.17006 | -27.8351 | -27 | 29.3565 | 506.5045 | -477.148 | 68.1298 | 6806.116 | 94.8115 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 8 | 0.025979 | 0.61095 | 0.61095 | 0 | 0 | 0 | 474.6501 | 506.5045 | -31.8544 | 1843.9742 | 199.1505 | 4925.9326 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 3 | 7,8,17 | 0.086173 | 0.60465 | 0.61095 | -0.0062984 | -1.0309 | -1 | 433.2857 | 506.5045 | -73.2188 | 1734.5935 | 660.5961 | 4573.8678 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 6 | 7,8,9,15,16,17 | 0.18059 | 0.61095 | 0.61095 | 0 | 0 | 0 | 321.5235 | 506.5045 | -184.981 | 1440.6544 | 1384.3752 | 4144.0278 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 12 | 7,8,9,10,11,12,13,14,15,16,17,18 | 0.3786 | 0.64244 | 0.61095 | 0.031492 | 5.1546 | 5 | 113.0173 | 506.5045 | -393.4872 | 762.1214 | 2902.3233 | 3304.6127 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 18 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.66383 | 0.62984 | 0.61095 | 0.018895 | 3.0928 | 3 | 46.5943 | 506.5045 | -459.9102 | 355.8146 | 4860.5265 | 1752.7163 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 21 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.8266 | 0.62984 | 0.61095 | 0.018895 | 3.0928 | 3 | 24.224 | 506.5045 | -482.2805 | 183.5283 | 5881.4823 | 904.0468 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 23 | 0,1,2,3,4,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.94041 | 0.62984 | 0.61095 | 0.018895 | 3.0928 | 3 | 8.5837 | 506.5045 | -497.9207 | 63.0741 | 6595.2849 | 310.6984 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 |  | 0 | 0.62355 | 0.62355 | 0 | 0 | 0 | 285.0655 | 285.0655 | 0 | 1104.0644 | 0 | 3152.8773 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 21 | 0.067307 | 0.61725 | 0.62355 | -0.0062984 | -1.0101 | -1 | 272.4792 | 285.0655 | -12.5862 | 1030.8043 | 315.1753 | 2910.9621 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 3 | 19,20,21 | 0.1938 | 0.60465 | 0.62355 | -0.018895 | -3.0303 | -3 | 250.1018 | 285.0655 | -34.9636 | 884.6289 | 907.4776 | 2464.8351 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 6 | 17,18,19,20,21,22 | 0.35299 | 0.57946 | 0.62355 | -0.044089 | -7.0707 | -7 | 221.7994 | 285.0655 | -63.266 | 708.316 | 1652.9167 | 1895.7091 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 12 | 0,1,5,6,16,17,18,19,20,21,22,23 | 0.60509 | 0.51017 | 0.62355 | -0.11337 | -18.1818 | -18 | 153.8549 | 285.0655 | -131.2105 | 494.2794 | 2743.938 | 1018.7243 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 18 | 0,1,2,3,4,5,6,7,11,15,16,17,18,19,20,21,22,23 | 0.8133 | 0.48498 | 0.62355 | -0.13857 | -22.2222 | -22 | 114.1353 | 285.0655 | -170.9302 | 257.4587 | 3541.6546 | 457.8284 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 21 | 0,1,2,3,4,5,6,7,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.90987 | 0.48498 | 0.62355 | -0.13857 | -22.2222 | -22 | 51.3737 | 285.0655 | -233.6918 | 124.2953 | 3911.6169 | 221.0295 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97017 | 0.58575 | 0.62355 | -0.037791 | -6.0606 | -6 | 14.7185 | 285.0655 | -270.347 | 25.938 | 4142.6458 | 88.3579 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 8 | 0.029833 | 0.62355 | 0.62355 | 0 | 0 | 0 | 266.9331 | 285.0655 | -18.1324 | 1058.4278 | 139.695 | 3058.8189 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 3 | 8,9,12 | 0.090134 | 0.62984 | 0.62355 | 0.0062984 | 1.0101 | 1 | 223.2208 | 285.0655 | -61.8446 | 937.2048 | 422.0636 | 2897.6733 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 6 | 8,9,10,12,13,14 | 0.1867 | 0.64874 | 0.62355 | 0.025194 | 4.0404 | 4 | 155.5961 | 285.0655 | -129.4693 | 714.8555 | 874.2398 | 2667.8464 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 12 | 2,3,4,7,8,9,10,11,12,13,14,15 | 0.39491 | 0.64244 | 0.62355 | 0.018895 | 3.0303 | 3 | 76.5163 | 285.0655 | -208.5492 | 442.134 | 1849.2267 | 1965.581 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,23 | 0.64701 | 0.62984 | 0.62355 | 0.0062984 | 1.0101 | 1 | 33.4768 | 285.0655 | -251.5887 | 228.2152 | 2904.5553 | 1124.1712 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.8062 | 0.62984 | 0.62355 | 0.0062984 | 1.0101 | 1 | 16.2783 | 285.0655 | -268.7872 | 125.2938 | 3514.46 | 617.1879 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93269 | 0.62984 | 0.62355 | 0.0062984 | 1.0101 | 1 | 5.6502 | 285.0655 | -279.4152 | 43.5157 | 3999.071 | 214.355 | 0 | optimal
Deterministic runs, P(window) = 1. EDL's cap is M_phys in the supplied hours and 0 elsewhere. Deviations are against the no-supply row of the same season. Price-menu step 0.00630 $/kWh.