## summary
season | load shift [%] | DG [kW] | PV [kWp] | price, no supply [$/kWh] | price, commitment [$/kWh] | price span [$/kWh] | price span [% of no supply] | price span [menu steps] | profit, no supply [$/day] | profit, commitment [$/day] | profit span [$/day] | profit span [% of no supply] | E[qMGO], commitment [kWh] | E[qPG], commitment [kWh] | E[qsupp], commitment [kWh] | E[qcri], commitment [kWh]
fall_spring | 10 | 400 | 0 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -2 | 134.3327 | 83.0367 | -51.296 | -38.1858 | 514.6821 | 1174.5689 | 2181.933 | 0
fall_spring | 15 | 400 | 0 | 0.66763 | 0.65504 | -0.012597 | -1.8868 | -2 | 134.3232 | 77.2201 | -57.1031 | -42.5117 | 498.0738 | 1211.9575 | 2161.1527 | 0
fall_spring | 20 | 400 | 0 | 0.67393 | 0.64874 | -0.025194 | -3.7383 | -4 | 134.3327 | 72.0019 | -62.3308 | -46.4003 | 484.0819 | 1246.7297 | 2140.3724 | 0
fall_spring | 25 | 400 | 0 | 0.67393 | 0.64874 | -0.025194 | -3.7383 | -4 | 134.3327 | 68.5439 | -65.7889 | -48.9746 | 460.8331 | 1269.9786 | 2140.3724 | 0
fall_spring | 30 | 400 | 0 | 0.67393 | 0.64874 | -0.025194 | -3.7383 | -4 | 134.3327 | 66.1804 | -68.1524 | -50.734 | 444.9428 | 1285.8688 | 2140.3724 | 0
summer | 10 | 400 | 0 | 0.67393 | 0.66763 | -0.0062984 | -0.93458 | -1 | 241.8311 | 177.3323 | -64.4987 | -26.671 | 1057.8517 | 1588.262 | 4322.9437 | 0
summer | 15 | 400 | 0 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -2 | 241.8311 | 173.3328 | -68.4982 | -28.3248 | 1074.3598 | 1612.5364 | 4282.1612 | 0
summer | 20 | 400 | 0 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -2 | 241.8311 | 169.7357 | -72.0954 | -29.8123 | 1052.0637 | 1634.8325 | 4282.1612 | 0
summer | 30 | 400 | 0 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -2 | 241.8311 | 164.5411 | -77.29 | -31.9603 | 1019.8664 | 1667.0298 | 4282.1612 | 0
winter | 10 | 400 | 0 | 0.67393 | 0.66134 | -0.012597 | -1.8692 | -2 | 147.7188 | 93.1861 | -54.5327 | -36.9166 | 577.5902 | 1311.1051 | 2368.2463 | 0
winter | 15 | 400 | 0 | 0.67393 | 0.65504 | -0.018895 | -2.8037 | -3 | 147.7188 | 89.0768 | -58.642 | -39.6984 | 574.5498 | 1336.7003 | 2345.6916 | 0
winter | 20 | 400 | 0 | 0.67393 | 0.65504 | -0.018895 | -2.8037 | -3 | 147.7188 | 85.1099 | -62.6089 | -42.3838 | 548.9632 | 1362.2869 | 2345.6916 | 0
winter | 25 | 400 | 0 | 0.67393 | 0.64874 | -0.025194 | -3.7383 | -4 | 147.7188 | 82.2257 | -65.4931 | -44.3363 | 552.8183 | 1380.9865 | 2323.1369 | 0
Span = stochastic commitment minus no supply; % is against the no-supply run. Price-menu step 0.00630 $/kWh: every price span is a whole number of steps.
summer: no span at load shift = 25% (a run did not solve)
winter: no span at load shift = 30% (a run did not solve)

## runs
season | load shift [%] | run | scenario | outcome | P(scenario) [-] | P(no supply) [-] | leader price [x P_ref] | leader price [$/kWh] | min hourly price [$/kWh] | max hourly price [$/kWh] | leader profit [$] | leader revenue [$] | generation cost [$] | E[microgrid sales] [kWh] | E[EDL delivered] [kWh] | E[suppressed demand] [kWh] | E[unserved] [kWh] | sum D [kWh] | E[qsupp] / D [%] | price arbitrary (no sales) | termination
fall_spring | 10 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 134.3327 | 520.4954 | 386.1627 | 772.3254 | 0 | 3098.8586 | 0 | 3871.184 | 80.0494 | FALSE | optimal
fall_spring | 10 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 83.0367 | 340.3778 | 257.3411 | 514.6821 | 1174.5689 | 2181.933 | 0 | 3871.184 | 56.3635 | FALSE | optimal
fall_spring | 15 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6562 | 0.66763 | 0.66763 | 0.66763 | 134.3232 | 534.9665 | 400.6434 | 801.2867 | 0 | 3069.8973 | 0 | 3871.184 | 79.3012 | FALSE | optimal
fall_spring | 15 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.625 | 0.65504 | 0.65504 | 0.65504 | 77.2201 | 326.257 | 249.0369 | 498.0738 | 1211.9575 | 2161.1527 | 0 | 3871.184 | 55.8267 | FALSE | optimal
fall_spring | 20 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 134.3327 | 520.4954 | 386.1627 | 772.3254 | 0 | 3098.8586 | 0 | 3871.184 | 80.0494 | FALSE | optimal
fall_spring | 20 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6094 | 0.64874 | 0.64874 | 0.64874 | 72.0019 | 314.0429 | 242.041 | 484.0819 | 1246.7297 | 2140.3724 | 0 | 3871.184 | 55.2899 | FALSE | optimal
fall_spring | 25 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 134.3327 | 520.4954 | 386.1627 | 772.3254 | 0 | 3098.8586 | 0 | 3871.184 | 80.0494 | FALSE | optimal
fall_spring | 25 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6094 | 0.64874 | 0.64874 | 0.64874 | 68.5439 | 298.9604 | 230.4165 | 460.8331 | 1269.9786 | 2140.3724 | 0 | 3871.184 | 55.2899 | FALSE | optimal
fall_spring | 30 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 134.3327 | 520.4954 | 386.1627 | 772.3254 | 0 | 3098.8586 | 0 | 3871.184 | 80.0494 | FALSE | optimal
fall_spring | 30 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6094 | 0.64874 | 0.64874 | 0.64874 | 66.1804 | 288.6518 | 222.4714 | 444.9428 | 1285.8688 | 2140.3724 | 0 | 3871.184 | 55.2899 | FALSE | optimal
summer | 10 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 241.8311 | 937.0163 | 695.1853 | 1390.3705 | 0 | 5578.6869 | 0 | 6969.0574 | 80.0494 | FALSE | optimal
summer | 10 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6562 | 0.66763 | 0.66763 | 0.66763 | 177.3323 | 706.2581 | 528.9258 | 1057.8517 | 1588.262 | 4322.9437 | 0 | 6969.0574 | 62.0305 | FALSE | optimal
summer | 15 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 241.8311 | 937.0163 | 695.1853 | 1390.3705 | 0 | 5578.6869 | 0 | 6969.0574 | 80.0494 | FALSE | optimal
summer | 15 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 173.3328 | 710.5127 | 537.1799 | 1074.3598 | 1612.5364 | 4282.1612 | 0 | 6969.0574 | 61.4453 | FALSE | optimal
summer | 20 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 241.8311 | 937.0163 | 695.1853 | 1390.3705 | 0 | 5578.6869 | 0 | 6969.0574 | 80.0494 | FALSE | optimal
summer | 20 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 169.7357 | 695.7675 | 526.0319 | 1052.0637 | 1634.8325 | 4282.1612 | 0 | 6969.0574 | 61.4453 | FALSE | optimal
summer | 30 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 241.8311 | 937.0163 | 695.1853 | 1390.3705 | 0 | 5578.6869 | 0 | 6969.0574 | 80.0494 | FALSE | optimal
summer | 30 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 164.5411 | 674.4743 | 509.9332 | 1019.8664 | 1667.0298 | 4282.1612 | 0 | 6969.0574 | 61.4453 | FALSE | optimal
winter | 10 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 147.7188 | 572.362 | 424.6432 | 849.2865 | 0 | 3407.6552 | 0 | 4256.9417 | 80.0494 | FALSE | optimal
winter | 10 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6406 | 0.66134 | 0.66134 | 0.66134 | 93.1861 | 381.9812 | 288.7951 | 577.5902 | 1311.1051 | 2368.2463 | 0 | 4256.9417 | 55.6326 | FALSE | optimal
winter | 15 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 147.7188 | 572.362 | 424.6432 | 849.2865 | 0 | 3407.6552 | 0 | 4256.9417 | 80.0494 | FALSE | optimal
winter | 15 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.625 | 0.65504 | 0.65504 | 0.65504 | 89.0768 | 376.3517 | 287.2749 | 574.5498 | 1336.7003 | 2345.6916 | 0 | 4256.9417 | 55.1027 | FALSE | optimal
winter | 20 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 147.7188 | 572.362 | 424.6432 | 849.2865 | 0 | 3407.6552 | 0 | 4256.9417 | 80.0494 | FALSE | optimal
winter | 20 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.625 | 0.65504 | 0.65504 | 0.65504 | 85.1099 | 359.5915 | 274.4816 | 548.9632 | 1362.2869 | 2345.6916 | 0 | 4256.9417 | 55.1027 | FALSE | optimal
winter | 25 | no supply (P = 1) | none | No supply | 0 | 1 | 1.6719 | 0.67393 | 0.67393 | 0.67393 | 147.7188 | 572.362 | 424.6432 | 849.2865 | 0 | 3407.6552 | 0 | 4256.9417 | 80.0494 | FALSE | optimal
winter | 25 | stochastic commitment (real P) | stochastic | Stochastic commitment |  |  | 1.6094 | 0.64874 | 0.64874 | 0.64874 | 82.2257 | 358.6348 | 276.4092 | 552.8183 | 1380.9865 | 2323.1369 | 0 | 4256.9417 | 54.5729 | FALSE | optimal