## runs
season | fleet | DG [kW] | PV [kWp] | load shift [-] | series | hours EDL covers [h] | covered hours (hour-beginning) | demand in the covered hours / daily demand [-] | % of the day's sun in those hours | leader price [$/kWh] | price, no supply [$/kWh] | price span [$/kWh] | price span [% of no supply] | price span [menu steps] | leader profit [$/day] | profit, no supply [$/day] | profit span [$/day] | profit span [% of no supply] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | termination
fall_spring | 400 kW DG | 400 | 0 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1198.3132 | 1198.3132 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG | 400 | 0 | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 1.3552 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 600.0528 | 1198.3132 | -598.2604 | -49.9252 | 1252.4584 | 1833.0939 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG | 400 | 0 | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 57.9352 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 832.0778 | 1198.3132 | -366.2354 | -30.5626 | 1667.1564 | 1119.416 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1236.8156 | 1236.8156 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 1.3552 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 638.0335 | 1236.8156 | -598.7821 | -48.4132 | 1252.4584 | 1833.0939 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 57.9352 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 848.2737 | 1236.8156 | -388.5419 | -31.4147 | 1667.1564 | 1119.416 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1275.3181 | 1275.3181 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 1.3552 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 676.0141 | 1275.3181 | -599.3039 | -46.9925 | 1252.4584 | 1833.0939 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 57.9352 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 864.4697 | 1275.3181 | -410.8484 | -32.2154 | 1667.1564 | 1119.416 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1312.9529 | 1312.9529 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 1.3552 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 713.9948 | 1312.9529 | -598.9581 | -45.6192 | 1252.4584 | 1833.0939 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 57.9352 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 880.6657 | 1312.9529 | -432.2872 | -32.9248 | 1667.1564 | 1119.416 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7231 | 0.7231 | 0 | 0 | 0 | 1336.1495 | 1336.1495 | 0 | 0 | 2399.7692 | 0 | 1471.4149 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 1.3552 | 0.6731 | 0.7231 | -0.05 | -6.9147 | -5 | 739.8279 | 1336.1495 | -596.3216 | -44.6299 | 1331.0216 | 1833.0939 | 707.0685 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 57.9352 | 0.7131 | 0.7231 | -0.01 | -1.3829 | -1 | 890.0342 | 1336.1495 | -446.1153 | -33.3881 | 1701.0506 | 1119.416 | 1050.7175 | 0 | optimal
summer | 400 kW DG | 400 | 0 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2157.2504 | 2157.2504 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG | 400 | 0 | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.077879 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1057.8776 | 2157.2504 | -1099.3728 | -50.9618 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG | 400 | 0 | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 48.8327 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1541.4089 | 2157.2504 | -615.8415 | -28.5475 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2212.4836 | 2212.4836 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.077879 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1113.0678 | 2212.4836 | -1099.4158 | -49.6915 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 48.8327 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1569.6703 | 2212.4836 | -642.8133 | -29.0539 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2267.7168 | 2267.7168 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.077879 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1168.2579 | 2267.7168 | -1099.4588 | -48.4831 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 48.8327 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1597.9316 | 2267.7168 | -669.7852 | -29.5357 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2322.95 | 2322.95 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.077879 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1223.4481 | 2322.95 | -1099.5019 | -47.3321 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 48.8327 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1626.1929 | 2322.95 | -696.757 | -29.9945 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2377.0927 | 2377.0927 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.077879 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1278.6383 | 2377.0927 | -1098.4544 | -46.21 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 48.8327 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1654.4543 | 2377.0927 | -722.6384 | -30.4001 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
winter | 400 kW DG | 400 | 0 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1317.7233 | 1317.7233 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG | 400 | 0 | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 1.9812 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 635.4201 | 1317.7233 | -682.3032 | -51.7789 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG | 400 | 0 | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 82.6584 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 929.3466 | 1317.7233 | -388.3767 | -29.4733 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1338.9102 | 1338.9102 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 1.9812 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 656.1872 | 1338.9102 | -682.723 | -50.9909 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG + 50 kWp PV | 400 | 50 | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 82.6584 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 933.0207 | 1338.9102 | -405.8894 | -30.3149 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1360.0971 | 1360.0971 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 1.9812 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 676.9543 | 1360.0971 | -683.1427 | -50.2275 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG + 100 kWp PV | 400 | 100 | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 82.6584 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 936.6949 | 1360.0971 | -423.4022 | -31.1303 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1381.2839 | 1381.2839 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 1.9812 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 697.7214 | 1381.2839 | -683.5625 | -49.4875 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG + 150 kWp PV | 400 | 150 | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 82.6584 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 940.369 | 1381.2839 | -440.9149 | -31.9207 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | no supply | 0 |  | 0 | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1402.4708 | 1402.4708 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 1.9812 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 718.4886 | 1402.4708 | -683.9823 | -48.7698 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 400 | 200 | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 82.6584 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 944.0431 | 1402.4708 | -458.4277 | -32.6871 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
Deterministic runs, P = 1. EDL's cap is M_phys in the covered hours and 0 elsewhere. Spans are against the no-supply row of the same season, PV size and load shift. Price-menu step 0.01000 $/kWh.