## runs
season | fleet | load shift [-] | series | hours supplied [h] | supplied hours (hour-beginning) | demand in the supplied hours / daily demand [-] | leader price [$/kWh] | price, no supply [$/kWh] | price deviation [$/kWh] | price deviation [% of no supply] | price deviation [menu steps] | leader profit [$/day] | profit, no supply [$/day] | profit deviation [$/day] | profit at the no-supply price [$/day] | regret of keeping the no-supply price [$/day] | regret of keeping the no-supply price [% of profit] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | termination
fall_spring | 400 kW DG | 0.1 | no supply | 0 |  | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1198.3132 | 1198.3132 | 0 | 1198.3132 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 1 | 21 | 0.065018 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 1107.588 | 1198.3132 | -90.7252 | 1107.588 | 0 | 0 | 2175.5804 | 276.8645 | 1418.7391 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 2 | 20,21 | 0.12515 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 1023.6734 | 1198.3132 | -174.6398 | 1023.6734 | 0 | 0 | 2010.7511 | 532.9451 | 1327.4878 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 3 | 19,20,21 | 0.18352 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 942.4613 | 1198.3132 | -255.8519 | 942.2313 | 0.23002 | 0.024406 | 1888.3215 | 781.4806 | 1201.3819 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 4 | 19,20,21,22 | 0.23667 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 868.526 | 1198.3132 | -329.7872 | 868.059 | 0.46707 | 0.053777 | 1740.1844 | 1007.8309 | 1123.1687 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 5 | 19,20,21,22,23 | 0.28981 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 794.6741 | 1198.3132 | -403.6391 | 793.9192 | 0.75491 | 0.094996 | 1624.7682 | 1234.0819 | 1012.334 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 6 | 18,19,20,21,22,23 | 0.34151 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 723.0321 | 1198.3132 | -475.2811 | 721.7684 | 1.2636 | 0.17477 | 1478.2909 | 1454.2631 | 938.6301 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 7 | 1,18,19,20,21,22,23 | 0.38613 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 661.2215 | 1198.3132 | -537.0917 | 659.5145 | 1.7071 | 0.25817 | 1380.1326 | 1644.2424 | 846.809 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 600.0528 | 1198.3132 | -598.2604 | 597.6301 | 2.4228 | 0.40376 | 1252.4584 | 1833.0939 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 9 | 0,1,17,18,19,20,21,22,23 | 0.47349 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 540.7896 | 1198.3132 | -657.5236 | 537.602 | 3.1876 | 0.58943 | 1152.8237 | 2016.2804 | 702.0799 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 10 | 0,1,3,17,18,19,20,21,22,23 | 0.51422 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 490.0799 | 1198.3132 | -708.2333 | 486.3815 | 3.6984 | 0.75466 | 1044.7237 | 2178.683 | 647.7774 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 11 | 0,1,2,3,17,18,19,20,21,22,23 | 0.5523 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 451.6552 | 1198.3132 | -746.658 | 448.2467 | 3.4085 | 0.75466 | 962.8121 | 2311.3835 | 596.9884 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 12 | 0,1,2,3,16,17,18,19,20,21,22,23 | 0.58994 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 413.6906 | 1198.3132 | -784.6226 | 410.5686 | 3.1219 | 0.75466 | 881.8814 | 2442.4951 | 546.8076 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 13 | 0,1,2,3,4,16,17,18,19,20,21,22,23 | 0.62741 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 375.885 | 1198.3132 | -822.4282 | 373.0483 | 2.8366 | 0.75466 | 801.2897 | 2573.0574 | 496.837 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 14 | 0,1,2,3,4,13,16,17,18,19,20,21,22,23 | 0.66425 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 338.7239 | 1198.3132 | -859.5893 | 336.1677 | 2.5562 | 0.75466 | 722.0718 | 2701.394 | 447.7182 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 15 | 0,1,2,3,4,11,13,16,17,18,19,20,21,22,23 | 0.70096 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 301.6833 | 1198.3132 | -896.6299 | 299.4066 | 2.2767 | 0.75466 | 643.1108 | 2829.3146 | 398.7587 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 16 | 0,1,2,3,4,11,13,15,16,17,18,19,20,21,22,23 | 0.73712 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 265.2035 | 1198.3132 | -933.1097 | 263.2021 | 2.0014 | 0.75466 | 565.3453 | 2955.2982 | 350.5405 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 17 | 0,1,2,3,4,10,11,13,15,16,17,18,19,20,21,22,23 | 0.77291 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 229.0957 | 1198.3132 | -969.2175 | 227.3668 | 1.7289 | 0.75466 | 488.3729 | 3079.9972 | 302.814 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 18 | 0,1,2,3,4,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.80852 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 193.1738 | 1198.3132 | -1005.1394 | 191.716 | 1.4578 | 0.75466 | 411.7965 | 3204.0545 | 255.333 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 19 | 0,1,2,3,4,5,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.844 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 157.3815 | 1198.3132 | -1040.9317 | 156.1938 | 1.1877 | 0.75466 | 335.4968 | 3327.6636 | 208.0236 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 20 | 0,1,2,3,4,5,9,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.87861 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 122.4673 | 1198.3132 | -1075.8459 | 121.5431 | 0.92421 | 0.75466 | 261.0687 | 3448.2406 | 161.8748 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 21 | 0,1,2,3,4,5,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.91253 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 88.2392 | 1198.3132 | -1110.074 | 87.5733 | 0.6659 | 0.75466 | 188.1032 | 3566.4481 | 116.6327 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 22 | 0,1,2,3,4,5,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.9453 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 55.1849 | 1198.3132 | -1143.1283 | 54.7684 | 0.41646 | 0.75466 | 117.6399 | 3680.602 | 72.9422 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 23 | 0,1,2,3,4,5,6,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97429 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 25.9359 | 1198.3132 | -1172.3773 | 25.7402 | 0.19573 | 0.75466 | 55.2886 | 3781.6139 | 34.2815 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 1 | 7 | 0.025709 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1162.4397 | 1198.3132 | -35.8735 | 1162.4397 | 0 | 0 | 2283.3228 | 109.4746 | 1478.3866 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 2 | 6,7 | 0.054701 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 1121.9836 | 1198.3132 | -76.3296 | 1121.9836 | 0 | 0 | 2203.857 | 232.9336 | 1434.3934 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 3 | 6,7,8 | 0.087466 | 0.7331 | 0.7331 | 1.1102e-16 | 1.5144e-14 | 1.1102e-14 | 1076.2641 | 1198.3132 | -122.0491 | 1076.2641 | 0 | 0 | 2114.0525 | 372.455 | 1384.6766 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 4 | 6,7,8,12 | 0.12139 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 1028.9211 | 1198.3132 | -169.3921 | 1028.9211 | 0 | 0 | 2021.0589 | 516.9309 | 1333.1943 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 5 | 6,7,8,12,14 | 0.156 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 980.7364 | 1198.3132 | -217.5768 | 980.6291 | 0.1073 | 0.010941 | 1965.0098 | 664.3027 | 1241.8715 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 6 | 5,6,7,8,12,14 | 0.19148 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 931.3882 | 1198.3132 | -266.925 | 931.1226 | 0.26552 | 0.028508 | 1866.1354 | 815.3806 | 1189.6681 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 7 | 5,6,7,8,9,12,14 | 0.22709 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 881.8611 | 1198.3132 | -316.4521 | 881.4367 | 0.42431 | 0.048116 | 1766.9025 | 967.0062 | 1137.2753 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 832.0778 | 1198.3132 | -366.2354 | 831.4939 | 0.58393 | 0.070177 | 1667.1564 | 1119.416 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 9 | 5,6,7,8,9,10,12,14,15 | 0.29904 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 781.8822 | 1198.3132 | -416.431 | 781.0365 | 0.84574 | 0.10817 | 1598.6142 | 1273.3959 | 999.1739 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 10 | 5,6,7,8,9,10,11,12,14,15 | 0.33575 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 731.0102 | 1198.3132 | -467.303 | 729.8033 | 1.207 | 0.16511 | 1494.6028 | 1429.7434 | 946.8378 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 11 | 5,6,7,8,9,10,11,12,13,14,15 | 0.37259 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 679.9728 | 1198.3132 | -518.3403 | 678.4034 | 1.5694 | 0.2308 | 1390.2532 | 1586.5993 | 894.3316 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 12 | 4,5,6,7,8,9,10,11,12,13,14,15 | 0.41006 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 628.2056 | 1198.3132 | -570.1076 | 626.1122 | 2.0934 | 0.33323 | 1311.2202 | 1746.1754 | 813.7884 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 13 | 4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.4477 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 576.3017 | 1198.3132 | -622.0115 | 573.6011 | 2.7007 | 0.46862 | 1202.884 | 1906.4228 | 761.8772 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 14 | 2,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.48578 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 523.9281 | 1198.3132 | -674.3851 | 520.4535 | 3.4746 | 0.66319 | 1116.8793 | 2068.6124 | 685.6923 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 15 | 2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.52651 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 477.6818 | 1198.3132 | -720.6314 | 474.0769 | 3.6049 | 0.75466 | 1018.2941 | 2221.5 | 631.3898 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 16 | 0,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.56952 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 434.2826 | 1198.3132 | -764.0306 | 431.0053 | 3.2773 | 0.75466 | 925.7784 | 2371.3799 | 574.0258 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 17 | 0,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.61387 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 389.5414 | 1198.3132 | -808.7718 | 386.6017 | 2.9397 | 0.75466 | 830.4016 | 2525.8948 | 514.8877 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.65849 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 344.5329 | 1198.3132 | -853.7803 | 341.9329 | 2.6 | 0.75466 | 734.4552 | 2681.3324 | 455.3964 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 19 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18 | 0.71019 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 292.3693 | 1198.3132 | -905.9439 | 290.1629 | 2.2064 | 0.75466 | 623.2557 | 2861.4807 | 386.4476 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 20 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,23 | 0.76333 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 238.7676 | 1198.3132 | -959.5456 | 236.9657 | 1.8019 | 0.75466 | 508.9909 | 3046.5951 | 315.5981 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.81648 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 185.1424 | 1198.3132 | -1013.1708 | 183.7452 | 1.3972 | 0.75466 | 394.6758 | 3231.7908 | 244.7174 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 22 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,22,23 | 0.87485 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 126.2613 | 1198.3132 | -1072.0519 | 125.3085 | 0.95284 | 0.75466 | 269.1565 | 3435.138 | 166.8896 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93498 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 65.5926 | 1198.3132 | -1132.7206 | 65.0976 | 0.495 | 0.75466 | 139.8265 | 3644.6586 | 86.699 | 0 | optimal
summer | 400 kW DG | 0.1 | no supply | 0 |  | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2157.2504 | 2157.2504 | 0 | 2157.2504 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 1 | 5 | 0.059592 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 2007.5517 | 2157.2504 | -149.6988 | 2007.5517 | 0 | 0 | 3943.3346 | 456.833 | 2568.8897 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 2 | 4,5 | 0.11798 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 1860.8904 | 2157.2504 | -296.3601 | 1860.8904 | 0 | 0 | 3655.2551 | 904.3967 | 2409.4056 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 3 | 4,5,23 | 0.1734 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1722.001 | 2157.2504 | -435.2494 | 1721.6682 | 0.33283 | 0.019328 | 3450.2125 | 1329.2584 | 2189.5865 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 4 | 0,4,5,23 | 0.22832 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1584.4829 | 2157.2504 | -572.7675 | 1583.7091 | 0.77374 | 0.048832 | 3174.6802 | 1750.2656 | 2044.1116 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 5 | 0,3,4,5,23 | 0.28312 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 1447.2803 | 2157.2504 | -709.9701 | 1446.0397 | 1.2406 | 0.085719 | 2959.0683 | 2170.389 | 1839.6001 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 6 | 0,3,4,5,22,23 | 0.33617 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 1314.9478 | 2157.2504 | -842.3026 | 1312.7675 | 2.1803 | 0.16581 | 2688.5051 | 2577.0932 | 1703.459 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 7 | 0,1,3,4,5,22,23 | 0.38859 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1184.247 | 2157.2504 | -973.0034 | 1181.1024 | 3.1446 | 0.26554 | 2471.8159 | 2978.8934 | 1518.348 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1057.8776 | 2157.2504 | -1099.3728 | 1053.2544 | 4.6232 | 0.43702 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 9 | 0,1,2,3,4,5,21,22,23 | 0.48959 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 933.7835 | 2157.2504 | -1223.4669 | 927.3681 | 6.4154 | 0.68703 | 1990.5851 | 3753.2098 | 1225.2624 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 10 | 0,1,2,3,4,5,6,21,22,23 | 0.53831 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 838.5113 | 2157.2504 | -1318.7391 | 832.1834 | 6.3279 | 0.75466 | 1787.4895 | 4073.2411 | 1108.3268 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 11 | 0,1,2,3,4,5,6,20,21,22,23 | 0.58534 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 753.0979 | 2157.2504 | -1404.1525 | 747.4146 | 5.6833 | 0.75466 | 1605.4101 | 4368.2181 | 995.4291 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 12 | 0,1,2,3,4,5,6,19,20,21,22,23 | 0.6214 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 687.5963 | 2157.2504 | -1469.6541 | 682.4073 | 5.189 | 0.75466 | 1465.7777 | 4594.4292 | 908.8505 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 13 | 0,1,2,3,4,5,6,10,19,20,21,22,23 | 0.65523 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 626.1547 | 2157.2504 | -1531.0957 | 621.4294 | 4.7253 | 0.75466 | 1334.8001 | 4806.619 | 827.6383 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 14 | 0,1,2,3,4,5,6,10,14,19,20,21,22,23 | 0.68841 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 565.8946 | 2157.2504 | -1591.3559 | 561.624 | 4.2706 | 0.75466 | 1206.341 | 5014.7287 | 747.9877 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 15 | 0,1,2,3,4,5,6,10,11,14,19,20,21,22,23 | 0.72146 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 505.8655 | 2157.2504 | -1651.3849 | 502.048 | 3.8176 | 0.75466 | 1078.3746 | 5222.0403 | 668.6425 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 16 | 0,1,2,3,4,5,6,10,11,13,14,19,20,21,22,23 | 0.75448 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 445.9011 | 2157.2504 | -1711.3493 | 442.5361 | 3.365 | 0.75466 | 950.5459 | 5429.1287 | 589.3828 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 17 | 0,1,2,3,4,5,6,10,11,12,13,14,19,20,21,22,23 | 0.7874 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 386.1152 | 2157.2504 | -1771.1352 | 383.2014 | 2.9138 | 0.75466 | 823.0979 | 5635.6004 | 510.359 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 18 | 0,1,2,3,4,5,6,10,11,12,13,14,18,19,20,21,22,23 | 0.81941 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 327.9756 | 2157.2504 | -1829.2748 | 325.5005 | 2.4751 | 0.75466 | 699.1593 | 5836.3867 | 433.5114 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 19 | 0,1,2,3,4,5,6,10,11,12,13,14,15,18,19,20,21,22,23 | 0.85131 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 270.042 | 2157.2504 | -1887.2085 | 268.0041 | 2.0379 | 0.75466 | 575.6597 | 6036.4618 | 356.9358 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 20 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,18,19,20,21,22,23 | 0.88289 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 212.6857 | 2157.2504 | -1944.5647 | 211.0807 | 1.6051 | 0.75466 | 453.3911 | 6234.5427 | 281.1236 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 21 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.91383 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 156.5034 | 2157.2504 | -2000.747 | 155.3223 | 1.1811 | 0.75466 | 333.6248 | 6428.5697 | 206.8629 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 22 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.94403 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 101.6526 | 2157.2504 | -2055.5978 | 100.8855 | 0.76713 | 0.75466 | 216.6971 | 6617.998 | 134.3623 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97402 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 47.1812 | 2157.2504 | -2110.0692 | 46.8252 | 0.35606 | 0.75466 | 100.5782 | 6806.116 | 62.3632 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 1 | 8 | 0.025979 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2091.9912 | 2157.2504 | -65.2593 | 2091.9912 | 0 | 0 | 4109.195 | 199.1505 | 2660.7119 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 2 | 8,17 | 0.055971 | 0.7331 | 0.7331 | 1.1102e-16 | 1.5144e-14 | 1.1102e-14 | 2016.6484 | 2157.2504 | -140.602 | 2016.6484 | 0 | 0 | 3961.203 | 429.0726 | 2578.7818 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 3 | 7,8,17 | 0.086173 | 0.7331 | 0.7331 | 1.1102e-16 | 1.5144e-14 | 1.1102e-14 | 1940.7809 | 2157.2504 | -216.4695 | 1940.7809 | 0 | 0 | 3812.1802 | 660.5961 | 2496.2811 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 4 | 7,8,16,17 | 0.11711 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1863.0716 | 2157.2504 | -294.1788 | 1863.0716 | 0 | 0 | 3659.5396 | 897.7401 | 2411.7776 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 5 | 7,8,9,16,17 | 0.14869 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1783.8732 | 2157.2504 | -373.3773 | 1783.7387 | 0.13445 | 0.0075373 | 3574.1799 | 1139.839 | 2255.0385 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 6 | 7,8,9,15,16,17 | 0.18059 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1703.9976 | 2157.2504 | -453.2528 | 1703.6071 | 0.39055 | 0.02292 | 3414.1407 | 1384.3752 | 2170.5414 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 7 | 7,8,9,15,16,17,18 | 0.2126 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1623.8382 | 2157.2504 | -533.4122 | 1623.1906 | 0.64756 | 0.039878 | 3253.5327 | 1629.7807 | 2085.744 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1541.4089 | 2157.2504 | -615.8415 | 1540.4971 | 0.91184 | 0.059156 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 9 | 7,8,9,12,13,15,16,17,18 | 0.27854 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1458.7335 | 2157.2504 | -698.5169 | 1457.5566 | 1.1769 | 0.08068 | 2922.7279 | 2135.2431 | 1911.0864 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 10 | 7,8,9,11,12,13,15,16,17,18 | 0.31159 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 1376.2715 | 2157.2504 | -780.9789 | 1374.5267 | 1.7448 | 0.12678 | 2813.8858 | 2388.6239 | 1766.5477 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 11 | 7,8,9,11,12,13,14,15,16,17,18 | 0.34477 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 1293.5097 | 2157.2504 | -863.7407 | 1291.1772 | 2.3325 | 0.18032 | 2644.6732 | 2642.9802 | 1681.4039 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 12 | 7,8,9,10,11,12,13,14,15,16,17,18 | 0.3786 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 1209.1253 | 2157.2504 | -948.1252 | 1206.1935 | 2.9317 | 0.24247 | 2472.1432 | 2902.3233 | 1594.5909 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 13 | 7,8,9,10,11,12,13,14,15,16,17,18,19 | 0.41466 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1119.4965 | 2157.2504 | -1037.754 | 1115.5942 | 3.9022 | 0.34857 | 2336.6655 | 3178.8035 | 1453.5883 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 14 | 7,8,9,10,11,12,13,14,15,16,17,18,19,20 | 0.46169 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1002.7222 | 2157.2504 | -1154.5283 | 997.4537 | 5.2685 | 0.52542 | 2092.9287 | 3539.331 | 1336.7976 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 15 | 6,7,8,9,10,11,12,13,14,15,16,17,18,19,20 | 0.51041 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 889.1819 | 2157.2504 | -1268.0686 | 882.4716 | 6.7103 | 0.75466 | 1895.506 | 3898.2493 | 1175.3021 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 16 | 6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.56052 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 798.1684 | 2157.2504 | -1359.082 | 792.145 | 6.0234 | 0.75466 | 1701.4888 | 4212.5662 | 1055.0024 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 17 | 2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.61141 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 705.7367 | 2157.2504 | -1451.5137 | 700.4108 | 5.3259 | 0.75466 | 1504.4483 | 4531.7809 | 932.8281 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 18 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.66383 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 610.5453 | 2157.2504 | -1546.7051 | 605.9377 | 4.6075 | 0.75466 | 1301.5248 | 4860.5265 | 807.006 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 19 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.71688 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 514.192 | 2157.2504 | -1643.0584 | 510.3116 | 3.8804 | 0.75466 | 1096.1245 | 5193.2845 | 679.6483 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 20 | 1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.77168 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 414.6596 | 2157.2504 | -1742.5908 | 411.5303 | 3.1293 | 0.75466 | 883.9471 | 5537.0219 | 548.0884 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 21 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.8266 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 314.9178 | 2157.2504 | -1842.3327 | 312.5412 | 2.3766 | 0.75466 | 671.3233 | 5881.4823 | 416.2517 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 22 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.88202 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 214.2628 | 2157.2504 | -1942.9877 | 212.6458 | 1.617 | 0.75466 | 456.7528 | 6229.0965 | 283.2081 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 23 | 0,1,2,3,4,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.94041 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 108.2294 | 2157.2504 | -2049.021 | 107.4126 | 0.81676 | 0.75466 | 230.7171 | 6595.2849 | 143.0554 | 0 | optimal
winter | 400 kW DG | 0.1 | no supply | 0 |  | 0 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1317.7233 | 1317.7233 | 0 | 1317.7233 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 1 | 21 | 0.067307 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1214.4441 | 1317.7233 | -103.2792 | 1214.4441 | 0 | 0 | 2385.4726 | 315.1753 | 1556.2938 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 2 | 19,21 | 0.13457 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1111.2513 | 1317.7233 | -206.472 | 1111.2384 | 0.012877 | 0.0011588 | 2226.5103 | 630.1262 | 1400.3052 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 3 | 19,20,21 | 0.1938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1020.657 | 1317.7233 | -297.0663 | 1020.3536 | 0.30334 | 0.02972 | 2044.995 | 907.4776 | 1304.4691 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 4 | 18,19,20,21 | 0.24734 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 938.755 | 1317.7233 | -378.9683 | 938.1891 | 0.56593 | 0.060285 | 1880.8956 | 1158.2178 | 1217.8283 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 5 | 18,19,20,21,22 | 0.30036 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 857.7748 | 1317.7233 | -459.9485 | 856.8305 | 0.94437 | 0.1101 | 1753.7821 | 1406.4984 | 1096.6612 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 6 | 17,18,19,20,21,22 | 0.35299 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 777.5958 | 1317.7233 | -540.1275 | 776.0821 | 1.5137 | 0.19467 | 1589.8504 | 1652.9167 | 1014.1746 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 7 | 17,18,19,20,21,22,23 | 0.40434 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 699.4921 | 1317.7233 | -618.2312 | 697.2918 | 2.2003 | 0.31456 | 1460.0127 | 1893.3598 | 903.5692 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 635.4201 | 1317.7233 | -682.3032 | 632.4701 | 2.95 | 0.46426 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 9 | 0,16,17,18,19,20,21,22,23 | 0.48823 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 572.4471 | 1317.7233 | -745.2762 | 568.5634 | 3.8837 | 0.67843 | 1220.3093 | 2286.1977 | 750.4347 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 10 | 0,5,16,17,18,19,20,21,22,23 | 0.52769 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 523.9668 | 1317.7233 | -793.7565 | 520.0126 | 3.9542 | 0.75466 | 1116.9618 | 2447.4114 | 692.5684 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 11 | 0,1,5,16,17,18,19,20,21,22,23 | 0.56698 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 480.3817 | 1317.7233 | -837.3416 | 476.7564 | 3.6252 | 0.75466 | 1024.0496 | 2597.9336 | 634.9585 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 12 | 0,1,5,6,16,17,18,19,20,21,22,23 | 0.60509 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 438.1047 | 1317.7233 | -879.6186 | 434.7985 | 3.3062 | 0.75466 | 933.926 | 2743.938 | 579.0777 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 13 | 0,1,5,6,7,16,17,18,19,20,21,22,23 | 0.64161 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 397.5937 | 1317.7233 | -920.1296 | 394.5933 | 3.0005 | 0.75466 | 847.5671 | 2883.8435 | 525.5311 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 14 | 0,1,5,6,7,15,16,17,18,19,20,21,22,23 | 0.6772 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 358.111 | 1317.7233 | -959.6123 | 355.4085 | 2.7025 | 0.75466 | 763.4001 | 3020.198 | 473.3436 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 15 | 0,1,2,5,6,7,15,16,17,18,19,20,21,22,23 | 0.71211 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 319.3813 | 1317.7233 | -998.342 | 316.971 | 2.4102 | 0.75466 | 680.8383 | 3153.9519 | 422.1515 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 16 | 0,1,2,3,5,6,7,15,16,17,18,19,20,21,22,23 | 0.74651 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 281.22 | 1317.7233 | -1036.5033 | 279.0978 | 2.1222 | 0.75466 | 599.4885 | 3285.7425 | 371.7108 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 17 | 0,1,2,3,4,5,6,7,15,16,17,18,19,20,21,22,23 | 0.78067 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 243.3228 | 1317.7233 | -1074.4005 | 241.4865 | 1.8363 | 0.75466 | 518.7013 | 3416.6214 | 321.619 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 18 | 0,1,2,3,4,5,6,7,11,15,16,17,18,19,20,21,22,23 | 0.8133 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 207.1182 | 1317.7233 | -1110.6051 | 205.5552 | 1.563 | 0.75466 | 441.5225 | 3541.6546 | 273.7646 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 19 | 0,1,2,3,4,5,6,7,11,13,15,16,17,18,19,20,21,22,23 | 0.84583 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 171.0359 | 1317.7233 | -1146.6873 | 169.7452 | 1.2907 | 0.75466 | 364.6045 | 3666.2655 | 226.0718 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 20 | 0,1,2,3,4,5,6,7,11,13,14,15,16,17,18,19,20,21,22,23 | 0.87818 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 135.1435 | 1317.7233 | -1182.5798 | 134.1237 | 1.0199 | 0.75466 | 288.0911 | 3790.2207 | 178.6299 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 21 | 0,1,2,3,4,5,6,7,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.90987 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 99.9921 | 1317.7233 | -1217.7312 | 99.2375 | 0.7546 | 0.75466 | 213.1573 | 3911.6169 | 132.1675 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 22 | 0,1,2,3,4,5,6,7,9,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.94017 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 66.3708 | 1317.7233 | -1251.3525 | 65.8699 | 0.50087 | 0.75466 | 141.4854 | 4027.7288 | 87.7275 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97017 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 33.0955 | 1317.7233 | -1284.6278 | 32.8457 | 0.24976 | 0.75466 | 70.551 | 4142.6458 | 43.7449 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 1 | 8 | 0.029833 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1271.9469 | 1317.7233 | -45.7764 | 1271.9469 | 0 | 0 | 2498.4225 | 139.695 | 1618.8242 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 2 | 8,12 | 0.059827 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 1225.9218 | 1317.7233 | -91.8015 | 1225.9218 | 0 | 0 | 2408.0176 | 280.1491 | 1568.775 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 3 | 8,9,12 | 0.090134 | 0.7331 | 0.7331 | 1.1102e-16 | 1.5144e-14 | 1.1102e-14 | 1179.4181 | 1317.7233 | -138.3052 | 1179.4181 | 0 | 0 | 2316.6727 | 422.0636 | 1518.2054 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 4 | 8,9,10,12 | 0.12182 | 0.7331 | 0.7331 | 1.1102e-16 | 1.5144e-14 | 1.1102e-14 | 1130.7979 | 1317.7233 | -186.9254 | 1130.7979 | 0 | 0 | 2221.1706 | 570.4368 | 1465.3343 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 5 | 8,9,10,12,14 | 0.15417 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1081.2619 | 1317.7233 | -236.4614 | 1081.1529 | 0.10903 | 0.010083 | 2166.4235 | 721.9376 | 1368.5807 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 6 | 8,9,10,12,13,14 | 0.1867 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1031.5138 | 1317.7233 | -286.2095 | 1031.2453 | 0.26853 | 0.026033 | 2066.7478 | 874.2398 | 1315.9541 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 7 | 8,9,10,11,12,13,14 | 0.21933 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 981.5971 | 1317.7233 | -336.1262 | 981.1685 | 0.42857 | 0.043661 | 1966.7343 | 1027.0581 | 1263.1492 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 929.3466 | 1317.7233 | -388.3767 | 928.7505 | 0.5961 | 0.064141 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 9 | 3,4,8,9,10,11,12,13,14 | 0.28789 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 876.7768 | 1317.7233 | -440.9465 | 875.9674 | 0.80944 | 0.09232 | 1792.633 | 1348.0987 | 1116.21 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 10 | 2,3,4,8,9,10,11,12,13,14 | 0.3228 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 823.585 | 1317.7233 | -494.1383 | 822.3979 | 1.1872 | 0.14414 | 1683.8786 | 1511.5757 | 1061.4874 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 11 | 2,3,4,8,9,10,11,12,13,14,15 | 0.35839 | 0.7131 | 0.7331 | -0.02 | -2.7281 | -2 | 769.3591 | 1317.7233 | -548.3642 | 767.7869 | 1.5722 | 0.20435 | 1573.0097 | 1678.2312 | 1005.7008 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 12 | 2,3,4,7,8,9,10,11,12,13,14,15 | 0.39491 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 713.7867 | 1317.7233 | -603.9366 | 711.7537 | 2.0331 | 0.28483 | 1489.8492 | 1849.2267 | 917.8658 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 13 | 2,3,4,6,7,8,9,10,11,12,13,14,15 | 0.43302 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 655.9871 | 1317.7233 | -661.7362 | 653.2777 | 2.7093 | 0.41302 | 1369.207 | 2027.6766 | 860.0581 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 14 | 1,2,3,4,6,7,8,9,10,11,12,13,14,15 | 0.47231 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 596.4672 | 1317.7233 | -721.2561 | 592.9925 | 3.4748 | 0.58256 | 1271.514 | 2211.6481 | 773.7796 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 15 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15 | 0.51177 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 541.6285 | 1317.7233 | -776.0948 | 537.5411 | 4.0874 | 0.75466 | 1154.6121 | 2386.4163 | 715.9133 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 16 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.55342 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 495.4252 | 1317.7233 | -822.2981 | 491.6865 | 3.7388 | 0.75466 | 1056.1186 | 2545.9804 | 654.8428 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 17 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.59566 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 448.5604 | 1317.7233 | -869.1629 | 445.1753 | 3.3851 | 0.75466 | 956.2148 | 2707.8291 | 592.8978 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,23 | 0.64701 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 391.5964 | 1317.7233 | -926.1269 | 388.6412 | 2.9552 | 0.75466 | 834.7824 | 2904.5553 | 517.604 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 19 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,23 | 0.69964 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 333.2169 | 1317.7233 | -984.5064 | 330.7022 | 2.5146 | 0.75466 | 710.3323 | 3106.1703 | 440.4391 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 20 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,22,23 | 0.75266 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 274.3961 | 1317.7233 | -1043.3272 | 272.3254 | 2.0708 | 0.75466 | 584.9416 | 3309.309 | 362.6911 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.8062 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 214.9927 | 1317.7233 | -1102.7306 | 213.3702 | 1.6225 | 0.75466 | 458.3089 | 3514.46 | 284.1729 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 22 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,20,22,23 | 0.86543 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 149.2847 | 1317.7233 | -1168.4386 | 148.1581 | 1.1266 | 0.75466 | 318.2364 | 3741.3839 | 197.3214 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93269 | 0.6931 | 0.7331 | -0.04 | -5.4563 | -4 | 74.6689 | 1317.7233 | -1243.0544 | 74.1054 | 0.5635 | 0.75466 | 159.1749 | 3999.071 | 98.6958 | 0 | optimal
Deterministic runs, P(window) = 1. EDL's cap is M_phys in the supplied hours and 0 elsewhere. Deviations are against the no-supply row of the same season. Price-menu step 0.01000 $/kWh.