## shift_dg
season | fleet | load shift [-] | series | P(pattern) [-] | P(no supply) [-] | demand in the covered hours / daily demand [-] | hours supplied | % of the day's sun in those hours | leader price [x P_ref] | leader price [$/kWh] | price, no supply [$/kWh] | price span [$/kWh] | price span [%] | price span [menu steps] | E[leader profit] [$/day] | profit, no supply [$/day] | profit span [$/day] | profit span [%] | E[microgrid sales] [kWh] | E[EDL delivered] [kWh] | E[suppressed demand] [kWh] | E[unserved] [kWh] | termination
fall_spring | 400 kW DG | 0 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1198.3132 | 1198.3132 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG | 0 | peak | 1 | 0 | 0.43048 | 8 | 1.3552 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 682.469 | 1198.3132 | -515.8442 | -43.0475 | 1340.5401 | 1666.449 | 864.1949 | 0 | optimal
fall_spring | 400 kW DG | 0 | offpeak | 1 | 0 | 0.26288 | 8 | 57.9352 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 883.3025 | 1198.3132 | -315.0107 | -26.2878 | 1735.0274 | 1017.6509 | 1118.5057 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1198.3132 | 1198.3132 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 1 | 0 | 0.43048 | 8 | 1.3552 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 600.0528 | 1198.3132 | -598.2604 | -49.9252 | 1252.4584 | 1833.0939 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 1 | 0 | 0.26288 | 8 | 57.9352 | 1.7938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 832.0778 | 1198.3132 | -366.2354 | -30.5626 | 1667.1564 | 1119.416 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG | 0.2 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1198.3132 | 1198.3132 | 0 | 0 | 2353.7875 | 0 | 1517.3966 | 0 | optimal
fall_spring | 400 kW DG | 0.2 | peak | 1 | 0 | 0.43048 | 8 | 1.3552 | 1.6698 | 0.6731 | 0.7331 | -0.06 | -8.1844 | -6 | 522.9216 | 1198.3132 | -675.3916 | -56.3619 | 1164.3767 | 1999.7388 | 707.0685 | 0 | optimal
fall_spring | 400 kW DG | 0.2 | offpeak | 1 | 0 | 0.26288 | 8 | 57.9352 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 782.4563 | 1198.3132 | -415.8569 | -34.7035 | 1633.1796 | 1221.1811 | 1016.8234 | 0 | optimal
summer | 400 kW DG | 0 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2157.2504 | 2157.2504 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG | 0 | peak | 1 | 0 | 0.43948 | 8 | 0.077879 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1209.1799 | 2157.2504 | -948.0705 | -43.9481 | 2375.1325 | 3062.768 | 1531.1569 | 0 | optimal
summer | 400 kW DG | 0 | offpeak | 1 | 0 | 0.24552 | 8 | 48.8327 | 1.8187 | 0.7331 | 0.7331 | 1.1102e-16 | 1.5144e-14 | 1.1102e-14 | 1627.6057 | 2157.2504 | -529.6447 | -24.5518 | 3197.0256 | 1711.0319 | 2060.9999 | 0 | optimal
summer | 400 kW DG | 0.1 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2157.2504 | 2157.2504 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 1 | 0 | 0.43948 | 8 | 0.077879 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1057.8776 | 2157.2504 | -1099.3728 | -50.9618 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 1 | 0 | 0.24552 | 8 | 48.8327 | 1.7938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1541.4089 | 2157.2504 | -615.8415 | -28.5475 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG | 0.2 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2157.2504 | 2157.2504 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG | 0.2 | peak | 1 | 0 | 0.43948 | 8 | 0.077879 | 1.6698 | 0.6731 | 0.7331 | -0.06 | -8.1844 | -6 | 916.6001 | 2157.2504 | -1240.6503 | -57.5107 | 2040.9711 | 3675.3216 | 1252.7647 | 0 | optimal
summer | 400 kW DG | 0.2 | offpeak | 1 | 0 | 0.24552 | 8 | 48.8327 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1457.5098 | 2157.2504 | -699.7406 | -32.4367 | 3042.1829 | 2053.2382 | 1873.6363 | 0 | optimal
winter | 400 kW DG | 0 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1317.7233 | 1317.7233 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG | 0 | peak | 1 | 0 | 0.44658 | 8 | 1.9812 | 1.8187 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 729.2535 | 1317.7233 | -588.4698 | -44.6581 | 1432.4366 | 1901.0681 | 923.437 | 0 | optimal
winter | 400 kW DG | 0 | offpeak | 1 | 0 | 0.25349 | 8 | 82.6584 | 1.8187 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 983.688 | 1317.7233 | -334.0353 | -25.3494 | 1932.2098 | 1079.1103 | 1245.6216 | 0 | optimal
winter | 400 kW DG | 0.1 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1317.7233 | 1317.7233 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 1 | 0 | 0.44658 | 8 | 1.9812 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 635.4201 | 1317.7233 | -682.3032 | -51.7789 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 1 | 0 | 0.25349 | 8 | 82.6584 | 1.7938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 929.3466 | 1317.7233 | -388.3767 | -29.4733 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG | 0.2 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1317.7233 | 1317.7233 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG | 0.2 | peak | 1 | 0 | 0.44658 | 8 | 1.9812 | 1.645 | 0.6631 | 0.7331 | -0.07 | -9.5485 | -7 | 548.0423 | 1317.7233 | -769.681 | -58.4099 | 1248.1035 | 2281.2818 | 727.5564 | 0 | optimal
winter | 400 kW DG | 0.2 | offpeak | 1 | 0 | 0.25349 | 8 | 82.6584 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 876.5739 | 1317.7233 | -441.1494 | -33.4782 | 1829.6261 | 1294.9323 | 1132.3833 | 0 | optimal
Price-menu step 0.01000 $/kWh. Each pattern row is a two-point belief: P(pattern) = w, P(no supply) = 1 - w, so its quantities are expectations at that w. Spans are against the no-supply row of the SAME season, fleet and load shift.

## shift_pv
season | fleet | load shift [-] | series | P(pattern) [-] | P(no supply) [-] | demand in the covered hours / daily demand [-] | hours supplied | % of the day's sun in those hours | leader price [x P_ref] | leader price [$/kWh] | price, no supply [$/kWh] | price span [$/kWh] | price span [%] | price span [menu steps] | E[leader profit] [$/day] | profit, no supply [$/day] | profit span [$/day] | profit span [%] | E[microgrid sales] [kWh] | E[EDL delivered] [kWh] | E[suppressed demand] [kWh] | E[unserved] [kWh] | termination
fall_spring | 400 kW DG + 200 kWp PV | 0 | no supply | 0 | 1 | 0 | 0 | 0 | 1.7938 | 0.7231 | 0.7231 | 0 | 0 | 0 | 1336.1495 | 1336.1495 | 0 | 0 | 2399.7692 | 0 | 1471.4149 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0 | peak | 1 | 0 | 0.43048 | 8 | 1.3552 | 1.7442 | 0.7031 | 0.7231 | -0.02 | -2.7659 | -2 | 819.0496 | 1336.1495 | -517.0999 | -38.7008 | 1419.1033 | 1666.449 | 785.6317 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0 | offpeak | 1 | 0 | 0.26288 | 8 | 57.9352 | 1.7938 | 0.7231 | 0.7231 | 1.1102e-16 | 1.5354e-14 | 1.1102e-14 | 940.1954 | 1336.1495 | -395.9541 | -29.634 | 1768.9215 | 1017.6509 | 1084.6116 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 | 1 | 0 | 0 | 0 | 1.7938 | 0.7231 | 0.7231 | 0 | 0 | 0 | 1336.1495 | 1336.1495 | 0 | 0 | 2399.7692 | 0 | 1471.4149 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 0 | 0.43048 | 8 | 1.3552 | 1.6698 | 0.6731 | 0.7231 | -0.05 | -6.9147 | -5 | 739.8279 | 1336.1495 | -596.3216 | -44.6299 | 1331.0216 | 1833.0939 | 707.0685 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 0 | 0.26288 | 8 | 57.9352 | 1.769 | 0.7131 | 0.7231 | -0.01 | -1.3829 | -1 | 890.0342 | 1336.1495 | -446.1153 | -33.3881 | 1701.0506 | 1119.416 | 1050.7175 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.2 | no supply | 0 | 1 | 0 | 0 | 0 | 1.7938 | 0.7231 | 0.7231 | 0 | 0 | 0 | 1336.1495 | 1336.1495 | 0 | 0 | 2399.7692 | 0 | 1471.4149 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.2 | peak | 1 | 0 | 0.43048 | 8 | 1.3552 | 1.5706 | 0.6331 | 0.7231 | -0.09 | -12.4464 | -9 | 665.0508 | 1336.1495 | -671.0987 | -50.2263 | 1269.1276 | 1999.7388 | 602.3176 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.2 | offpeak | 1 | 0 | 0.26288 | 8 | 57.9352 | 1.7194 | 0.6931 | 0.7231 | -0.03 | -4.1488 | -3 | 841.5221 | 1336.1495 | -494.6273 | -37.0189 | 1667.0737 | 1221.1811 | 982.9293 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2377.0927 | 2377.0927 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0 | peak | 1 | 0 | 0.43948 | 8 | 0.077879 | 1.7938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1429.0796 | 2377.0927 | -948.013 | -39.8812 | 2421.5312 | 3062.768 | 1484.7582 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0 | offpeak | 1 | 0 | 0.24552 | 8 | 48.8327 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1740.411 | 2377.0927 | -636.6817 | -26.7841 | 3197.0256 | 1711.0319 | 2060.9999 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2377.0927 | 2377.0927 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 0 | 0.43948 | 8 | 0.077879 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1278.6383 | 2377.0927 | -1098.4544 | -46.21 | 2208.0518 | 3369.0448 | 1391.9608 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 0 | 0.24552 | 8 | 48.8327 | 1.7938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 1654.4543 | 2377.0927 | -722.6384 | -30.4001 | 3088.377 | 1882.135 | 1998.5454 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.2 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 2377.0927 | 2377.0927 | 0 | 0 | 4237.3805 | 0 | 2731.6769 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.2 | peak | 1 | 0 | 0.43948 | 8 | 0.077879 | 1.6698 | 0.6731 | 0.7331 | -0.06 | -8.1844 | -6 | 1137.3608 | 2377.0927 | -1239.7319 | -52.1533 | 2040.9711 | 3675.3216 | 1252.7647 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.2 | offpeak | 1 | 0 | 0.24552 | 8 | 48.8327 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 1570.5551 | 2377.0927 | -806.5375 | -33.9296 | 3042.1829 | 2053.2382 | 1873.6363 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1402.4708 | 1402.4708 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0 | peak | 1 | 0 | 0.44658 | 8 | 1.9812 | 1.8187 | 0.7331 | 0.7331 | -2.2204e-16 | -3.0288e-14 | -2.2204e-14 | 812.3219 | 1402.4708 | -590.1489 | -42.0792 | 1432.4366 | 1901.0681 | 923.437 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0 | offpeak | 1 | 0 | 0.25349 | 8 | 82.6584 | 1.8187 | 0.7331 | 0.7331 | -1.1102e-16 | -1.5144e-14 | -1.1102e-14 | 998.3845 | 1402.4708 | -404.0863 | -28.8125 | 1932.2098 | 1079.1103 | 1245.6216 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1402.4708 | 1402.4708 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 0 | 0.44658 | 8 | 1.9812 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 718.4886 | 1402.4708 | -683.9823 | -48.7698 | 1326.2786 | 2091.175 | 839.4882 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 0 | 0.25349 | 8 | 82.6584 | 1.7938 | 0.7231 | 0.7331 | -0.01 | -1.3641 | -1 | 944.0431 | 1402.4708 | -458.4277 | -32.6871 | 1862.0449 | 1187.0213 | 1207.8755 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.2 | no supply | 0 | 1 | 0 | 0 | 0 | 1.8187 | 0.7331 | 0.7331 | 0 | 0 | 0 | 1402.4708 | 1402.4708 | 0 | 0 | 2588.3388 | 0 | 1668.6029 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.2 | peak | 1 | 0 | 0.44658 | 8 | 1.9812 | 1.645 | 0.6631 | 0.7331 | -0.07 | -9.5485 | -7 | 631.1107 | 1402.4708 | -771.3601 | -55.0001 | 1248.1035 | 2281.2818 | 727.5564 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.2 | offpeak | 1 | 0 | 0.25349 | 8 | 82.6584 | 1.7442 | 0.7031 | 0.7331 | -0.03 | -4.0922 | -3 | 891.2704 | 1402.4708 | -511.2004 | -36.45 | 1829.6261 | 1294.9323 | 1132.3833 | 0 | optimal
Price-menu step 0.01000 $/kWh. Each pattern row is a two-point belief: P(pattern) = w, P(no supply) = 1 - w, so its quantities are expectations at that w. Spans are against the no-supply row of the SAME season, fleet and load shift.