## runs
season | fleet | load shift [-] | series | hours supplied [h] | supplied hours (hour-beginning) | demand in the supplied hours / daily demand [-] | leader price [$/kWh] | price, no supply [$/kWh] | price deviation [$/kWh] | price deviation [% of no supply] | price deviation [menu steps] | leader profit [$/day] | profit, no supply [$/day] | profit deviation [$/day] | profit at the no-supply price [$/day] | regret of keeping the no-supply price [$/day] | regret of keeping the no-supply price [% of profit] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | termination
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 |  | 0 | 0.50387 | 0.50387 | 0 | 0 | 0 | 471.5268 | 471.5268 | 0 | 471.5268 | 0 | 0 | 1554.2804 | 0 | 2316.9036 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 21 | 0.065018 | 0.52907 | 0.50387 | 0.025194 | 5 | 4 | 439.6208 | 471.5268 | -31.906 | 436.9509 | 2.6699 | 0.60731 | 1319.7421 | 276.8645 | 2274.5774 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 2 | 20,21 | 0.12515 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 414.043 | 471.5268 | -57.4838 | 412.4481 | 1.5949 | 0.3852 | 1235.2959 | 532.9451 | 2102.943 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 3 | 19,20,21 | 0.18352 | 0.51647 | 0.50387 | 0.012597 | 2.5 | 2 | 389.4885 | 471.5268 | -82.0384 | 388.6592 | 0.82926 | 0.21291 | 1150.7036 | 781.4806 | 1938.9998 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 4 | 19,20,21,22 | 0.23667 | 0.51017 | 0.50387 | 0.0062984 | 1.25 | 1 | 367.3618 | 471.5268 | -104.165 | 367.0011 | 0.36069 | 0.098184 | 1072.6942 | 1007.8309 | 1790.6589 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 5 | 19,20,21,22,23 | 0.28981 | 0.51017 | 0.50387 | 0.0062984 | 1.25 | 1 | 345.3962 | 471.5268 | -126.1306 | 345.3526 | 0.043647 | 0.012637 | 971.0831 | 1234.0819 | 1666.019 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 6 | 18,19,20,21,22,23 | 0.34151 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 323.817 | 471.5268 | -147.7099 | 323.7923 | 0.02466 | 0.0076153 | 910.3393 | 1454.2631 | 1506.5817 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 7 | 1,18,19,20,21,22,23 | 0.38613 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 304.7149 | 471.5268 | -166.812 | 302.8909 | 1.824 | 0.59858 | 857.991 | 1644.2424 | 1368.9505 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 0.47238 | 0.50387 | -0.031492 | -6.25 | -5 | 275.8312 | 471.5268 | -195.6956 | 272.7999 | 3.0313 | 1.099 | 801.0271 | 1833.0939 | 1237.063 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 9 | 0,1,17,18,19,20,21,22,23 | 0.47349 | 0.45979 | 0.50387 | -0.044089 | -8.75 | -7 | 250.5657 | 471.5268 | -220.9611 | 245.8128 | 4.7528 | 1.8968 | 741.7779 | 2016.2804 | 1113.1257 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 10 | 0,1,3,17,18,19,20,21,22,23 | 0.51422 | 0.45349 | 0.50387 | -0.050387 | -10 | -8 | 232.1925 | 471.5268 | -239.3344 | 225.7022 | 6.4902 | 2.7952 | 679.5392 | 2178.683 | 1012.9619 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 11 | 0,1,2,3,17,18,19,20,21,22,23 | 0.5523 | 0.44719 | 0.50387 | -0.056686 | -11.25 | -9 | 223.7902 | 471.5268 | -247.7366 | 216.3723 | 7.4179 | 3.3147 | 639.2257 | 2311.3835 | 920.5748 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 12 | 0,1,2,3,16,17,18,19,20,21,22,23 | 0.58994 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 208.0838 | 471.5268 | -263.443 | 199.5686 | 8.5152 | 4.0922 | 597.3706 | 2442.4951 | 831.3184 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 13 | 0,1,2,3,4,16,17,18,19,20,21,22,23 | 0.62741 | 0.42829 | 0.50387 | -0.075581 | -15 | -12 | 200.2324 | 471.5268 | -271.2944 | 190.389 | 9.8434 | 4.916 | 564.3606 | 2573.0574 | 733.7661 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 14 | 0,1,2,3,4,13,16,17,18,19,20,21,22,23 | 0.66425 | 0.43459 | 0.50387 | -0.069283 | -13.75 | -11 | 176.9797 | 471.5268 | -294.5471 | 169.1559 | 7.8237 | 4.4207 | 498.8423 | 2701.394 | 670.9477 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 15 | 0,1,2,3,4,11,13,16,17,18,19,20,21,22,23 | 0.70096 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 153.8959 | 471.5268 | -317.6309 | 147.9917 | 5.9042 | 3.8365 | 435.6316 | 2829.3146 | 606.2378 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 16 | 0,1,2,3,4,11,13,15,16,17,18,19,20,21,22,23 | 0.73712 | 0.44719 | 0.50387 | -0.056686 | -11.25 | -9 | 131.2927 | 471.5268 | -340.2341 | 127.148 | 4.1448 | 3.1569 | 375.3415 | 2955.2982 | 540.5444 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 17 | 0,1,2,3,4,10,11,13,15,16,17,18,19,20,21,22,23 | 0.77291 | 0.45979 | 0.50387 | -0.044089 | -8.75 | -7 | 109.1416 | 471.5268 | -362.3853 | 106.5168 | 2.6248 | 2.4049 | 311.0848 | 3079.9972 | 480.1021 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 18 | 0,1,2,3,4,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.80852 | 0.47238 | 0.50387 | -0.031492 | -6.25 | -5 | 87.4004 | 471.5268 | -384.1264 | 85.9917 | 1.4087 | 1.6117 | 251.216 | 3204.0545 | 415.9136 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 19 | 0,1,2,3,4,5,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.844 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 79.0272 | 471.5268 | -392.4996 | 77.1788 | 1.8484 | 2.3389 | 209.1874 | 3327.6636 | 334.333 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 20 | 0,1,2,3,4,5,9,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.87861 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 58.086 | 471.5268 | -413.4409 | 57.2296 | 0.85639 | 1.4744 | 152.2332 | 3448.2406 | 270.7102 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 21 | 0,1,2,3,4,5,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.91253 | 0.49128 | 0.50387 | -0.012597 | -2.5 | -2 | 37.9248 | 471.5268 | -433.602 | 37.6724 | 0.25246 | 0.66569 | 107.1528 | 3566.4481 | 197.5831 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 22 | 0,1,2,3,4,5,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.9453 | 0.52907 | 0.50387 | 0.025194 | 5 | 4 | 18.9047 | 471.5268 | -452.6221 | 18.7858 | 0.1189 | 0.62894 | 57.5081 | 3680.602 | 133.0739 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | peak | 23 | 0,1,2,3,4,5,6,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97429 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 10.5599 | 471.5268 | -460.9669 | 10.5039 | 0.055979 | 0.53011 | 27.7723 | 3781.6139 | 61.7978 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 7 | 0.025709 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 456.9476 | 471.5268 | -14.5793 | 456.8455 | 0.10212 | 0.022348 | 1673.6704 | 109.4746 | 2088.039 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 2 | 6,7 | 0.054701 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 445.2147 | 471.5268 | -26.3121 | 443.8525 | 1.3622 | 0.30598 | 1612.3463 | 232.9336 | 2025.9041 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 3 | 6,7,8 | 0.087466 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 421.7461 | 471.5268 | -49.7807 | 418.9598 | 2.7863 | 0.66066 | 1543.0438 | 372.455 | 1955.6852 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 4 | 6,7,8,12 | 0.12139 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 392.746 | 471.5268 | -78.7808 | 390.1594 | 2.5866 | 0.6586 | 1471.2804 | 516.9309 | 1882.9728 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 5 | 6,7,8,12,14 | 0.156 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 363.1646 | 471.5268 | -108.3622 | 360.7817 | 2.3829 | 0.65615 | 1398.0784 | 664.3027 | 1808.8029 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 6 | 5,6,7,8,12,14 | 0.19148 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 350.1288 | 471.5268 | -121.3981 | 346.2038 | 3.9249 | 1.121 | 1323.0357 | 815.3806 | 1732.7678 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 7 | 5,6,7,8,9,12,14 | 0.22709 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 319.6936 | 471.5268 | -151.8333 | 315.9782 | 3.7154 | 1.1622 | 1247.7208 | 967.0062 | 1656.457 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 289.1009 | 471.5268 | -182.4259 | 285.5962 | 3.5047 | 1.2123 | 1172.0164 | 1119.416 | 1579.7516 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 9 | 5,6,7,8,9,10,12,14,15 | 0.29904 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 260.3438 | 471.5268 | -211.183 | 255.2675 | 5.0763 | 1.9499 | 1095.5321 | 1273.3959 | 1502.256 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 10 | 5,6,7,8,9,10,11,12,14,15 | 0.33575 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 228.9608 | 471.5268 | -242.566 | 224.1005 | 4.8602 | 2.1227 | 1017.8719 | 1429.7434 | 1423.5688 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 11 | 5,6,7,8,9,10,11,12,13,14,15 | 0.37259 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 197.4757 | 471.5268 | -274.0511 | 192.8323 | 4.6434 | 2.3514 | 939.9591 | 1586.5993 | 1344.6257 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 12 | 4,5,6,7,8,9,10,11,12,13,14,15 | 0.41006 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 183.7227 | 471.5268 | -287.8042 | 177.5634 | 6.1593 | 3.3525 | 860.6951 | 1746.1754 | 1264.3136 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 13 | 4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.4477 | 0.47868 | 0.50387 | -0.025194 | -5 | -4 | 157.2014 | 471.5268 | -314.3255 | 154.6448 | 2.5565 | 1.6263 | 749.1067 | 1906.4228 | 1215.6545 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 14 | 2,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.48578 | 0.52907 | 0.50387 | 0.025194 | 5 | 4 | 132.4365 | 471.5268 | -339.0904 | 131.0415 | 1.395 | 1.0533 | 551.6117 | 2068.6124 | 1250.96 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 15 | 2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.52651 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 119.787 | 471.5268 | -351.7398 | 118.756 | 1.031 | 0.8607 | 511.5051 | 2221.5 | 1138.1789 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 16 | 0,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.56952 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 109.1556 | 471.5268 | -362.3713 | 108.2182 | 0.93733 | 0.85871 | 465.033 | 2371.3799 | 1034.7711 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 17 | 0,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.61387 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 95.926 | 471.5268 | -375.6008 | 95.0852 | 0.84077 | 0.87647 | 417.1238 | 2525.8948 | 928.1655 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.65849 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 84.9003 | 471.5268 | -386.6265 | 84.1567 | 0.74362 | 0.87588 | 368.9284 | 2681.3324 | 820.9233 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 19 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18 | 0.71019 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 71.6294 | 471.5268 | -399.8974 | 70.9984 | 0.63103 | 0.88097 | 313.0712 | 2861.4807 | 696.6322 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 20 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,23 | 0.76333 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 58.4987 | 471.5268 | -413.0281 | 57.9833 | 0.51534 | 0.88095 | 255.6741 | 3046.5951 | 568.9148 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.81648 | 0.52277 | 0.50387 | 0.018895 | 3.75 | 3 | 45.3622 | 471.5268 | -426.1646 | 44.9626 | 0.3996 | 0.88091 | 198.2519 | 3231.7908 | 441.1414 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 22 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,22,23 | 0.87485 | 0.422 | 0.50387 | -0.08188 | -16.25 | -13 | 32.7573 | 471.5268 | -438.7695 | 30.6576 | 2.0998 | 6.41 | 193.1956 | 3435.138 | 242.8504 | 0 | optimal
fall_spring | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93498 | 0.422 | 0.50387 | -0.08188 | -16.25 | -13 | 20.8754 | 471.5268 | -450.6514 | 15.9266 | 4.9489 | 23.7066 | 100.3649 | 3644.6586 | 126.1605 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 |  | 0 | 0.50387 | 0.50387 | 0 | 0 | 0 | 958.5974 | 958.5974 | 0 | 958.5974 | 0 | 0 | 2798.0765 | 0 | 4170.9808 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 5 | 0.059592 | 0.50387 | 0.50387 | 0 | 0 | 0 | 901.3823 | 958.5974 | -57.2151 | 901.3823 | 0 | 0 | 2589.8022 | 456.833 | 3922.4221 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 2 | 4,5 | 0.11798 | 0.50387 | 0.50387 | 0 | 0 | 0 | 845.4888 | 958.5974 | -113.1086 | 845.4888 | 0 | 0 | 2385.7539 | 904.3967 | 3678.9068 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 3 | 4,5,23 | 0.1734 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 790.1815 | 958.5974 | -168.416 | 790.1789 | 0.0025581 | 0.00032374 | 2235.1523 | 1329.2584 | 3404.6466 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 4 | 0,4,5,23 | 0.22832 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 734.9395 | 958.5974 | -223.6579 | 734.54 | 0.39951 | 0.05436 | 2040.348 | 1750.2656 | 3178.4438 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 5 | 0,3,4,5,23 | 0.28312 | 0.45979 | 0.50387 | -0.044089 | -8.75 | -7 | 680.2725 | 958.5974 | -278.3249 | 679.0179 | 1.2546 | 0.18443 | 2070.2095 | 2170.389 | 2728.4589 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 6 | 0,3,4,5,22,23 | 0.33617 | 0.45979 | 0.50387 | -0.044089 | -8.75 | -7 | 629.9399 | 958.5974 | -328.6576 | 625.2692 | 4.6706 | 0.74144 | 1865.427 | 2577.0932 | 2526.5371 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 7 | 0,1,3,4,5,22,23 | 0.38859 | 0.45349 | 0.50387 | -0.050387 | -10 | -8 | 574.688 | 958.5974 | -383.9094 | 562.5379 | 12.1501 | 2.1142 | 1694.9911 | 2978.8934 | 2295.1728 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 513.0745 | 958.5974 | -445.5229 | 496.5058 | 16.5687 | 3.2293 | 1554.3377 | 3369.0448 | 2045.6749 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 9 | 0,1,2,3,4,5,21,22,23 | 0.48959 | 0.42829 | 0.50387 | -0.075581 | -15 | -12 | 452.8589 | 958.5974 | -505.7385 | 430.3833 | 22.4756 | 4.963 | 1406.2881 | 3753.2098 | 1809.5595 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 10 | 0,1,2,3,4,5,6,21,22,23 | 0.53831 | 0.422 | 0.50387 | -0.08188 | -16.25 | -13 | 412.0311 | 958.5974 | -546.5663 | 385.4071 | 26.624 | 6.4616 | 1283.0276 | 4073.2411 | 1612.7887 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 11 | 0,1,2,3,4,5,6,20,21,22,23 | 0.58534 | 0.422 | 0.50387 | -0.08188 | -16.25 | -13 | 384.8475 | 958.5974 | -573.7499 | 364.6678 | 20.1797 | 5.2436 | 1152.3343 | 4368.2181 | 1448.5049 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 12 | 0,1,2,3,4,5,6,19,20,21,22,23 | 0.6214 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 365.4614 | 958.5974 | -593.136 | 348.7451 | 16.7163 | 4.574 | 992.8914 | 4594.4292 | 1381.7367 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 13 | 0,1,2,3,4,5,6,10,19,20,21,22,23 | 0.65523 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 327.232 | 958.5974 | -631.3654 | 313.6387 | 13.5933 | 4.154 | 904.1695 | 4806.619 | 1258.2688 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 14 | 0,1,2,3,4,5,6,10,14,19,20,21,22,23 | 0.68841 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 289.7377 | 958.5974 | -668.8597 | 279.2073 | 10.5304 | 3.6344 | 817.1537 | 5014.7287 | 1137.175 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 15 | 0,1,2,3,4,5,6,10,11,14,19,20,21,22,23 | 0.72146 | 0.44719 | 0.50387 | -0.056686 | -11.25 | -9 | 252.4625 | 958.5974 | -706.135 | 244.908 | 7.5544 | 2.9923 | 715.9494 | 5222.0403 | 1031.0676 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 16 | 0,1,2,3,4,5,6,10,11,13,14,19,20,21,22,23 | 0.75448 | 0.45349 | 0.50387 | -0.050387 | -10 | -8 | 215.4806 | 958.5974 | -743.1168 | 210.6456 | 4.835 | 2.2438 | 618.2814 | 5429.1287 | 921.6473 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 17 | 0,1,2,3,4,5,6,10,11,12,13,14,19,20,21,22,23 | 0.7874 | 0.46608 | 0.50387 | -0.037791 | -7.5 | -6 | 178.9962 | 958.5974 | -779.6012 | 176.4853 | 2.511 | 1.4028 | 513.2142 | 5635.6004 | 820.2427 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 18 | 0,1,2,3,4,5,6,10,11,12,13,14,18,19,20,21,22,23 | 0.81941 | 0.45349 | 0.50387 | -0.050387 | -10 | -8 | 164.8594 | 958.5974 | -793.738 | 161.3688 | 3.4906 | 2.1173 | 454.7673 | 5836.3867 | 677.9034 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 19 | 0,1,2,3,4,5,6,10,11,12,13,14,15,18,19,20,21,22,23 | 0.85131 | 0.47238 | 0.50387 | -0.031492 | -6.25 | -5 | 129.6037 | 958.5974 | -828.9937 | 128.2667 | 1.3369 | 1.0316 | 351.1805 | 6036.4618 | 581.415 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 20 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,18,19,20,21,22,23 | 0.88289 | 0.49128 | 0.50387 | -0.012597 | -2.5 | -2 | 95.5734 | 958.5974 | -863.024 | 95.4946 | 0.078734 | 0.08238 | 258.2737 | 6234.5427 | 476.2409 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 21 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.91383 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 67.8162 | 958.5974 | -890.7812 | 67.5094 | 0.30684 | 0.45247 | 194.5418 | 6428.5697 | 345.9459 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 22 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.94403 | 0.45979 | 0.50387 | -0.044089 | -8.75 | -7 | 46.282 | 958.5974 | -912.3154 | 45.3879 | 0.89411 | 1.9319 | 138.0322 | 6617.998 | 213.0272 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97402 | 0.44089 | 0.50387 | -0.062984 | -12.5 | -10 | 29.3565 | 958.5974 | -929.2409 | 26.9583 | 2.3982 | 8.1691 | 68.1298 | 6806.116 | 94.8115 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 8 | 0.025979 | 0.50387 | 0.50387 | 0 | 0 | 0 | 920.1617 | 958.5974 | -38.4357 | 920.1617 | 0 | 0 | 2707.282 | 199.1505 | 4062.6249 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 2 | 8,17 | 0.055971 | 0.50387 | 0.50387 | 0 | 0 | 0 | 892.9585 | 958.5974 | -65.6389 | 892.9585 | 0 | 0 | 2602.4584 | 429.0726 | 3937.5263 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 3 | 7,8,17 | 0.086173 | 0.50387 | 0.50387 | 0 | 0 | 0 | 860.9019 | 958.5974 | -97.6956 | 860.9019 | 0 | 0 | 2496.9048 | 660.5961 | 3811.5565 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 4 | 7,8,16,17 | 0.11711 | 0.50387 | 0.50387 | 0 | 0 | 0 | 820.418 | 958.5974 | -138.1794 | 820.418 | 0 | 0 | 2388.7886 | 897.7401 | 3682.5286 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 5 | 7,8,9,16,17 | 0.14869 | 0.50387 | 0.50387 | 0 | 0 | 0 | 770.3964 | 958.5974 | -188.201 | 770.3964 | 0 | 0 | 2278.4136 | 1139.839 | 3550.8048 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 6 | 7,8,9,15,16,17 | 0.18059 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 720.4657 | 958.5974 | -238.1317 | 720.367 | 0.098727 | 0.013703 | 2209.6492 | 1384.3752 | 3375.0329 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 7 | 7,8,9,15,16,17,18 | 0.2126 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 692.7802 | 958.5974 | -265.8173 | 692.3165 | 0.46364 | 0.066924 | 2096.0976 | 1629.7807 | 3243.1791 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 640.5274 | 958.5974 | -318.0701 | 640.1759 | 0.35145 | 0.054869 | 1979.3307 | 1882.135 | 3107.5917 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 9 | 7,8,9,12,13,15,16,17,18 | 0.27854 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 588.1185 | 958.5974 | -370.4789 | 587.8796 | 0.23893 | 0.040626 | 1862.215 | 2135.2431 | 2971.5993 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 10 | 7,8,9,11,12,13,15,16,17,18 | 0.31159 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 535.6532 | 958.5974 | -422.9443 | 535.5269 | 0.12628 | 0.023576 | 1744.9731 | 2388.6239 | 2835.4604 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 11 | 7,8,9,11,12,13,14,15,16,17,18 | 0.34477 | 0.50387 | 0.50387 | 0 | 0 | 0 | 482.9726 | 958.5974 | -475.6248 | 482.9726 | 0 | 0 | 1593.1178 | 2642.9802 | 2732.9593 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 12 | 7,8,9,10,11,12,13,14,15,16,17,18 | 0.3786 | 0.50387 | 0.50387 | 0 | 0 | 0 | 429.388 | 958.5974 | -529.2094 | 429.388 | 0 | 0 | 1474.881 | 2902.3233 | 2591.8531 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 13 | 7,8,9,10,11,12,13,14,15,16,17,18,19 | 0.41466 | 0.49758 | 0.50387 | -0.0062984 | -1.25 | -1 | 392.9948 | 958.5974 | -565.6026 | 392.8362 | 0.1586 | 0.040357 | 1379.3489 | 3178.8035 | 2410.905 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 14 | 7,8,9,10,11,12,13,14,15,16,17,18,19,20 | 0.46169 | 0.49128 | 0.50387 | -0.012597 | -2.5 | -2 | 345.8336 | 958.5974 | -612.7638 | 345.1901 | 0.64352 | 0.18608 | 1240.5949 | 3539.331 | 2189.1314 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 15 | 6,7,8,9,10,11,12,13,14,15,16,17,18,19,20 | 0.51041 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 299.6776 | 958.5974 | -658.9198 | 298.3644 | 1.3132 | 0.43819 | 1105.299 | 3898.2493 | 1965.5091 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 16 | 6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.56052 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 269.0205 | 958.5974 | -689.577 | 267.8417 | 1.1787 | 0.43816 | 992.1645 | 4212.5662 | 1764.3266 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 17 | 2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.61141 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 237.8856 | 958.5974 | -720.7118 | 236.8434 | 1.0422 | 0.43813 | 877.2672 | 4531.7809 | 1560.0092 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 18 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.66383 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 205.8212 | 958.5974 | -752.7763 | 204.9195 | 0.90166 | 0.43808 | 758.9393 | 4860.5265 | 1349.5915 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 19 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.71688 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 173.3654 | 958.5974 | -785.2321 | 172.606 | 0.75937 | 0.43802 | 639.1672 | 5193.2845 | 1136.6056 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 20 | 1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.77168 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 139.8387 | 958.5974 | -818.7587 | 139.2263 | 0.61238 | 0.43792 | 515.4433 | 5537.0219 | 916.5922 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 21 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.8266 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 106.2415 | 958.5974 | -852.3559 | 105.7764 | 0.46508 | 0.43775 | 391.459 | 5881.4823 | 696.116 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 22 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.88202 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 72.3367 | 958.5974 | -886.2607 | 72.0202 | 0.31643 | 0.43744 | 266.3397 | 6229.0965 | 473.6212 | 0 | optimal
summer | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 23 | 0,1,2,3,4,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.94041 | 0.48498 | 0.50387 | -0.018895 | -3.75 | -3 | 36.6202 | 958.5974 | -921.9772 | 36.4604 | 0.15983 | 0.43647 | 134.5347 | 6595.2849 | 239.2377 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | no supply | 0 |  | 0 | 0.54167 | 0.54167 | 0 | 0 | 0 | 498.0356 | 498.0356 | 0 | 498.0356 | 0 | 0 | 1518.0786 | 0 | 2738.8631 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 1 | 21 | 0.067307 | 0.54167 | 0.54167 | 0 | 0 | 0 | 457.4593 | 498.0356 | -40.5763 | 457.4593 | 0 | 0 | 1387.2486 | 315.1753 | 2554.5178 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 2 | 19,21 | 0.13457 | 0.50387 | 0.54167 | -0.037791 | -6.9767 | -6 | 417.65 | 498.0356 | -80.3856 | 416.9079 | 0.74213 | 0.17769 | 1421.8818 | 630.1262 | 2204.9337 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 3 | 19,20,21 | 0.1938 | 0.53537 | 0.54167 | -0.0062984 | -1.1628 | -1 | 388.5498 | 498.0356 | -109.4858 | 388.3943 | 0.15549 | 0.040017 | 1167.058 | 907.4776 | 2182.4061 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 4 | 18,19,20,21 | 0.24734 | 0.53537 | 0.54167 | -0.0062984 | -1.1628 | -1 | 362.5784 | 498.0356 | -135.4572 | 362.179 | 0.39944 | 0.11017 | 1061.2698 | 1158.2178 | 2037.4541 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 5 | 18,19,20,21,22 | 0.30036 | 0.52907 | 0.54167 | -0.012597 | -2.3256 | -2 | 337.5219 | 498.0356 | -160.5137 | 336.6541 | 0.86785 | 0.25713 | 978.8009 | 1406.4984 | 1871.6424 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 6 | 17,18,19,20,21,22 | 0.35299 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 310.9716 | 498.0356 | -187.0641 | 309.5357 | 1.4359 | 0.46175 | 893.7658 | 1652.9167 | 1710.2593 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 7 | 17,18,19,20,21,22,23 | 0.40434 | 0.51647 | 0.54167 | -0.025194 | -4.6512 | -4 | 287.1196 | 498.0356 | -210.916 | 284.8165 | 2.3031 | 0.80214 | 808.0217 | 1893.3598 | 1555.5603 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 0.49128 | 0.54167 | -0.050387 | -9.3023 | -8 | 265.7206 | 498.0356 | -232.315 | 257.2132 | 8.5075 | 3.2017 | 791.0262 | 2091.175 | 1374.7406 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 9 | 0,16,17,18,19,20,21,22,23 | 0.48823 | 0.48498 | 0.54167 | -0.056686 | -10.4651 | -9 | 233.3862 | 498.0356 | -264.6494 | 222.4878 | 10.8984 | 4.6697 | 715.7593 | 2286.1977 | 1254.9847 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 10 | 0,5,16,17,18,19,20,21,22,23 | 0.52769 | 0.48498 | 0.54167 | -0.056686 | -10.4651 | -9 | 218.1306 | 498.0356 | -279.9051 | 206.3806 | 11.75 | 5.3867 | 651.3178 | 2447.4114 | 1158.2125 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 11 | 0,1,5,16,17,18,19,20,21,22,23 | 0.56698 | 0.48498 | 0.54167 | -0.056686 | -10.4651 | -9 | 207.7836 | 498.0356 | -290.2521 | 195.7514 | 12.0322 | 5.7907 | 597.1392 | 2597.9336 | 1061.8689 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 12 | 0,1,5,6,16,17,18,19,20,21,22,23 | 0.60509 | 0.47868 | 0.54167 | -0.062984 | -11.6279 | -10 | 196.9072 | 498.0356 | -301.1285 | 184.5305 | 12.3766 | 6.2855 | 557.1636 | 2743.938 | 955.8401 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 13 | 0,1,5,6,7,16,17,18,19,20,21,22,23 | 0.64161 | 0.47868 | 0.54167 | -0.062984 | -11.6279 | -10 | 184.3121 | 498.0356 | -313.7235 | 171.5708 | 12.7414 | 6.9129 | 505.6434 | 2883.8435 | 867.4548 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 14 | 0,1,5,6,7,15,16,17,18,19,20,21,22,23 | 0.6772 | 0.47238 | 0.54167 | -0.069283 | -12.7907 | -11 | 166.5746 | 498.0356 | -331.461 | 153.3652 | 13.2094 | 7.93 | 465.7113 | 3020.198 | 771.0324 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 15 | 0,1,2,5,6,7,15,16,17,18,19,20,21,22,23 | 0.71211 | 0.46608 | 0.54167 | -0.075581 | -13.9535 | -12 | 157.699 | 498.0356 | -340.3366 | 143.9201 | 13.7789 | 8.7375 | 424.5132 | 3153.9519 | 678.4766 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 16 | 0,1,2,3,5,6,7,15,16,17,18,19,20,21,22,23 | 0.74651 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 149.1313 | 498.0356 | -348.9043 | 134.6136 | 14.5177 | 9.7349 | 389.9365 | 3285.7425 | 581.2627 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 17 | 0,1,2,3,4,5,6,7,15,16,17,18,19,20,21,22,23 | 0.78067 | 0.44719 | 0.54167 | -0.094477 | -17.4419 | -15 | 140.8173 | 498.0356 | -357.2183 | 125.3715 | 15.4458 | 10.9687 | 344.3738 | 3416.6214 | 495.9465 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 18 | 0,1,2,3,4,5,6,7,11,15,16,17,18,19,20,21,22,23 | 0.8133 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 118.4872 | 498.0356 | -379.5484 | 106.4176 | 12.0696 | 10.1864 | 287.1878 | 3541.6546 | 428.0993 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 19 | 0,1,2,3,4,5,6,7,11,13,15,16,17,18,19,20,21,22,23 | 0.84583 | 0.46608 | 0.54167 | -0.075581 | -13.9535 | -12 | 96.4807 | 498.0356 | -401.5549 | 87.5277 | 8.9531 | 9.2797 | 227.3365 | 3666.2655 | 363.3397 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 20 | 0,1,2,3,4,5,6,7,11,13,14,15,16,17,18,19,20,21,22,23 | 0.87818 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 75.9736 | 498.0356 | -422.062 | 68.7371 | 7.2364 | 9.5249 | 187.3885 | 3790.2207 | 279.3325 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 21 | 0,1,2,3,4,5,6,7,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.90987 | 0.47868 | 0.54167 | -0.062984 | -11.6279 | -10 | 54.6451 | 498.0356 | -443.3905 | 50.3346 | 4.3106 | 7.8883 | 127.1659 | 3911.6169 | 218.1589 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 22 | 0,1,2,3,4,5,6,7,9,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.94017 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 35.0225 | 498.0356 | -463.0131 | 32.733 | 2.2895 | 6.5373 | 92.029 | 4027.7288 | 137.1839 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97017 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 15.3489 | 498.0356 | -482.6867 | 15.3126 | 0.036281 | 0.23638 | 35.4389 | 4142.6458 | 78.857 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 1 | 8 | 0.029833 | 0.54167 | 0.54167 | 0 | 0 | 0 | 476.4325 | 498.0356 | -21.6031 | 476.4325 | 0 | 0 | 1460.0909 | 139.695 | 2657.1558 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 2 | 8,12 | 0.059827 | 0.54167 | 0.54167 | 0 | 0 | 0 | 449.0612 | 498.0356 | -48.9744 | 449.0612 | 0 | 0 | 1401.7881 | 280.1491 | 2575.0045 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 3 | 8,9,12 | 0.090134 | 0.54167 | 0.54167 | 0 | 0 | 0 | 422.5714 | 498.0356 | -75.4642 | 422.5714 | 0 | 0 | 1342.879 | 422.0636 | 2491.999 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 4 | 8,9,10,12 | 0.12182 | 0.54167 | 0.54167 | 0 | 0 | 0 | 393.6568 | 498.0356 | -104.3788 | 393.6568 | 0 | 0 | 1281.289 | 570.4368 | 2405.2159 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 5 | 8,9,10,12,14 | 0.15417 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 366.8039 | 498.0356 | -131.2318 | 365.6935 | 1.1103 | 0.3027 | 1595.5222 | 721.9376 | 1939.4819 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 6 | 8,9,10,12,13,14 | 0.1867 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 339.9306 | 498.0356 | -158.105 | 336.0133 | 3.9173 | 1.1524 | 1517.7996 | 874.2398 | 1864.9023 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 7 | 8,9,10,11,12,13,14 | 0.21933 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 311.437 | 498.0356 | -186.5986 | 306.2324 | 5.2046 | 1.6712 | 1439.8136 | 1027.0581 | 1790.0699 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 298.4177 | 498.0356 | -199.6179 | 289.7872 | 8.6306 | 2.8921 | 1358.1816 | 1187.0213 | 1711.7388 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 9 | 3,4,8,9,10,11,12,13,14 | 0.28789 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 285.3077 | 498.0356 | -212.7279 | 273.2274 | 12.0804 | 4.2342 | 1275.9808 | 1348.0987 | 1632.8622 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 10 | 2,3,4,8,9,10,11,12,13,14 | 0.3228 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 270.3015 | 498.0356 | -227.7341 | 256.4208 | 13.8807 | 5.1353 | 1192.5555 | 1511.5757 | 1552.8105 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 11 | 2,3,4,8,9,10,11,12,13,14,15 | 0.35839 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 245.7367 | 498.0356 | -252.2989 | 230.7108 | 15.0259 | 6.1146 | 1107.5082 | 1678.2312 | 1471.2023 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 12 | 2,3,4,7,8,9,10,11,12,13,14,15 | 0.39491 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 226.1607 | 498.0356 | -271.8749 | 210.0511 | 16.1096 | 7.1231 | 1020.246 | 1849.2267 | 1387.469 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 13 | 2,3,4,6,7,8,9,10,11,12,13,14,15 | 0.43302 | 0.42829 | 0.54167 | -0.11337 | -20.9302 | -18 | 198.9329 | 498.0356 | -299.1027 | 190.7739 | 8.159 | 4.1014 | 1001.4068 | 2027.6766 | 1227.8583 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 14 | 1,2,3,4,6,7,8,9,10,11,12,13,14,15 | 0.47231 | 0.47238 | 0.54167 | -0.069283 | -12.7907 | -11 | 171.1969 | 498.0356 | -326.8387 | 155.5401 | 15.6568 | 9.1455 | 784.8792 | 2211.6481 | 1260.4144 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 15 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15 | 0.51177 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 144.9791 | 498.0356 | -353.0565 | 138.9221 | 6.057 | 4.1779 | 735.4672 | 2386.4163 | 1135.0582 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 16 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.55342 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 129.9725 | 498.0356 | -368.0631 | 123.0489 | 6.9236 | 5.327 | 672.7286 | 2545.9804 | 1038.2327 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 17 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.59566 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 119.4224 | 498.0356 | -378.6132 | 111.6198 | 7.8025 | 6.5336 | 609.0917 | 2707.8291 | 940.0209 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,23 | 0.64701 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 106.5988 | 498.0356 | -391.4368 | 97.7279 | 8.8709 | 8.3218 | 531.7414 | 2904.5553 | 820.6449 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 19 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,23 | 0.69964 | 0.422 | 0.54167 | -0.11967 | -22.093 | -19 | 92.0191 | 498.0356 | -406.0165 | 81.7057 | 10.3134 | 11.2079 | 509.8637 | 3106.1703 | 640.9078 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 20 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,22,23 | 0.75266 | 0.422 | 0.54167 | -0.11967 | -22.093 | -19 | 80.4991 | 498.0356 | -417.5365 | 67.3609 | 13.1382 | 16.3209 | 419.8605 | 3309.309 | 527.7722 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.8062 | 0.422 | 0.54167 | -0.11967 | -22.093 | -19 | 68.4274 | 498.0356 | -429.6083 | 52.4364 | 15.9909 | 23.3692 | 328.9658 | 3514.46 | 413.5159 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 22 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,20,22,23 | 0.86543 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 49.8275 | 498.0356 | -448.2081 | 36.412 | 13.4155 | 26.9238 | 202.7109 | 3741.3839 | 312.8469 | 0 | optimal
winter | 400 kW DG + 200 kWp PV | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93269 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 24.9206 | 498.0356 | -473.115 | 18.2097 | 6.7109 | 26.9291 | 101.3915 | 3999.071 | 156.4792 | 0 | optimal
Deterministic runs, P(window) = 1. EDL's cap is M_phys in the supplied hours and 0 elsewhere. Deviations are against the no-supply row of the same season. Price-menu step 0.00630 $/kWh.