## runs
season | fleet | load shift [-] | series | hours supplied [h] | supplied hours (hour-beginning) | demand in the supplied hours / daily demand [-] | leader price [$/kWh] | price, no supply [$/kWh] | price deviation [$/kWh] | price deviation [% of no supply] | price deviation [menu steps] | leader profit [$/day] | profit, no supply [$/day] | profit deviation [$/day] | profit at the no-supply price [$/day] | regret of keeping the no-supply price [$/day] | regret of keeping the no-supply price [% of profit] | microgrid sales [kWh] | EDL delivered [kWh] | suppressed demand [kWh] | unserved [kWh] | termination
fall_spring | 400 kW DG | 0.1 | no supply | 0 |  | 0 | 0.56686 | 0.56686 | 0 | 0 | 0 | 345.0764 | 345.0764 | 0 | 345.0764 | 0 | 0 | 1264.6674 | 0 | 2606.5166 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 1 | 21 | 0.065018 | 0.56686 | 0.56686 | 0 | 0 | 0 | 315.7726 | 345.0764 | -29.3038 | 315.7726 | 0 | 0 | 1157.2723 | 276.8645 | 2437.0472 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 2 | 20,21 | 0.12515 | 0.56056 | 0.56686 | -0.0062984 | -1.1111 | -1 | 288.759 | 345.0764 | -56.3173 | 288.6686 | 0.090401 | 0.031307 | 1083.2759 | 532.9451 | 2254.963 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 3 | 19,20,21 | 0.18352 | 0.56056 | 0.56686 | -0.0062984 | -1.1111 | -1 | 262.6103 | 345.0764 | -82.4661 | 262.3633 | 0.24704 | 0.094069 | 985.1792 | 781.4806 | 2104.5242 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 4 | 19,20,21,22 | 0.23667 | 0.55426 | 0.56686 | -0.012597 | -2.2222 | -2 | 238.9069 | 345.0764 | -106.1695 | 238.406 | 0.5009 | 0.20966 | 917.9459 | 1007.8309 | 1945.4072 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 5 | 19,20,21,22,23 | 0.28981 | 0.54796 | 0.56686 | -0.018895 | -3.3333 | -3 | 215.2788 | 345.0764 | -129.7976 | 214.4592 | 0.81956 | 0.3807 | 847.6743 | 1234.0819 | 1789.4279 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 6 | 18,19,20,21,22,23 | 0.34151 | 0.54796 | 0.56686 | -0.018895 | -3.3333 | -3 | 192.4474 | 345.0764 | -152.629 | 191.1549 | 1.2924 | 0.67158 | 757.774 | 1454.2631 | 1659.1469 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 7 | 1,18,19,20,21,22,23 | 0.38613 | 0.54167 | 0.56686 | -0.025194 | -4.4444 | -4 | 172.8666 | 345.0764 | -172.2098 | 171.0472 | 1.8194 | 1.0525 | 697.9838 | 1644.2424 | 1528.9577 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 8 | 1,17,18,19,20,21,22,23 | 0.43048 | 0.53537 | 0.56686 | -0.031492 | -5.5556 | -5 | 153.5301 | 345.0764 | -191.5462 | 151.0589 | 2.4712 | 1.6096 | 636.0853 | 1833.0939 | 1402.0048 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 9 | 0,1,17,18,19,20,21,22,23 | 0.47349 | 0.52907 | 0.56686 | -0.037791 | -6.6667 | -6 | 134.9404 | 345.0764 | -210.1359 | 131.6702 | 3.2703 | 2.4235 | 574.0466 | 2016.2804 | 1280.857 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 10 | 0,1,3,17,18,19,20,21,22,23 | 0.51422 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 120.0543 | 345.0764 | -225.022 | 116.3196 | 3.7347 | 3.1109 | 524.7811 | 2178.683 | 1167.72 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 11 | 0,1,2,3,17,18,19,20,21,22,23 | 0.5523 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 110.6415 | 345.0764 | -234.4349 | 107.1996 | 3.4419 | 3.1109 | 483.6356 | 2311.3835 | 1076.1649 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 12 | 0,1,2,3,16,17,18,19,20,21,22,23 | 0.58994 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 101.3413 | 345.0764 | -243.735 | 98.1887 | 3.1526 | 3.1109 | 442.9829 | 2442.4951 | 985.7061 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 13 | 0,1,2,3,4,16,17,18,19,20,21,22,23 | 0.62741 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 92.0801 | 345.0764 | -252.9962 | 89.2156 | 2.8645 | 3.1109 | 402.5004 | 2573.0574 | 895.6263 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 14 | 0,1,2,3,4,13,16,17,18,19,20,21,22,23 | 0.66425 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 82.9768 | 345.0764 | -262.0995 | 80.3955 | 2.5813 | 3.1109 | 362.708 | 2701.394 | 807.082 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 15 | 0,1,2,3,4,11,13,16,17,18,19,20,21,22,23 | 0.70096 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 73.903 | 345.0764 | -271.1733 | 71.604 | 2.299 | 3.1109 | 323.0446 | 2829.3146 | 718.8248 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 16 | 0,1,2,3,4,11,13,15,16,17,18,19,20,21,22,23 | 0.73712 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 64.9666 | 345.0764 | -280.1098 | 62.9456 | 2.021 | 3.1109 | 283.9818 | 2955.2982 | 631.904 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 17 | 0,1,2,3,4,10,11,13,15,16,17,18,19,20,21,22,23 | 0.77291 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 56.1213 | 345.0764 | -288.955 | 54.3755 | 1.7459 | 3.1109 | 245.3174 | 3079.9972 | 545.8695 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 18 | 0,1,2,3,4,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.80852 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 47.3216 | 345.0764 | -297.7548 | 45.8495 | 1.4721 | 3.1109 | 206.8519 | 3204.0545 | 460.2777 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 19 | 0,1,2,3,4,5,9,10,11,13,15,16,17,18,19,20,21,22,23 | 0.844 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 38.5536 | 345.0764 | -306.5228 | 37.3542 | 1.1994 | 3.1109 | 168.5253 | 3327.6636 | 374.9951 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 20 | 0,1,2,3,4,5,9,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.87861 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 30.0007 | 345.0764 | -315.0757 | 29.0674 | 0.93328 | 3.1109 | 131.1389 | 3448.2406 | 291.8045 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 21 | 0,1,2,3,4,5,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.91253 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 21.6159 | 345.0764 | -323.4605 | 20.9434 | 0.67244 | 3.1109 | 94.4872 | 3566.4481 | 210.2487 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 22 | 0,1,2,3,4,5,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.9453 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 13.5186 | 345.0764 | -331.5578 | 13.098 | 0.42055 | 3.1109 | 59.0923 | 3680.602 | 131.4897 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | peak | 23 | 0,1,2,3,4,5,6,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97429 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 6.3535 | 345.0764 | -338.7229 | 6.1558 | 0.19765 | 3.1109 | 27.7723 | 3781.6139 | 61.7978 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 1 | 7 | 0.025709 | 0.56686 | 0.56686 | 0 | 0 | 0 | 333.4894 | 345.0764 | -11.587 | 333.4894 | 0 | 0 | 1222.2025 | 109.4746 | 2539.5069 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 2 | 6,7 | 0.054701 | 0.56686 | 0.56686 | 0 | 0 | 0 | 320.4223 | 345.0764 | -24.654 | 320.4223 | 0 | 0 | 1174.313 | 232.9336 | 2463.9374 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 3 | 6,7,8 | 0.087466 | 0.56686 | 0.56686 | 0 | 0 | 0 | 305.6552 | 345.0764 | -39.4212 | 305.6552 | 0 | 0 | 1120.193 | 372.455 | 2378.5361 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 4 | 6,7,8,12 | 0.12139 | 0.56056 | 0.56686 | -0.0062984 | -1.1111 | -1 | 290.4439 | 345.0764 | -54.6324 | 290.3636 | 0.080308 | 0.02765 | 1089.5967 | 516.9309 | 2264.6565 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 5 | 6,7,8,12,14 | 0.156 | 0.56056 | 0.56686 | -0.0062984 | -1.1111 | -1 | 274.9387 | 345.0764 | -70.1376 | 274.7655 | 0.17319 | 0.062991 | 1031.4292 | 664.3027 | 2175.4521 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 6 | 5,6,7,8,12,14 | 0.19148 | 0.56056 | 0.56686 | -0.0062984 | -1.1111 | -1 | 259.0436 | 345.0764 | -86.0327 | 258.7752 | 0.2684 | 0.10361 | 971.7989 | 815.3806 | 2084.0045 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 7 | 5,6,7,8,9,12,14 | 0.22709 | 0.55426 | 0.56686 | -0.012597 | -2.2222 | -2 | 243.1729 | 345.0764 | -101.9035 | 242.727 | 0.44594 | 0.18339 | 934.337 | 967.0062 | 1969.8408 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 8 | 5,6,7,8,9,10,12,14 | 0.26288 | 0.55426 | 0.56686 | -0.012597 | -2.2222 | -2 | 227.2468 | 345.0764 | -117.8296 | 226.5957 | 0.65111 | 0.28652 | 873.1445 | 1119.416 | 1878.6235 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 9 | 5,6,7,8,9,10,12,14,15 | 0.29904 | 0.46608 | 0.56686 | -0.10077 | -17.7778 | -16 | 213.8944 | 345.0764 | -131.182 | 210.2982 | 3.5962 | 1.6813 | 1095.5321 | 1273.3959 | 1502.256 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 10 | 5,6,7,8,9,10,11,12,14,15 | 0.33575 | 0.46608 | 0.56686 | -0.10077 | -17.7778 | -16 | 200.5303 | 345.0764 | -144.5461 | 193.7501 | 6.7801 | 3.3811 | 1017.8719 | 1429.7434 | 1423.5688 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 11 | 5,6,7,8,9,10,11,12,13,14,15 | 0.37259 | 0.46608 | 0.56686 | -0.10077 | -17.7778 | -16 | 187.1227 | 345.0764 | -157.9537 | 177.1483 | 9.9744 | 5.3304 | 939.9591 | 1586.5993 | 1344.6257 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 12 | 4,5,6,7,8,9,10,11,12,13,14,15 | 0.41006 | 0.46608 | 0.56686 | -0.10077 | -17.7778 | -16 | 173.3696 | 345.0764 | -171.7067 | 160.2585 | 13.1112 | 7.5625 | 860.6951 | 1746.1754 | 1264.3136 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 13 | 4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.4477 | 0.47868 | 0.56686 | -0.088178 | -15.5556 | -14 | 154.4316 | 345.0764 | -190.6448 | 143.2977 | 11.1339 | 7.2096 | 749.1067 | 1906.4228 | 1215.6545 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 14 | 2,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.48578 | 0.52907 | 0.56686 | -0.037791 | -6.6667 | -6 | 129.6667 | 345.0764 | -215.4097 | 126.1313 | 3.5354 | 2.7265 | 551.6117 | 2068.6124 | 1250.96 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 15 | 2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.52651 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 117.0172 | 345.0764 | -228.0592 | 113.3769 | 3.6403 | 3.1109 | 511.5051 | 2221.5 | 1138.1789 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 16 | 0,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.56952 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 106.3857 | 345.0764 | -238.6906 | 103.0762 | 3.3095 | 3.1109 | 465.033 | 2371.3799 | 1034.7711 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 17 | 0,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.61387 | 0.52907 | 0.56686 | -0.037791 | -6.6667 | -6 | 95.4241 | 345.0764 | -249.6523 | 92.457 | 2.9671 | 3.1094 | 405.941 | 2525.8948 | 939.3482 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17 | 0.65849 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 84.3999 | 345.0764 | -260.6765 | 81.7743 | 2.6256 | 3.1109 | 368.9284 | 2681.3324 | 820.9233 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 19 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18 | 0.71019 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 71.6214 | 345.0764 | -273.455 | 69.3933 | 2.2281 | 3.1109 | 313.0712 | 2861.4807 | 696.6322 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 20 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,23 | 0.76333 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 58.4906 | 345.0764 | -286.5857 | 56.6711 | 1.8196 | 3.1109 | 255.6741 | 3046.5951 | 568.9148 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.81648 | 0.52277 | 0.56686 | -0.044089 | -7.7778 | -7 | 45.3541 | 345.0764 | -299.7222 | 43.9432 | 1.4109 | 3.1109 | 198.2519 | 3231.7908 | 441.1414 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 22 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,22,23 | 0.87485 | 0.422 | 0.56686 | -0.14486 | -25.5556 | -23 | 32.7573 | 345.0764 | -312.319 | 29.9679 | 2.7894 | 8.5155 | 193.1956 | 3435.138 | 242.8504 | 0 | optimal
fall_spring | 400 kW DG | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93498 | 0.422 | 0.56686 | -0.14486 | -25.5556 | -23 | 20.8754 | 345.0764 | -324.2009 | 15.5683 | 5.3071 | 25.4229 | 100.3649 | 3644.6586 | 126.1605 | 0 | optimal
summer | 400 kW DG | 0.1 | no supply | 0 |  | 0 | 0.45349 | 0.45349 | 0 | 0 | 0 | 739.8725 | 739.8725 | 0 | 739.8725 | 0 | 0 | 3215.1746 | 0 | 3753.8827 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 1 | 5 | 0.059592 | 0.44719 | 0.45349 | -0.0062984 | -1.3889 | -1 | 687.6117 | 739.8725 | -52.2608 | 687.3632 | 0.24851 | 0.036141 | 3031.0747 | 456.833 | 3481.1497 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 2 | 4,5 | 0.11798 | 0.45349 | 0.45349 | 0 | 0 | 0 | 635.8708 | 739.8725 | -104.0017 | 635.8708 | 0 | 0 | 2753.6446 | 904.3967 | 3311.0161 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 3 | 4,5,23 | 0.1734 | 0.45349 | 0.45349 | 1.1102e-16 | 2.4482e-14 | 1.7627e-14 | 583.9464 | 739.8725 | -155.9261 | 583.9464 | 0 | 0 | 2536.8299 | 1329.2584 | 3102.9691 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 4 | 0,4,5,23 | 0.22832 | 0.44089 | 0.45349 | -0.012597 | -2.7778 | -2 | 533.3503 | 739.8725 | -206.5222 | 532.4931 | 0.85715 | 0.16071 | 2402.4492 | 1750.2656 | 2816.3426 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 5 | 0,3,4,5,23 | 0.28312 | 0.43459 | 0.45349 | -0.018895 | -4.1667 | -3 | 484.0928 | 739.8725 | -255.7797 | 481.1478 | 2.945 | 0.60836 | 2219.7141 | 2170.389 | 2578.9543 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 6 | 0,3,4,5,22,23 | 0.33617 | 0.43459 | 0.45349 | -0.018895 | -4.1667 | -3 | 436.4787 | 739.8725 | -303.3938 | 431.4425 | 5.0362 | 1.1538 | 2003.8674 | 2577.0932 | 2388.0968 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 7 | 0,1,3,4,5,22,23 | 0.38859 | 0.42829 | 0.45349 | -0.025194 | -5.5556 | -4 | 384.8834 | 739.8725 | -354.9891 | 382.3366 | 2.5468 | 0.66172 | 1822.5007 | 2978.8934 | 2167.6632 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 8 | 0,1,2,3,4,5,22,23 | 0.43948 | 0.4094 | 0.45349 | -0.044089 | -9.7222 | -7 | 326.2745 | 739.8725 | -413.598 | 308.7844 | 17.4901 | 5.3606 | 1700.4573 | 3369.0448 | 1899.5553 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 9 | 0,1,2,3,4,5,21,22,23 | 0.48959 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 246.4551 | 739.8725 | -493.4174 | 235.0232 | 11.4319 | 4.6385 | 1007.1205 | 3753.2098 | 2208.727 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 10 | 0,1,2,3,4,5,6,21,22,23 | 0.53831 | 0.49758 | 0.45349 | 0.044089 | 9.7222 | 7 | 210.4912 | 739.8725 | -529.3813 | 194.906 | 15.5852 | 7.4042 | 994.1699 | 4073.2411 | 1901.6463 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 11 | 0,1,2,3,4,5,6,20,21,22,23 | 0.58534 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 184.4856 | 739.8725 | -555.3869 | 166.5427 | 17.9428 | 9.7259 | 806.4227 | 4368.2181 | 1794.4165 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 12 | 0,1,2,3,4,5,6,19,20,21,22,23 | 0.6214 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 168.4397 | 739.8725 | -571.4328 | 152.0575 | 16.3822 | 9.7259 | 736.2831 | 4594.4292 | 1638.345 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 13 | 0,1,2,3,4,5,6,10,19,20,21,22,23 | 0.65523 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 153.3884 | 739.8725 | -586.4841 | 138.4701 | 14.9184 | 9.7259 | 670.491 | 4806.619 | 1491.9473 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 14 | 0,1,2,3,4,5,6,10,14,19,20,21,22,23 | 0.68841 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 138.6266 | 739.8725 | -601.2459 | 125.1439 | 13.4826 | 9.7259 | 605.964 | 5014.7287 | 1348.3646 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 15 | 0,1,2,3,4,5,6,10,11,14,19,20,21,22,23 | 0.72146 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 123.9213 | 739.8725 | -615.9512 | 111.8689 | 12.0524 | 9.7259 | 541.6845 | 5222.0403 | 1205.3326 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 16 | 0,1,2,3,4,5,6,10,11,13,14,19,20,21,22,23 | 0.75448 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 109.2319 | 739.8725 | -630.6406 | 98.6081 | 10.6238 | 9.7259 | 477.4741 | 5429.1287 | 1062.4545 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 17 | 0,1,2,3,4,5,6,10,11,12,13,14,19,20,21,22,23 | 0.7874 | 0.52907 | 0.45349 | 0.075581 | 16.6667 | 12 | 94.5848 | 739.8725 | -645.2877 | 85.3869 | 9.1979 | 9.7245 | 402.3706 | 5635.6004 | 931.0863 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 18 | 0,1,2,3,4,5,6,10,11,12,13,14,18,19,20,21,22,23 | 0.81941 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 80.3438 | 739.8725 | -659.5287 | 72.5297 | 7.8141 | 9.7259 | 351.1987 | 5836.3867 | 781.472 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 19 | 0,1,2,3,4,5,6,10,11,12,13,14,15,18,19,20,21,22,23 | 0.85131 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 66.1519 | 739.8725 | -673.7206 | 59.718 | 6.4338 | 9.7259 | 289.1629 | 6036.4618 | 643.4326 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 20 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,18,19,20,21,22,23 | 0.88289 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 52.1014 | 739.8725 | -687.7711 | 47.0341 | 5.0673 | 9.7259 | 227.7455 | 6234.5427 | 506.7692 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 21 | 0,1,2,3,4,5,6,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.91383 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 38.3385 | 739.8725 | -701.534 | 34.6097 | 3.7288 | 9.7259 | 167.585 | 6428.5697 | 372.9027 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 22 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,18,19,20,21,22,23 | 0.94403 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 24.9017 | 739.8725 | -714.9708 | 22.4798 | 2.4219 | 9.7259 | 108.8503 | 6617.998 | 242.209 | 0 | optimal
summer | 400 kW DG | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97402 | 0.52277 | 0.45349 | 0.069283 | 15.2778 | 11 | 11.5579 | 739.8725 | -728.3146 | 10.4338 | 1.1241 | 9.7259 | 50.522 | 6806.116 | 112.4193 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 1 | 8 | 0.025979 | 0.45349 | 0.45349 | 0 | 0 | 0 | 723.6638 | 739.8725 | -16.2087 | 723.6638 | 0 | 0 | 3113.5445 | 199.1505 | 3656.3624 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 2 | 8,17 | 0.055971 | 0.45349 | 0.45349 | 0 | 0 | 0 | 704.9506 | 739.8725 | -34.9219 | 704.9506 | 0 | 0 | 2996.2111 | 429.0726 | 3543.7737 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 3 | 7,8,17 | 0.086173 | 0.45979 | 0.45349 | 0.0062984 | 1.3889 | 1 | 683.3427 | 739.8725 | -56.5298 | 683.0274 | 0.31534 | 0.046147 | 2830.416 | 660.5961 | 3478.0453 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 4 | 7,8,16,17 | 0.11711 | 0.45349 | 0.45349 | 0 | 0 | 0 | 660.277 | 739.8725 | -79.5955 | 660.277 | 0 | 0 | 2757.0415 | 897.7401 | 3314.2757 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 5 | 7,8,9,16,17 | 0.14869 | 0.45979 | 0.45349 | 0.0062984 | 1.3889 | 1 | 636.3666 | 739.8725 | -103.5059 | 630.6889 | 5.6777 | 0.8922 | 2589.109 | 1139.839 | 3240.1094 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 6 | 7,8,9,15,16,17 | 0.18059 | 0.47238 | 0.45349 | 0.018895 | 4.1667 | 3 | 609.0411 | 739.8725 | -130.8314 | 600.803 | 8.2382 | 1.3526 | 2380.537 | 1384.3752 | 3204.1452 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 7 | 7,8,9,15,16,17,18 | 0.2126 | 0.47238 | 0.45349 | 0.018895 | 4.1667 | 3 | 584.025 | 739.8725 | -155.8475 | 570.8108 | 13.2143 | 2.2626 | 2260.3092 | 1629.7807 | 3078.9675 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 8 | 7,8,9,12,15,16,17,18 | 0.24552 | 0.47238 | 0.45349 | 0.018895 | 4.1667 | 3 | 552.0806 | 739.8725 | -187.7919 | 539.9693 | 12.1113 | 2.1938 | 2136.6771 | 1882.135 | 2950.2452 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 9 | 7,8,9,12,13,15,16,17,18 | 0.27854 | 0.47238 | 0.45349 | 0.018895 | 4.1667 | 3 | 520.0408 | 739.8725 | -219.8317 | 509.0358 | 11.005 | 2.1162 | 2012.6757 | 2135.2431 | 2821.1386 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 10 | 7,8,9,11,12,13,15,16,17,18 | 0.31159 | 0.47238 | 0.45349 | 0.018895 | 4.1667 | 3 | 487.9665 | 739.8725 | -251.906 | 478.0689 | 9.8976 | 2.0283 | 1888.5407 | 2388.6239 | 2691.8927 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 11 | 7,8,9,11,12,13,14,15,16,17,18 | 0.34477 | 0.47868 | 0.45349 | 0.025194 | 5.5556 | 4 | 457.8366 | 739.8725 | -282.0359 | 446.9828 | 10.8538 | 2.3707 | 1729.7658 | 2642.9802 | 2596.3114 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 12 | 7,8,9,10,11,12,13,14,15,16,17,18 | 0.3786 | 0.50387 | 0.45349 | 0.050387 | 11.1111 | 8 | 427.5311 | 739.8725 | -312.3414 | 415.2872 | 12.2439 | 2.8639 | 1474.881 | 2902.3233 | 2591.8531 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 13 | 7,8,9,10,11,12,13,14,15,16,17,18,19 | 0.41466 | 0.49758 | 0.45349 | 0.044089 | 9.7222 | 7 | 391.151 | 739.8725 | -348.7215 | 381.4972 | 9.6538 | 2.4681 | 1379.3489 | 3178.8035 | 2410.905 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 14 | 7,8,9,10,11,12,13,14,15,16,17,18,19,20 | 0.46169 | 0.49128 | 0.45349 | 0.037791 | 8.3333 | 6 | 343.9898 | 739.8725 | -395.8827 | 337.4354 | 6.5544 | 1.9054 | 1240.5949 | 3539.331 | 2189.1314 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 15 | 6,7,8,9,10,11,12,13,14,15,16,17,18,19,20 | 0.51041 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 299.5136 | 739.8725 | -440.3589 | 295.2712 | 4.2424 | 1.4164 | 1105.299 | 3898.2493 | 1965.5091 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 16 | 6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.56052 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 268.8564 | 739.8725 | -471.0161 | 265.0483 | 3.8081 | 1.4164 | 992.1645 | 4212.5662 | 1764.3266 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 17 | 2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.61141 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 237.7216 | 739.8725 | -502.1509 | 234.3544 | 3.3671 | 1.4164 | 877.2672 | 4531.7809 | 1560.0092 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 18 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21 | 0.66383 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 205.6571 | 739.8725 | -534.2154 | 202.7442 | 2.913 | 1.4164 | 758.9393 | 4860.5265 | 1349.5915 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 19 | 1,2,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.71688 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 173.2013 | 739.8725 | -566.6712 | 170.7481 | 2.4533 | 1.4164 | 639.1672 | 5193.2845 | 1136.6056 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 20 | 1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.77168 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 139.6747 | 739.8725 | -600.1978 | 137.6963 | 1.9784 | 1.4164 | 515.4433 | 5537.0219 | 916.5922 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 21 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22 | 0.8266 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 106.0774 | 739.8725 | -633.7951 | 104.5749 | 1.5025 | 1.4164 | 391.459 | 5881.4823 | 696.116 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 22 | 0,1,2,3,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.88202 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 72.1726 | 739.8725 | -667.6999 | 71.1504 | 1.0223 | 1.4164 | 266.3397 | 6229.0965 | 473.6212 | 0 | optimal
summer | 400 kW DG | 0.1 | offpeak | 23 | 0,1,2,3,4,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.94041 | 0.48498 | 0.45349 | 0.031492 | 6.9444 | 5 | 36.4562 | 739.8725 | -703.4163 | 35.9398 | 0.51637 | 1.4164 | 134.5347 | 6595.2849 | 239.2377 | 0 | optimal
winter | 400 kW DG | 0.1 | no supply | 0 |  | 0 | 0.54167 | 0.54167 | 0 | 0 | 0 | 392.3185 | 392.3185 | 0 | 392.3185 | 0 | 0 | 1518.0786 | 0 | 2738.8631 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 1 | 21 | 0.067307 | 0.54167 | 0.54167 | 0 | 0 | 0 | 351.7422 | 392.3185 | -40.5763 | 351.7422 | 0 | 0 | 1387.2486 | 315.1753 | 2554.5178 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 2 | 19,21 | 0.13457 | 0.56056 | 0.54167 | 0.018895 | 3.4884 | 3 | 312.8964 | 392.3185 | -79.4221 | 311.1948 | 1.7016 | 0.54382 | 1173.8268 | 630.1262 | 2452.9887 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 3 | 19,20,21 | 0.1938 | 0.56056 | 0.54167 | 0.018895 | 3.4884 | 3 | 283.7159 | 392.3185 | -108.6026 | 282.6812 | 1.0346 | 0.36467 | 1064.3565 | 907.4776 | 2285.1076 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 4 | 18,19,20,21 | 0.24734 | 0.55426 | 0.54167 | 0.012597 | 2.3256 | 2 | 257.4932 | 392.3185 | -134.8253 | 256.9035 | 0.58973 | 0.22903 | 989.3597 | 1158.2178 | 2109.3642 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 5 | 18,19,20,21,22 | 0.30036 | 0.54796 | 0.54167 | 0.0062984 | 1.1628 | 1 | 231.6042 | 392.3185 | -160.7143 | 231.3786 | 0.22555 | 0.097386 | 911.9565 | 1406.4984 | 1938.4868 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 6 | 17,18,19,20,21,22 | 0.35299 | 0.54796 | 0.54167 | 0.0062984 | 1.1628 | 1 | 206.0521 | 392.3185 | -186.2664 | 206.0452 | 0.0069148 | 0.0033558 | 811.3436 | 1652.9167 | 1792.6814 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 7 | 17,18,19,20,21,22,23 | 0.40434 | 0.54167 | 0.54167 | 0 | 0 | 0 | 181.3261 | 392.3185 | -210.9924 | 181.3261 | 0 | 0 | 732.1407 | 1893.3598 | 1631.4412 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 8 | 0,17,18,19,20,21,22,23 | 0.44658 | 0.53537 | 0.54167 | -0.0062984 | -1.1628 | -1 | 161.1493 | 392.3185 | -231.1692 | 160.9894 | 0.15991 | 0.099232 | 667.652 | 2091.175 | 1498.1147 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 9 | 0,16,17,18,19,20,21,22,23 | 0.48823 | 0.52907 | 0.54167 | -0.012597 | -2.3256 | -2 | 141.4338 | 392.3185 | -250.8847 | 140.9398 | 0.494 | 0.34928 | 601.6698 | 2286.1977 | 1369.0742 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 10 | 0,5,16,17,18,19,20,21,22,23 | 0.52769 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 128.3556 | 392.3185 | -263.9629 | 127.7812 | 0.57441 | 0.44751 | 561.0675 | 2447.4114 | 1248.4628 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 11 | 0,1,5,16,17,18,19,20,21,22,23 | 0.56698 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 117.6786 | 392.3185 | -274.6399 | 117.152 | 0.52663 | 0.44751 | 514.3962 | 2597.9336 | 1144.6119 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 12 | 0,1,5,6,16,17,18,19,20,21,22,23 | 0.60509 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 107.322 | 392.3185 | -284.9965 | 106.8418 | 0.48028 | 0.44751 | 469.1257 | 2743.938 | 1043.878 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 13 | 0,1,5,6,7,16,17,18,19,20,21,22,23 | 0.64161 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 97.3981 | 392.3185 | -294.9204 | 96.9622 | 0.43587 | 0.44751 | 425.7463 | 2883.8435 | 947.352 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 14 | 0,1,5,6,7,15,16,17,18,19,20,21,22,23 | 0.6772 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 87.7261 | 392.3185 | -304.5924 | 87.3335 | 0.39258 | 0.44751 | 383.4679 | 3020.198 | 853.2759 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 15 | 0,1,2,5,6,7,15,16,17,18,19,20,21,22,23 | 0.71211 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 78.2385 | 392.3185 | -314.08 | 77.8884 | 0.35013 | 0.44751 | 341.9958 | 3153.9519 | 760.994 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 16 | 0,1,2,3,5,6,7,15,16,17,18,19,20,21,22,23 | 0.74651 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 68.8902 | 392.3185 | -323.4283 | 68.5819 | 0.30829 | 0.44751 | 301.1325 | 3285.7425 | 670.0668 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 17 | 0,1,2,3,4,5,6,7,15,16,17,18,19,20,21,22,23 | 0.78067 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 59.6065 | 392.3185 | -332.712 | 59.3398 | 0.26675 | 0.44751 | 260.5518 | 3416.6214 | 579.7685 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 18 | 0,1,2,3,4,5,6,7,11,15,16,17,18,19,20,21,22,23 | 0.8133 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 50.7375 | 392.3185 | -341.581 | 50.5105 | 0.22706 | 0.44751 | 221.7837 | 3541.6546 | 493.5034 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 19 | 0,1,2,3,4,5,6,7,11,13,15,16,17,18,19,20,21,22,23 | 0.84583 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 41.8985 | 392.3185 | -350.42 | 41.711 | 0.1875 | 0.44751 | 183.1465 | 3666.2655 | 407.5297 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 20 | 0,1,2,3,4,5,6,7,11,13,14,15,16,17,18,19,20,21,22,23 | 0.87818 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 33.106 | 392.3185 | -359.2125 | 32.9578 | 0.14815 | 0.44751 | 144.7127 | 3790.2207 | 322.0083 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 21 | 0,1,2,3,4,5,6,7,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.90987 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 24.495 | 392.3185 | -367.8235 | 24.3853 | 0.10962 | 0.44751 | 107.0723 | 3911.6169 | 238.2525 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 22 | 0,1,2,3,4,5,6,7,9,10,11,13,14,15,16,17,18,19,20,21,22,23 | 0.94017 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 16.2588 | 392.3185 | -376.0597 | 16.186 | 0.07276 | 0.44751 | 71.0703 | 4027.7288 | 158.1426 | 0 | optimal
winter | 400 kW DG | 0.1 | peak | 23 | 0,1,2,3,4,5,6,7,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23 | 0.97017 | 0.52277 | 0.54167 | -0.018895 | -3.4884 | -3 | 8.1074 | 392.3185 | -384.2111 | 8.0711 | 0.036281 | 0.44751 | 35.4389 | 4142.6458 | 78.857 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 1 | 8 | 0.029833 | 0.54167 | 0.54167 | 0 | 0 | 0 | 377.9569 | 392.3185 | -14.3616 | 377.9569 | 0 | 0 | 1460.0909 | 139.695 | 2657.1558 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 2 | 8,12 | 0.059827 | 0.54167 | 0.54167 | 0 | 0 | 0 | 363.5173 | 392.3185 | -28.8012 | 363.5173 | 0 | 0 | 1401.7881 | 280.1491 | 2575.0045 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 3 | 8,9,12 | 0.090134 | 0.54167 | 0.54167 | 0 | 0 | 0 | 348.9276 | 392.3185 | -43.3909 | 348.9276 | 0 | 0 | 1342.879 | 422.0636 | 2491.999 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 4 | 8,9,10,12 | 0.12182 | 0.54167 | 0.54167 | 0 | 0 | 0 | 333.6739 | 392.3185 | -58.6446 | 333.6739 | 0 | 0 | 1281.289 | 570.4368 | 2405.2159 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 5 | 8,9,10,12,14 | 0.15417 | 0.54167 | 0.54167 | 0 | 0 | 0 | 318.0986 | 392.3185 | -74.2199 | 318.0986 | 0 | 0 | 1218.4007 | 721.9376 | 2316.6034 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 6 | 8,9,10,12,13,14 | 0.1867 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 305.5974 | 392.3185 | -86.7211 | 302.4409 | 3.1565 | 1.0329 | 1517.7996 | 874.2398 | 1864.9023 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 7 | 8,9,10,11,12,13,14 | 0.21933 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 293.1597 | 392.3185 | -99.1588 | 286.7302 | 6.4295 | 2.1932 | 1439.8136 | 1027.0581 | 1790.0699 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 8 | 4,8,9,10,11,12,13,14 | 0.25349 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 280.1404 | 392.3185 | -112.1781 | 270.2849 | 9.8554 | 3.518 | 1358.1815 | 1187.0213 | 1711.7389 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 9 | 3,4,8,9,10,11,12,13,14 | 0.28789 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 267.0304 | 392.3185 | -125.2881 | 253.7251 | 13.3053 | 4.9827 | 1275.9808 | 1348.0987 | 1632.8622 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 10 | 2,3,4,8,9,10,11,12,13,14 | 0.3228 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 252.0242 | 392.3185 | -140.2943 | 236.9186 | 15.1056 | 5.9937 | 1192.5555 | 1511.5757 | 1552.8105 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 11 | 2,3,4,8,9,10,11,12,13,14,15 | 0.35839 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 236.0361 | 392.3185 | -156.2824 | 219.7853 | 16.2508 | 6.8849 | 1107.5082 | 1678.2312 | 1471.2023 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 12 | 2,3,4,7,8,9,10,11,12,13,14,15 | 0.39491 | 0.45349 | 0.54167 | -0.088178 | -16.2791 | -14 | 219.6317 | 392.3185 | -172.6868 | 202.2059 | 17.4258 | 7.9341 | 1020.246 | 1849.2267 | 1387.469 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 13 | 2,3,4,6,7,8,9,10,11,12,13,14,15 | 0.43302 | 0.42829 | 0.54167 | -0.11337 | -20.9302 | -18 | 192.9229 | 392.3185 | -199.3956 | 183.8394 | 9.0835 | 4.7084 | 1001.4068 | 2027.6766 | 1227.8583 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 14 | 1,2,3,4,6,7,8,9,10,11,12,13,14,15 | 0.47231 | 0.4031 | 0.54167 | -0.13857 | -25.5814 | -22 | 165.6835 | 392.3185 | -226.635 | 148.6039 | 17.0796 | 10.3085 | 969.74 | 2211.6481 | 1075.5536 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 15 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15 | 0.51177 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 138.147 | 392.3185 | -254.1715 | 132.0884 | 6.0586 | 4.3856 | 735.4672 | 2386.4163 | 1135.0582 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 16 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.55342 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 127.7458 | 392.3185 | -264.5727 | 120.8207 | 6.9251 | 5.421 | 672.7286 | 2545.9804 | 1038.2327 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 17 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16 | 0.59566 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 117.1957 | 392.3185 | -275.1228 | 109.3916 | 7.8041 | 6.659 | 609.0917 | 2707.8291 | 940.0209 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 18 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,23 | 0.64701 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 104.3721 | 392.3185 | -287.9464 | 95.4997 | 8.8725 | 8.5008 | 531.7414 | 2904.5553 | 820.6449 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 19 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,23 | 0.69964 | 0.422 | 0.54167 | -0.11967 | -22.093 | -19 | 91.5774 | 392.3185 | -300.7411 | 81.2625 | 10.3149 | 11.2636 | 509.8637 | 3106.1703 | 640.9078 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 20 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,22,23 | 0.75266 | 0.422 | 0.54167 | -0.11967 | -22.093 | -19 | 80.0574 | 392.3185 | -312.2611 | 66.9177 | 13.1397 | 16.4129 | 419.8605 | 3309.309 | 527.7722 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 21 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,22,23 | 0.8062 | 0.422 | 0.54167 | -0.11967 | -22.093 | -19 | 68.4233 | 392.3185 | -323.8952 | 52.4308 | 15.9925 | 23.3729 | 328.9658 | 3514.46 | 413.5159 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 22 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,20,22,23 | 0.86543 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 49.8235 | 392.3185 | -342.495 | 36.4065 | 13.417 | 26.9291 | 202.7109 | 3741.3839 | 312.8469 | 0 | optimal
winter | 400 kW DG | 0.1 | offpeak | 23 | 0,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,22,23 | 0.93269 | 0.45979 | 0.54167 | -0.08188 | -15.1163 | -13 | 24.9206 | 392.3185 | -367.3979 | 18.2097 | 6.7109 | 26.9291 | 101.3915 | 3999.071 | 156.4792 | 0 | optimal
Deterministic runs, P(window) = 1. EDL's cap is M_phys in the supplied hours and 0 elsewhere. Deviations are against the no-supply row of the same season. Price-menu step 0.00630 $/kWh.